| PRR Number | 531PRR | PRR Title | Load Clarification |
| --- | --- | --- | --- |
| Date |  | August 20, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | Randy Roberts |  |
| E-mail Address |  | rroberts@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 W Lake Dr., TCC, Taylor, TX 76574-4953 |  |
| Phone Number |  | (512) 248-3943 |  |
| Fax Number |  | (512) 248-6565 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

As proposed, Section 5.7(3) contains a contradiction.  ERCOT does not allocate UFE to NOIEs and suggests that the last phrase of 5.7(3) be struck.

ERCOT recommends that the following sentence be struck: “Distribution BLTs points located behind NOIE metering points do not require an ESI ID.”  ESI IDs are required for Distribution BLT points so that the load amount can be subtracted from the NOIE area and applied to the LSE for the BLT.

Revised Proposed Protocol Language Revision

2.1 Definitions

Load Serving Entity

An Entity that provides electric service to Customers and Wholesale Customers.

*************************************************************************

## Block Load Transfers between ERCOT and Non-ERCOT Control Areas

Under Alert or EECP conditions it may be necessary for ERCOT to request the implementation of Block Load Transfer (BLT) schemes which will transfer loads normally located in the ERCOT Control Area to a Non-ERCOT Control Area.  Similarly, when Non-ERCOT Control Areas experience certain transmission contingency or short supply conditions; it may be necessary for ERCOT to agree to the implementation of BLT schemes which will transfer loads normally located in a Non-ERCOT Control Area to the ERCOT Control Area.  BLTs will be restricted to the following conditions:

- BLTs shall only occur under a specific Dispatch Instruction from ERCOT.

- BLTs that are looped systems may be tied to the other power pool’s electrical system through multiple interconnection points at the same time.  Transfers of looped configurations will only be permitted if all interconnection points are netted under a single ESI ID.  Individual meter points for looped system BLTs must be within the same Congestion Management zone.

- BLTs of load to the ERCOT Control Area will be treated as wholesale Load in the ERCOT settlement system not served by Customer Choice, will be registered in a manner similar to that of Non-opt in Entities, and will be responsible for UFE allocations and Transmission Losses.

- BLTs of load to the ERCOT Control Area will only be permitted if such transfers will not jeopardize the reliability of the ERCOT System.  Under an ERCOT Emergency Notice, BLTs that have been implemented may be curtailed or terminated by ERCOT in order to maintain the reliability of the ERCOT system.

- BLTs of load from the ERCOT Control Area will be treated as a Resource in the ERCOT settlement system.

- BLTs of load from the ERCOT Control Area will only be instructed with the permission of the affected Non-ERCOT Control Area.  Under emergency conditions, BLTs that have been implemented may be curtailed or terminated by the Non-ERCOT Control Area in order to maintain the reliability of the Non-ERCOT system.

- Restoration of service to outage customers using BLTs will be accomplished, as quickly as possible if the transfers will not jeopardize the reliability of the ERCOT System and only under specific Dispatch Instruction from ERCOT.

- The necessary Market Participant agreements, metering, and ERCOT settlement systems are in place prior to the implementation of any BLT.

- Transmission BLT metering points utilized 5 or more times per year, as monitored by the TDSP, will conform to ERCOT Polled Settlement (EPS) Metering requirements as defined in Section 10 of these Protocols and the Settlement Metering Operating Guides.  BLT metering points that are Distribution or used less than 5 times per year will be revenue quality, Four (4) channel bi-directional Kwh/Kvarh, 15 minute Interval Data Recording (IDR) metering with remote interrogation.  ERCOT may impose additional metering requirements as deemed necessary to ensure ERCOT Grid reliability and integrity.

### 5.7.2  	Registration of BLT Points

BLTs that block ERCOT load into a Non-ERCOT Control Area will be treated as a Resource by ERCOT and assigned a Resource ID.  An ERCOT registered Resource Entity; with an ERCOT registered QSE affiliation must complete the applicable Asset Registration forms.  This Asset registration form along with the Metering Design Documentation will be the basis for establishing the ERCOT Data Model.

BLTs that block Non-ERCOT load into the ERCOT Control Area will be treated as a  wholesale Load not under Customer Choice by ERCOT and assigned an ESID.  The TDSP associated to the BLT point has the responsibility for creation and maintenance of BLT ESI IDs.    An ERCOT registered LSE, with an ERCOT registered QSE affiliation, must be assigned to the ESI ID associated to the BLT Point.

********************************************************************************************

## 16.3 	Registration of Load Serving Entities

Load Serving Entities (LSEs) provide electric service to Customers and Wholesale Customers.  All LSEs operating in ERCOT, and/or in Non-ERCOT portions of the state of Texas in areas where Customer Choice is in effect must register with ERCOT.  To become registered as a LSE, an Entity must execute a Load Serving Entity (LSE) Agreement and demonstrate to ERCOT’s reasonable satisfaction that it is capable of performing the functions of a Load Serving Entity as described in applicable Sections of these Protocols.   Additionally, a REP must demonstrate certification by the PUCT Requirements for Competitive Retailer registration.