PENDING PRRS

November 14, 2005

I.	Protocols approved by TAC at November Meeting

A.	PRR598	Charge Against OOM Start Up (FKA Extension of Credit Against OOM Start Up).

    - This PRR creates a charge against the Startup Cost if the Market Clearing Price of Energy (MCPE) is greater than Resource Category Generic Minimum Energy Cost for an Off-line Generation Resource that ERCOT has selected to provide Out of Merit Capacity (OOMC) Service.  The charge will start three hours after the end of the final interval of the OOMC Dispatch Instruction and continue until the earlier of: a) the end of the calendar day; b) the time at which the charge has completely covered the startup payment; or c) the next Resource-specific Dispatch Instruction.

    - Proposed effective date: upon system implementation.

    - No staffing impact upon system implementation; minor coding changes to Lodestar; no impact to ERCOT business functions; no impact to grid operations.

B.	PRR601	15 Minute Ramping for BES and Base Power Schedule.

    - This PRR increases the ramping period for BES deployment and for Base Power Schedule changes from 10 minutes to 15 minutes.  PRR601 implements Potomac Economics Recommendation No. 9, elimination of the “plateau” during the interval.

    - Proposed effective date: upon system implementation.

    - No impact to ERCOT staffing; no impact to grid operations. Existing ERCOT resources in Settlements, Market Operations, and System Operations will be used to implement this PRR.  This PRR impacts Lodestar, Scheduling, Pricing, and Dispatch (SPD), and Automatic Generation Control (AGC) systems. ERCOT will create a coordinated testing plan to ensure successful deployment across the market.

C.	PRR620	Notifying QSEs of their DBES Percentages.

    - This PRR would change the requirement for ERCOT to notify QSEs (via the web listener) concerning their mandatory Down Balancing Energy Service (DBES) percentages.  ERCOT operators would only send notifications to QSEs if there is any change in the percentages of the mandatory Down Balancing Energy Service.  This PRR would also require ERCOT to always post the QSEs mandatory DBES percentages.

    - Proposed effective date: January 1, 2006.

    - No budgetary impact; negligible impact to ERCOT staffing and computer systems; new task to Control Room Operations procedures; no impact to grid operations.

D.	PRR621	QSE Qualification Using Renewable Resources.

    - This PRR specifies that QSEs representing only Uncontrollable Renewable Resources may qualify to provide DBES.  This PRR also clarifies that ERCOT may only request DBES in an amount actually deliverable from the Uncontrollable Renewable Resource based upon energy production at the time of the qualification.

    - Proposed effective date:  January 1, 2006.

    - No budgetary impact; no impact to ERCOT staffing, computer systems, business function or grid operations.

E.	PRR622	Calculation of Marginal Heat Rate for Resources Receiving OOME Up Instructions.

    - This PRR removes a sentence that was inadvertently left in the Protocols during the drafting process for PRR540 (OOM Cost Recovery Process Clarification).

    - Proposed effective date:  January 1, 2006.

    - No budgetary impact; no impact to ERCOT staffing, computer systems, business function or grid operations.

F.	PRR623	Resource Plan Use for OOME Instructed Deviation.

    - This PRR would align the Protocols with current EMMS system functionality by specifying that the most current Resource Plan available at the time of Real Time Balancing (RTB) Market Clearing be used for RTB calculations.

    - Proposed effective date: January 1, 2006.

    - No budgetary impact; no impact to ERCOT staffing, computer systems, business function or grid operations.

G.	PRR624	Clarification of Market Participant Default Language.

    - This PRR strengthens or clarifies Protocol provisions that address default situations.

    - Proposed effective date: January 1, 2006.

    - No budgetary impact; no impact to ERCOT staffing, computer systems, business function or grid operations.

H.	PRR628	ERCOT Operation Performance - Non-Spinning Reserve Service Deployments.

    - This PRR adds a requirement for ERCOT to publish on the MIS the percentage of Balancing Energy Service (BES) bids awarded during every interval that includes deployment of Non-Spinning Reserve Service (NSRS); adds a requirement for ERCOT to publish a monthly report showing the average percentage of BES bids awarded when NSRS was deployed in the month; and adds a performance metric for ERCOT that reports when deployment of NSRS (in accordance with Section 6.7.4 (1)) leads to excessive replenishment of the BES Up Bid Stack, which is defined to be 90% or less depleted.

    - Proposed effective date: January 1, 2006.

    - No budgetary impact; modification of manual reports can be accomplished with current staffing levels; no impact to computer systems, business function or grid operations.

I.	PRR636	Texas SET 2.1 – Customer Registration - URGENT.

    - This PRR would update and add a new subsection to Section 15, Customer Registration, to comply with Texas SET Version 2.1 changes to transaction and business processing.

    - Proposed effective date: upon system implementation.

    - No budgetary impact because code changes are included in PR40034; no impact to ERCOT staffing; no new computer system impacts or business functions; no impact to grid operations.

J.	PRR637	Texas SET 2.1 – Retail Point to Point - URGENT.

    - This PRR would update and add a new subsection to Section 24, Retail Point to Point Communications, to comply with Texas SET Version 2.1 changes to transaction and business processing.

    - Proposed effective date: upon system implementation.

    - No budgetary impact because code changes are included in PR40034; no impact to ERCOT staffing; no new computer system impacts or business functions; no impact to grid operations.

- Protocols Submitted Since October Meeting

A.	PRR639	Notification of Repairs to EPS Meter Facilities Under Emergency Conditions

    - Allows, in emergency situations, the TDSP to repair its EPS metering without first having to notify ERCOT.

    - Comments are due on 11/11/05; it will be considered at the 11/17/05 PRS meeting.

B.	PRR640	Update Provisions for Capacity and Energy Payments for RMR Service and Add a New Standard Form Agreement for Synchronous Service

    - Revises portions of Section 6 and the RMR Agreement to provide consistency between the two.  Additionally, in the RMR Agreement, portions specific to synchronous condensers have been removed and a new Agreement (in Attachment J) created for Synchronous Condenser service.  Attachment J is based on language in Attachment F.

    - Comments are due on 11/11/05; it will be considered at the 11/17/05 PRS meeting.

C.	PRR641 - Clarifying RPRS Scheduling Language

- Section 6.4.2 (5) states that after a RPRS deployment, a QSE needs to adjust their BES bids based on the LSL and HSL of the deployed unit.  Section 6.7.5 (2) states that after a RPRS deployment, a QSE needs to adjust their BES bids based on “… the full megawatt quantity of capacity accepted by, and purchased by, ERCOT in the Replacement Reserve market.”  This PRR would change the language of Section 6.7.5 (2) to match the language of Section 6.4.2 (5).