OWG Report to ROS

11-10-05

The OWG met On October 19th, 2005. The following OGRRs are pending at the OGRTF:

- 165 – Update Unit Telemetry Requirement:  This revision proposes to add a requirement for QSEs to submit real-time AGC status and Ramp Rate for all units in their portfolio. ERCOT submits this OGR to address Recommendation No. 14 of Potomac Economics’ recommendations to improve ERCOT’s wholesale market design.  Recommendation No. 14 states that ERCOT should monitor a QSE’s ability to meet its Responsive Reserve Obligation in real-time.  Currently, capacity is monitored, but a unit’s ramp rate is not monitored.  This revision will incorporate a unit’s ramp rate and Automatic Generation Control (AGC) status in the data provided to ERCOT. This OGRR was re-posted for comments and will be reviewed at the November 20th TF meeting. The determination of the impact of what ERCOT would like provided by the QSE, with respect to Ramp Rate, is under discussion. Combined Cycle Units operate at various ramp rates depending on the configuration, load level, and services being dispatched. John advised that ERCOT would like to see the ramp rate based on the 10 minute requirement for RRS, aggregate of the ramp rate based on portfolio.

- 169OGRR - Reporting of Reserve Capability Under Severe Gas Curtailments- Adds a requirement that Resources provide additional data describing their alternative fuel capability during the winter months. (John Adams presented a revision to the format for reporting information in the Natural Gas Fuel section, but did not present the changes to the TF in a draft format for review. The TF is waiting on Harry Holloway’s definitions language to be inserted in the OGRR language for review. TF recommended that this OGRR once again go through review due to the changes being introduced by John. This OGRR is scheduled to be finalized at the OGRTF meeting on 11-15-05

- 172OGRR- Special Protection System Obligations- The changes permit the sharing of limited TDSP operating information with Generation Entities subject to SPS control as necessary to avoid SPS operations.  The changes also propose differences in the SPS review and approval process between new SPSs that involve Generation Entities or affect a wide area, and other SPSs. The OWG recommends approval of this OGRR172 as amended by Centerpoint, TXUED and the OGRTF.

- 174 – Definition of a Single Generating Unit:  This OGRR defines the meaning of the term “single generating unit” when considering a Combined Cycle Combustion Turbine (CCCT) in light of the requirements specified in Operating Guide 5.1.4 – Transmission Reliability Testing.  This OGRR also requires Generation Entities that own a CCCT to supply information to ERCOT to justify the use of an exception to the definition of a “single generating unit”. Currently, in the case of a CCCT, it is the established practice to assume that a single gas turbine and the prorated share of its associated steam turbine is a “single generating unit” as that term is used in Operating Guide 5.4.1.  However, such treatment is not explicitly described in the Operating Guide.  This OGRR formalizes this established practice to ensure consistent treatment of single generating unit outages in system planning and operating studies. ERCOT wants this OGRR to address the “Single Generating Unit” by Plant, not by CT and the corresponding participation by the Steam Turbine. TXU will re-post comments for clarification of the term for unavailable and base cases for plant trips.

- The Black Start Task Force met on November 2nd. PRS had remanded PRR584 back   to the BSTF for additional clarification and comments. No additional progress has been made to date. The Black Start Task Force  reviewed the critique sheet used at the Black Start Training Seminar and recommended appropriate changes.  Ken Simmons presented an update of the Backup communications standard and satellite communications. A number or questions were asked and ERCOT will take those back for analysis to report back to BSTF at its next meeting. PRR 631-Black Start Bid Procedures and compensation for Testing was debated for two (2) hours. After much discussion , the tack force members were asked to formalize their concerns and interpretations in comments to the PRR631.

- The OTF is now ready to conduct the Fall Storm Drill scenario. The Fall Storm Drill is schedule for November 9, 2005. This event will drill on all four EECP levels. This drill time will go towards the 40 hour requirement for emergency training for those who actually participate in the drill. The drill script will have actual language that is to be used for the load shedding in the EECP drill. The OTF will meet on September 28th to finalize the script.

- James Hinson and other ERCOT Staff were unable to attend this meeting due to the NERC audit.

- The next OWG meeting will be November 16th at the Met Center.