The SSWG met from November 1-3 to finalize data set B cases.  The standard cases remain on schedule for a November 18th posting, however, CSC cases may be posted approximately one week later.

When future cases lack generation resources to serve load, the group agreed to add generation resources and/or dispatch additional generation in the following order:

1.  DC- ties --increase transfers into ERCOT to the full capacity of the DC ties.

2. Mothballed units that have not announced their return to service (mothballed units that have announced a return to service are dispatched as part of the normal dispatch procedure).

3. Ignore spinning reserve.

4. Increase NOIE generation.

5.Add publicly announced plants without interconnect agreements.

6. Blackstart Units

7. Add generation resources at the sites of retired units.

John Moore

STEC

John Moore
South Texas Electric Cooperative
STEC
P.O. Box 119
FM 447
Nursery, TX  77976

361-485-6137 Direct
361-575-6491 Switchboard
361-485-6129 Fax

www.stec.org