TDSP Notification by ERCOT of Communication Problems with EPS Meters

ERCOT shall:

- Manually reschedule calls to try and establish meter communications with failed locations

- Identify if Primary or Back-up meter data is available for the metering point

- Determine the required time frame for repairs per Protocols

- Notify the TDSP repair contact via phone and e-mail as soon as reasonably possible.  Note: the TDSP repair contact was established by the TDSP in response to an e-mail request from ERCOT. The target time frame for such notification is by 10:00 am, normal business days.

  - Notification shall include:

    - Site Name

    - Meter serial number

    - Required time frame for repairs

      - When both the Primary and Back-up meter communications is down, the notice will include:

        - 12 hour notice to have one meter working

        - 5 business day notice to have the second meter working

    - Brief description of the problem as experienced by ERCOT

      - Rings but no answer

      - Answers as out of service

      - Busy signal

      - Error messages

      - Other

- Provide reasonable support to the TDSP to verify the communication problem is resolved.  To facilitate this support:

  - The TDSP must provide ERCOT an estimated time when such support is required for a site

- Log a record of the phone and e-mail notification including the name of the phone contact

  - Record repair date and time reported by the TDSP to ERCOT

TDSP shall:

- Provide e-mail confirmation of repairs to mreads@ercot.com including the following information:

  - Site name

  - Meter serial number

  - Date and time repairs were made

  - Brief description of what was done to repair the communication problem

  - Information on the affects the problem had on metering accuracy and meter data for the affected meter, including the time frames that such accuracy or data was affected.

- Provide an e-mail notification to ERCOT @ mreads@ercot.com when requesting a change to the TDSP repair contact information

  - A temporary change to the repair contact information shall be identified as such and shall include the beginning and ending date that such change is to be in effect.

    - The subject line should state “TDSP Name temporary change to TDSP repair contact”

  - A “permanent” change to the repair contact information shall be identified as such and shall include the beginning date that such change shall take place.

    - The subject line should state “TDSP Name permanent change to TDSP repair contact”