| PRR Number | 641 | PRR Title | Clarifying RPRS Scheduling Language |
| --- | --- | --- | --- |
| Impact Analysis Date |  | November 1, 2005 |  |
| Credit Impacts |  | YES _______ NO ______ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO __X___ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | None |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | No project is necessary. See Comments Section below. |  |
| ERCOT Staffing Impacts (across all areas) |  | None |  |
| ERCOT Computer System Impacts |  | None |  |
| ERCOT Business Function Impacts |  | None |  |
| Grid Operations & Practices Impacts |  | None |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

The proposed language aligns Section 6.7.5 (2), Deployment of Replacement Reserve Service, with the existing language in Section 6.4.2 (5), Determination of ERCOT Control Area Requirements, regarding procured Replacement Reserve Service and updating of Balancing Energy Service bids.