| PRR Number | 633 | PRR Title | TSP Data Information Requirements |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | - TSP Information to be provided to ERCOT - Approval of the Work |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | Update and clarify high level data requirements required by ERCOT from TSPs for modeling transmission grid modifications. Specifically require an energize date, ratings, the Entities responsible for proposed element ratings, and ERCOT specified data requirements. Also removed requirements for reporting “work accomplished” procedures, description of method to energize and test facilities, and in service testing. (Please note that an Administrative OGRR to Section 8 of the Operating Guides corresponding to the changes of this PRR will follow if this PRR is approved.) |  |
| Reason for Revision |  | Revisions are needed to properly address current modeling requirements. Clarifications are needed to alleviate misunderstandings or misinterpretations regarding data requirements especially those regarding ratings and ratings responsibilities. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |
| Timeline |  |  |  |
| Date Posted |  | 9/20/05 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Michael Bailey on behalf of NDSWG |
| E-mail Address | michael.bailey@CenterPointEnergy.com |
| Company | CenterPoint Energy |
| Company Address | P.O. Box 1700 Houston, TX 77251-1700 |
| Phone Number | 713-207-2278 |
| Fax Number | 713-207-2419 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Clearer expectations will yield better time management, data management, and work flow. | Long-term: Additional database parameters regarding rating responsibilities or new software capable of including parameter | Requirements for data are clarified. More effective use of current staff. |
| MARKET SEGMENT |  |  |  |
| Consumer | none | none | none |
| LSE: General, Including NOIE | none | none | none |
| LSE: CR & REP | none | none | none |
| QSE | none | none |  |
| Resource | none | none | none |
| TDSP | Communication regarding rating responsibilities is completed prior to a model change request | none | Requirements for data are clarified. |

Proposed Protocol Language Revision

8.8.2.1	TSP Information to be provided to ERCOT

The TSP shall notify ERCOT at least thirty (30) days before starting to energize or place into service any new or relocated Facility.  The Notice shall be submitted in accordance with formats and procedures adopted by ERCOT and TSPs.  For Notices involving co-owned, co-operated, or co-rated Transmission Facilities, the TSP submitting the initial Notice must communicate with the other Market Participants responsible for co-owning, co-operating, or co-rating said Transmission Facilities prior to the Notice submittal.  The Notice shall include the following information:

(1)	Proposed energize date;

(2)	TSP performing work;

(3)	TSP(s) responsible for rating affected transmission element(s);

(4)	Location Code if applicable (e.g. station code);

(5)	Identification of existing Transmission Facilities involved and new Transmission Facilities (if any) being added or existing Transmission Facilities being permanently removed from service;

(6)	Ratings of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(7)	Outages required (clearly identify each Outage if multiple Outages are required), including sequence of Outage and estimate of Outage duration;

(8)	General statement of work to be completed with intermediate progress dates and events identified;

(9)	Supervisory Control and Data Acquisition modification work including descriptions of any new data telemetry points or changes to existing telemetry;

(10)	Additional data determined by ERCOT and TSP(s) as needed to complete the ERCOT model representation of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(11)	Statement of completion, including:

(a)	Statement to be made at the completion of each intermediate stage of project; and

(b)	Statement to be made at completion of total project.

(12)	Drawings to be attached, including:

(a)	Existing status;

(b)	For each intermediate stage; and

(c)	Proposed completion of job.

8.8.2.2	Approval of the Work

On receipt of the information set forth in Section 8.8.2.1, TSP Information to be provided to ERCOT, ERCOT shall review the information and notify the TSP of any required modifications.  ERCOT may, at its discretion, require changes to and more detail regarding the work for the procedure.  The requesting TSP will consult with other Entities likely to be affected and will revise the work plan and Notice documentation, following any necessary or appropriate discussions with ERCOT and other affected Entities.  ERCOT shall approve or reject the request, including any revisions made by the TSP, within fifteen (15) days of receipt.  Following ERCOT approval, where appropriate, ERCOT shall publish a summary of the approved work on the MIS.