| PRR Number | 644 | PRR Title | Ancillary Service Re-qualification |
| --- | --- | --- | --- |
| Date |  | November 15, 2005 |  |
| Submitter’s Information |  |  |  |
| Name |  | Lloyd Prichard |  |
| E-mail Address |  | lloyd.prichard@bp.com |  |
| Company |  | BP Energy Company |  |
| Company Address |  | 501 Westlake Park Blvd. |  |
| Phone Number |  | (281) 366-4375 |  |
| Fax Number |  | (281) 366-7909 |  |

Comments

While BP appreciates what ERCOT is attempting to accomplish with PRR 644, we have a few concerns.  First, Section 6.10.5.5 (Non-Spinning Reserve Service Performance) of the current ERCOT Protocols needs to be updated to reflect how NSRS is actually deployed so that a QSE can demonstrate it’s capability to provide NSRS.  The nodal ERCOT Protocols accurately reflect how NSRS is deployed.  The rest of BP’s concerns center around the timing of the following statement submitted in this PRR.

“ERCOT shall apply the following criteria during the six months prior to the month of re-qualification to grant the exemption:”

BP is concerned about what happens if a QSE fails the acceptable criteria during the six month period.  One month is not enough time to: receive and review all pertain data with ERCOT, correct all issues that are identified, and schedule/complete new Ancillary Service Tests with ERCOT.  The scheduling/completion of new Ancillary Service Tests become more complicated, if there are multiple QSEs trying to qualify in the same month.

BP is not suggesting that ERCOT allow QSEs to provide Ancillary Services that are not qualified.  BP also sees value in scoring/qualifying a QSE over many Ancillary Service deployments, rather than one deployment during a scheduled test.  However, if issues arise and a QSE (or more) is left with only one month to re-qualify, then this PRR could adversely affect the price of Ancillary Services.  Therefore BP suggests that this PRR be adjusted to ensure that ERCOT communicate monthly with the QSE concerning their performance on all three criteria.

| Protocol Section(s) Requiring Revision (include Section No. and Title) | 6.10.3, Ancillary Services Qualification Criteria and Portfolio Test Methods 6.10.5.5, Non-Spinning Reserve Services Performance Monitoring Criteria |
| --- | --- |
| Requested Resolution (Normal or Urgent) | Urgent, as many QSEs are due for retest in 2006. |
| Revision Description | Allows QSEs to re-qualify as provider(s) of Responsive Reserve Service, Balancing Energy Service, Regulation Service, and Non-Spinning Reserve Service based upon demonstrated historical performance in lieu of repeating the qualification test(s). |
| Reason for Revision | The consistently demonstrated capability of QSEs to provide Ancillary Services imparts the same level of confidence as providing those Ancillary Services in a qualification test. Therefore, requiring another qualification test for QSEs that demonstrate high performance is unnecessary. |
| Credit Implications (Yes or No, and summary of impact) | No |
| Relevance to Nodal Market (Yes or No, and summary of impact) | Yes, the same requalification standards should apply in the nodal market. Section 8.1.2.4.3 does not need to be changed. |
| Nodal Protocol Section(s) Requiring Revision (include Section No. and Title) | 8.1.2.2.1, Ancillary Service Technical Requirements and Qualification Criteria and Test Methods |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 | There is a savings to both ERCOT and QSEs in removing manual A/S qualification testing for those entities having successful operational history. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | No market costs |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Reduced MP costs- If historical performance is acceptable, certain QSEs will be exempted from the manual process and costs of qualifying their resources for some or all Ancillary Services. | Dependent on number of Units to be re-qualified |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | The removal of testing efforts for those Resources which have historically provided proper Ancillary Services will minimize costs to those Resources and ERCOT, and will minimize disruption to the market due to testing. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

Proposed Protocol Language Revision

6.10.3	Ancillary Services Qualification Criteria and Portfolio Test Methods

Only QSEs that have been qualified and tested may be used to provide Ancillary Services.  ERCOT shall develop and operate its qualification and testing program to meet the following requirements for each Ancillary Service.

A QSE shall be qualified and tested to provide Service prior to initial operation and every five years thereafter.

ERCOT shall exempt a QSE from re-qualification testing based on Ancillary Services performance.  ERCOT shall apply the following criteria during the six months prior to the month of re-qualification to grant the exemption.  ERCOT shall provide monthly performance updates to the QSE for the following criteria during the six months prior to the month of re-qualification:

(1)	For Balancing Energy and RGS, the QSE’s SCE Monitoring Criteria performance scores in Section 6.10.5.3, Regulation Services Monitoring Criteria, were passing for five (5) out of the previous six (6) months.

(2)	For RRS, the RRS criteria in Section 6.10.5.4, Responsive Reserve Services Performance Monitoring Criteria, were passing for five (5) out of the previous six (6) deployment measurements.

(3)	For NSRS, the NSRS monitoring criteria in Section 6.10.5.5, Non-Spinning Reserve Services Performance Monitoring Criteria, were passing for five (5) out of the previous six (6) deployment measurements without retest.

ERCOT is authorized to call up to two unannounced, unscheduled qualification tests after presenting to the QSE supporting information of an indication that a Resource may not be able to meet its stated Net Dependable Capability during any calendar year.

QSEs may qualify by using either Generation Resource(s) or Load(s) Acting as a Resource (LaaR(s)).  If a QSE qualifies by using only a LaaR then the QSE may only provide Ancillary Services using LaaRs and will not be qualified to provide Ancillary Services using Generation Resources.  However, if a QSE successfully completes the qualification using Generation Resource(s), that QSE will be qualified to provide Ancillary Services from both Generation Resources and LaaRs.

ERCOT may grant a “Provisional Qualification,” for a period not to exceed ninety (90) days, to a QSE that has performed an Ancillary Service qualification test (or tests) in good faith but failed to qualify due to problems that, in the sole discretion of ERCOT, are determined to be non-critical for the purpose of providing one or more Ancillary Services.  Notwithstanding the failure of a QSE with Provisional Qualification to meet the applicable Ancillary Service criteria, such QSE may provide such Ancillary Service to the extent permitted by the terms of the Provisional Qualification.

6.10.5.5	Non-Spinning Reserve Services Performance Monitoring Criteria

QSEs providing Non-Spinning Reserve Services must so indicate in the Scheduling Process.  On deployment of any Non-Spinning Reserve Service, the QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the instructed Non-Spinning Reserve power requirement.  ERCOT’s calculation of SCE thirty (30) minutes after the Dispatch Instruction will determine the level of Non-Spinning Reserve provided.  Control performance of the QSE providing only Non-Spinning Reserve Services shall be deemed satisfactory when:

(1)	Not less than ninety-five percent (95%) nor more than one hundred fifty percent (150%) of the Non-Spinning Reserve Services requested, subject to the declared capabilities of the QSE, is provided within thirty (30) minutes of ERCOT’s deployment Dispatch Instruction and maintained until recalled or the QSE’s service Obligation expires; and,

(2)	The Non-Spinning Reserve Service requested shall return to within ninety percent (90%) to one hundred ten percent (110%) of its pre-deployment scheduled output, subject to the declared capabilities of the QSE, within thirty (30) minutes following a recall instruction from ERCOT, or as soon as practical considering process constraints if the Non-Spinning Reserve Service is being served by a LaaR.

Proposed Nodal Protocol Language Revision

8.1.2.2.1	Ancillary Service Technical Requirements and Qualification Criteria and Test Methods

A QSE that has been qualified and tested may provide Ancillary Service.  ERCOT shall develop and operate its qualification and testing program to meet the following requirements for each Ancillary Service.

(a)	A QSE must be qualified and tested to provide Ancillary Service prior to initial operation and every five years thereafter.  ERCOT may conduct two unannounced, unscheduled qualification tests after presenting to the QSE supporting information that a Generation Resource or Load Resource may not be able to meet its stated Net Dependable Capability during any year.

(b)	ERCOT shall exempt a QSE from re-qualification testing based on Ancillary Services performance.  ERCOT shall apply the following criteria during the six months prior to the month of re-qualification to grant the exemption.  ERCOT shall provide monthly performance updates to the QSE for the following criteria during the six months prior to the month of re-qualification:

(1)	For Balancing Energy and RGS, the QSE’s SCE Monitoring Criteria performance scores in Section 8.1.2.4.1, Regulation Service Energy Deployment Criteria, were passing for five out of the previous six months.

(2)	For RRS, the RRS criteria in Section 8.1.2.4.2, Responsive Reserve Service Energy Deployment Criteria, were passing for five out of the previous six deployment measurements.

(3)	For NSRS, the NSRS monitoring criteria in Section 8.1.2.4.3, Non-Spinning Reserve Energy Deployed under Dispatch Instruction Criteria, were passing for five out of the previous six deployment measurements without retest.

(c)	ERCOT may grant a “Provisional Qualification,” for a period not to exceed 90 days, to a Load Resource that has performed an Ancillary Service qualification test (or tests) in good faith but failed to qualify due to problems that, in the sole discretion of ERCOT, are determined to be non-critical for the purpose of providing one or more Ancillary Service.  Notwithstanding the failure of a Load Resource with Provisional Qualification to meet the applicable Ancillary Service criteria, such Load Resource may provide such Ancillary Service to the extent permitted by the terms of the Provisional Qualification.