ERCOT Meter Working Group Meeting

Agenda & Minutes

Meeting Date: November 16, 2005

Location: ERCOT Taylor Control Center 1

Taylor, TX

Conference Room 253

9:00 – 9:05: 	Reading of ERCOT Anti trust rules.

9:05 – 9:10: 	Opening Business from Chairman – Ken Swift

9:10 – 11:30:	Finalizing changes of SMOG

MWG completed the review of the SMOG. ERCOT will finalize the formatting required for insertion of a table of contents. The final document will be distributed to the MWG distribution list when the SMOGRR is completed.

Timeline:

Market Rule will have a TOC by Nov 30th.

MWG submit SMOGRR Dec 1, 2005.

MWG Conference call to discuss SMOGRR – Dec 5, 2005.

SMOGRR submitted to WMS – DEC 7 for consideration on Dec 14th 	meeting

11:30 – 12:30:	Lunch

12:30 – 13:30 Changes to Processes & Cutover form based on updates to SMOG

000/020 & Cutover form

Review and edited 000, 020 and Cutover form.

13:30 – 13:40 	CCVT/FOCT Testing Update – Tony Davis

Ken Swift informed the group that the new due date for submitting the 			updates to ERCOT is December 15, 2005

13:40 – 14:00 Daylight Saving Time Change – Bob Collins

Skipped due to lack of time

14:10 – 14:30	Discussion of Protocols section 10.2.3 and 10.3.2.3 – Don Tucker

Don presented drawings of 6 Scenarios of Generation Netting and a discussed EPS Metering and LARRs.

Drawings available from Bob Collins, email: rcollins@ercot.com

14:30 – 14:45: Process for Nomination for next year chairs

Nomination process will be the same as last year. Submit your nominations for Chair and Vice Chair by Dec 15 to EPSMetering@ercot.com

14:45 – 15:00 Wrap up.