## Sheet1
Section 22F Protocols Clarification
Reviewer | Section | Requested Clarification
Xiao | 22F, Agreements, Section 1.D Section 1.F(2) Section 1.I(2) Section 1.K Section 8.C(2) Section 9.C Section 9.D(2) | Should statements related to "Synchronous Condenser Unit" be deleted because "Synchronous Condender Unit" was removed from other sections of the Nodal Protocols?
Wagner | 22F, Agreements, Section 1.E | Section "Agreements" Part E should require a facility stack emission point diagram indicating the relationship of separately monitored units for federal reporting with Continuous Emision Monitoring purposes. (Such a drawing is required under the Clean Air Act and facilities subject to these requirements should already have one.)
Xiao | 22F, Agreements, Section 1.G | Should "Delivery Point" be changed to "Electrical Bus"?
Wagner | 22F, Agreements, Section 1.I | Should be expanded to include: average emission rates on an lb/hr and a lb/MBTU basis and heat rate information should be supplied at the LSL, mid range, and HSL levels. Any emission rate limitations that constrain physical operation and or output of the facility, particularly those contained in air permits should be noted and provided in detail as an attachment. Further, any more conservative permit requirements (for instance seasonal requirements, or changes to state or federal rules) that would impact and or constrain facility operation anticipated to become applicable over the projected RMR contract period should be so declared and set forth here in detail.
Xiao | 22F, Agreements, Section 1.J(1) | Should "Startup Fuel" be provided for cold, warm and intermediate starts?
Xiao | 22F, Agreements, Section 1.J(2) | Should "I/O" be "heat rate" and units include "vs. MW"?
Wagner | 22F, Agreements, Section 1 | Need an affirmative requirement to provide fuel contract information relevant to the Resource and Time Period under consideration for the RMR contract. This could be section L and renumber the old L to M. Proposed Language: "Entity shall supply all relevant fuel contract information, including price and volume information and take or pay provisions. To the extent that this information is confidential, ERCOT shall treat it as confidential information." (Do the confidentiality provisions in the front and other RMR provisions protect the fuel information already--maybe the confidentiality statement isn't needed here.)
Xiao | 22F, Agreements, Section 7.C | Should the reduction in incentive payment be in effect for all the hours from the first hour in which the Tested Capacity is less than the RMR Capacity until the hour when a new Capacity Test is performed?
Wagner | 22F, Agreements, Section 8.B(1)(a) | Modify language with italics as shown: "Participant shall timely report to ERCOT those items and conditions necessary for ERCOT’s internal planning and compliance with ERCOT’s guidelines in effect from time to time. The information supplied must include, without limitation, the following: (a) Availability Plan for the Operating Day (transmitted to ERCOT 0600 of the Day Ahead), including any applicable air emission rates governed by permits or conditions in effect and any known fuel constraints or limitations;
Wagner | 22F, Agreements, Section 8.B(1)(c) | Modify language with italics as shown: "(c) Status of the Unit with respect to Environmental Limitations listed in Section 1.I above, if any, including year to date emission increments used relative to the annual and seasonal emission limitations (or credit allocation) for SO2 and NOx"
Wagner | 22F, Agreements, Section 8.C | The "Delivery Plan" is now determined through the DAM process. Language states: "ERCOT shall notify Participant, through its QSE, of the hours and levels of generation, if any, that the Unit is to operate. This information is called the “Delivery Plan." Does this language need to be modified?
Wagner | 22F, Agreements, Section 9.D(1) | Language states: "(1) For a RMR Unit, a “Misconduct Event” means any hour or hours during which Participant is requested to, but does not, deliver to ERCOT Energy at a level of at least 98% on each hour (on a kilowatt-hour/hour basis) of the level shown in the Availability Plan." The term "ERCOT" should be replaced by the words "Delivery Point" as in Section 1 G. (Energy is not delivered to ERCOT and ERCOT does not take title to energy.)
Wagner | 22F, Agreements, Section 9.D(3) | Grammar: "Misconduct Event is measured…" should be "Misconduct Events are measured…"