Date:  November 22, 2005

To:  TAC Representatives

From:  Kevin Gresham, PRS Chair

Re: Consideration of Protocol Revision Requests

PRS acted upon the following PRRs and presents them to the TAC for consideration:

# PRRs Recommended for Approval:

PRS voted to recommend the following PRRs to the TAC for approval:

- PRR625 - Clarification of Emergency QSE Language.  Proposed effective date: February 1, 2006.  No budgetary impact; no staffing impact; no impact to ERCOT systems; no impact to ERCOT business functions; no impact to grid operations.  This PRR proposes changes that strengthen or clarify Protocol language that address when and how an Emergency Qualified Scheduling Entity (QSE) may be used.  ERCOT posted this PRR on 8/26/05.  On 9/29/05 the submitter requested deferral of consideration.  On 10/20/05, PRS voted to recommend approval of PRR625 as modified by PRS.  There were nine abstentions: two from the Independent Generator segment; three from the Municipal; one from the Consumer; one from the Independent REP; and two from the Independent Power Marketer.   All segments were present for the vote.   On 11/8/05, the sponsor requested that PRS grant urgent status for PRR625 for the following reasons: (1) this PRR will substantially reduce market exposure in the event of a dropped LSE; and (2) this PRR, with urgent status, could be put back into the same track as PRR624 (Clarification of Market Participant Default Language), another credit-related PRR developed in conjunction with PRR625.   PRS did not grant urgent status.  On 11/17/05, PRS voted to send the PRR and its impact analysis to TAC; there was one abstention from the Independent Generator segment.  The ERCOT CWG supports PRR 625 and believes this PRR has positive credit implications.

- PRR633 – TSP Data Information Requirements.  Proposed effective date: February 1, 2006.  No budgetary impact; no staffing impact; no impact to ERCOT systems; no impact to ERCOT business functions; no impact to grid operations.  This PRR updates and clarifies high level data requirements for modeling transmission grid modifications that Transmission Service Providers (TSPs) must provide to ERCOT.  This PRR also proposes that reporting of “work accomplished” procedures, description of method to energize and test facilities, and in service testing be removed as reporting requirements.  ERCOT posted this PRR on 9/20/05.  On 10/20/05, PRS voted to recommend approval of PRR633 as amended by PRS.  There was one abstention from the Independent Power Producer segment.  All segments were present for the vote.  On 11/17/05, PRS voted to send the PRR and its impact analysis to TAC; there was one abstention from the Independent Generator segment.  ERCOT credit staff and the CWG have reviewed PRR633 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR634 – ESI IDs Inadvertently Placed in Inactive Status.  Proposed effective date: February 1, 2006.  No budgetary impact; no staffing impact; no impact to ERCOT systems; no impact to ERCOT business functions; no impact to grid operations.  This PRR provides the ability for ERCOT to re-instate ESI IDs incorrectly placed into an inactive status.    ERCOT posted this PRR on 9/22/05.  On 10/20/05, PRS voted unanimously to recommend approval of PRR634 as amended by PRS.  All segments were present for the vote.  On 11/17/05, PRS voted to send the PRR and its impact analysis to TAC; there was one abstention from the Independent Generator segment.  ERCOT credit staff and the CWG have reviewed PRR633 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR641 - Clarifying RPRS Scheduling Language - URGENT.    Proposed effective date: January 1, 2006.  No budgetary impact; no staffing impact; no impact to ERCOT systems; no impact to ERCOT business functions; no impact to grid operations.  This PRR aligns Section 6.7.5(2), Deployment of Replacement Reserve Service, with the existing language in Section 6.4.2(5), Determination of ERCOT Control Area Requirements, regarding procured Replacement Reserve Service and updating of Balancing Energy Service bids.  ERCOT posted this PRR on 10/27/05.  On 10/31/05, PRS granted urgent status via email vote.  On 11/17/05, with all market segments present, PRS voted unanimously to recommend approval of PRR641.  ERCOT credit staff and the CWG have reviewed PRR641 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR643 – Shorten Payment Default Timelines - URGENT.  Proposed effective date: January 1, 2006.  No budgetary impact; no staffing impact; no impact to ERCOT systems; no impact to ERCOT business functions; no impact to grid operations.  This PRR proposes to: (1)	reduce the number of days allowed to cure a breach before it becomes a Default under the LSE, QSE and TCR Agreements from 3 Business Days to 2 Business Days; and (2) make collateral payments due by 3:00pm on the second day after notification rather than by 5:00 pm on that day.  ERCOT posted this PRR on 11/14/05.  PRS granted urgent status via email vote on 11/16/05.  On 11/17/05, PRS voted to recommend approval of PRR643 as amended by PRS.  There was one abstention from the Independent REP segment.  PRR643 was sponsored by the CWG.

- PRR644 - Ancillary Service Re-qualification - URGENT.  Proposed effective date: January 1, 2006.  No budgetary impact; no staffing impact; no impact to ERCOT systems; no impact to ERCOT business functions; no impact to grid operations. This PRR Allows QSEs to re-qualify as provider(s) of Responsive Reserve Service, Balancing Energy Service, Regulation Service, and Non-Spinning Reserve Service based upon demonstrated historical performance in lieu of repeating the qualification test(s).  ERCOT posted PRR644 on 11/14/05.  On 11/16/05, PRS did not approve urgent status via email vote.  On 11/17/05, PRS reconsidered and granted urgent status for PRR644 because many QSEs are due for Ancillary Service re-qualification in 2006.  Also on 11/17/05, with all segments present, PRS unanimously voted to recommend approval of PRR644 as modified by PRS.

---------------------------------------------------------------------------------------------------------------------

# Status of Pending PRRs (Information Purposes Only):

The following PRRs are pending and the current status is explained below:

Pending Input from Other Subcommittees

- PRR476 – Ramp Rate Adherence During Local Congestion.  PRS recommended approval of this PRR on 5/21/04; TAC approved it on 6/3/04.  On 6/15/04, the Board remanded PRR476 back to the TAC for the development of a cost estimate, noting that there is more than one way to implement the PRR and that further direction from the stakeholders is needed.  On 7/8/04, TAC remanded PRR476 to the PRS with instructions that the WMS is to further define how PRR476 should be implemented.

- PRR539 – OOMC Claw Back Correction.  This PRR was posted on 9/1/04.  At its September meeting, PRS voted to remand PRR539 to WMS for additional review.

- PRR541 – Regulation Deployment Ramp Rate.  This PRR was posted on 9/1/04.  PRS voted to remand PRR541 to WMS at its September meeting.

- PRR549 – Regulation Control During Abnormal Frequency Events.  ERCOT posted this PRR on 10/8/04.  At its November meeting, PRS remanded the PRR to ROS.

- PRR584 – Extending Black Start Service Bid Timeline.  ERCOT posted this PRR on 3/25/05.  On 4/21/05, PRS voted to refer the PRR to the Black Start Task Force for further development.  There were three abstentions from the Municipal and Coop (two) segments.  All segments were present for the vote.

- PRR586 – SCE Performance and Regulation Cost Re-allocation.  ERCOT posted this PRR on 4/01/05.  The submitter requested urgent status, but the request failed to garner enough e-mail votes. On 5/19/05, PRS discussed the PRR and voted to remand it to ROS with a suggestion that the PDC review issues identified by PRS.  On 7/21/05, PRS discussed the PRR and voted to refer it to WMS and ROS for further development.  On 9/29/05, ROS reported the results of its investigation to PRS.

- PRR553 – Scheduling Trading Hubs.  This PRR was remanded by TAC on 1/6/05 to PRS, to be remanded to WMS to further review its impacts and determine the necessity of implementing this PRR before the possible implementation of a nodal market (TNT).

- PRR605 - SCE Performance Monitoring for Combined Cycle Resources. ERCOT posted this PRR on 5/27/05.  PRS did not approve the request for urgent status (via email vote).  At its 6/23/05 meeting, PRS voted to refer the PRR to WMS for assignment to the WMS task force considering frequency issues.

- PRR607 - One-Minute Ramp Schedules.  ERCOT posted this PRR on 5/27/05.  At its 6/23/05 meeting, PRS voted to refer the PRR to WMS for assignment to the WMS task force considering frequency issues.

- PRR608 - Improve Ancillary Service Performance Conditions.  ERCOT posted this PRR on 6/1/05.  On 7/21/05, PRS voted to refer PRR608 to WMS and ROS task forces.

- PRR631 – Black Start Bid Procedures and Compensation for Testing.  ERCOT posted this PRR on 9/6/01.  On 10/20/05, PRS voted unanimously to refer PRR631 to ROS and the Black Start Task Force to address issues raised in ERCOT Staff’s comments.

- PRR632 – Clawback Mechanism for Generating Resources at a Site with an RMR Unit.  ERCOT posted this PRR on 9/9/01.  On 10/20/05, PRS voted unanimously to refer PRR632 to WMS to revisit the cross-subsidization issues for RMR contracts and to report to PRS at its January 2006 meeting.

PRS Action Taken, ERCOT Conducting Impact Analysis for November PRS Meeting

- PRR543 – Schedules and Emergency Assistance Over CFE-ERCOT DC Ties.  ERCOT posted this PRR on 9/14/04.  PRS discussed PRR543 at its October meeting and tabled it pending further discussions with Commission Federal de Electricidad (CFE) of Mexico and final development.  The ERCOT CWG has reviewed PRR 543 and notes that credit risk exists to the extent energy flows to CFE from the ERCOT System as a result of the proposed Agreement.  See CWG comments dated 10/19/04 for details.  On 11/17/05, with all segments present, PRS voted unanimously to recommend approval of PRR543 as amended by PRS.

- PRR627 - RMR Transmission Issues and RMR Contract Extension. ERCOT posted this PRR on 8/26/05.  On 9/29/05 the submitter requested deferral of consideration.  On 10/20/05, PRS unanimously voted to refer PRR627 to a PRS task force.   On 11/17/05, PRS voted to recommend approval of PRR627 as amended by comments from the PRR637 Task Force and CenterPoint Energy.  There were three abstentions from the IOU and Municipal (2) segments.  ERCOT credit staff and the CWG have reviewed PRR627 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR638 – Change Settlement Invoice Due Date from 16 Calendar Days to Five Bank Business Days.  ERCOT posted this PRR on 10/4/05.  On 11/17/05, PRS voted unanimously to recommend approval of PRR638 as amended by ERCOT comments and PRS.  The ERCOT Credit Work Group supports PRR638 which reduces the Settlement Invoice Due Date from 16 Calendar Days to Five Bank Business Days. This PRR has positive credit implications.

- PRR639 – Notification of Repairs to EPS Meter Facilities Under Emergency Conditions.  ERCOT posted this PRR on 10/21/05.  On 11/17/05, PRS voted unanimously to recommend approval of PRR639 as revised by PRS.  All segments were present for the vote.

Sponsor Requested Deferral of Consideration

- PRR472 – ERCOT Meter Read Transaction Validation Reinstatement.  PRS remanded this PRR to RMS in November, 2003.  Based on a request by the submitter, RMS recommended deferral of consideration of PRR472 on 3/18/04.

- PRR602 - Ancillary Service Obligation for DC Tie Exports.  Proposed effective date: upon system implementation.  Budgetary impact less than $100,000; no staffing impact upon system implementation; modification to Lodestar to exclude DC tie exports from AS Obligation calculations; no impact to ERCOT business functions; update necessary to Control Room procedures.  This PRR removes the allocation of AS to DC Tie exports.  ERCOT posted this PRR on 5/4/05.  On 6/23/05, PRS did not approve a motion to recommend approval.  After additional discussion, PRS decided to table the PRR pending additional information from ERCOT staff.  On 7/21/05, PRS voted to recommend approval of PRR602 as amended by comments submitted by ERCOT Staff and PRS.  There were two abstentions from the Independent REP segment and the Independent Power marketer segments; all segments were present for the vote.  On 8/24/05, PRS voted to assign a Priority of 1.1 and a Rank of 32.5.  There were two votes against the motion (Municipal and Independent Power Marketers) and eight abstentions (Municipal, Investor Owned Utilities, Independent Generators, Consumers, and Independent Power Marketers).  On 9/8/05, TAC approved PRR602 as recommended by PRS.  There was one vote against (Municipal segment) and two abstentions (Cooperative segment).  All market segments were present for the vote.  On 10/27/05, PRS modified the CBA for PRR602 and voted unanimously to send it to TAC for review.  The Independent REP segment was not represented at the 10/27/05 meeting.  ERCOT credit staff and the CWG have reviewed PRR602 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.  On 11/3/05, TAC voted to remand PRR602 to PRS for further development of the CBA and incorporation of ERCOT comments.  There were seven abstentions (four Independent Power Marketers, two Independent Generators, and one Investor Owned Utility).  All market segments were present.  The sponsor requested that PRS defer action until its December meeting.

- PRR630 - Private Use Networks.  ERCOT posted this PRR on 8/26/05.  It is on a normal timeline.  On 9/29/05 the submitter requested deferral of consideration.  On 10/20/05, PRS tabled PRR630 to allow time for TIEC to submit formal comments.  ERCOT credit staff and the CWG have reviewed PRR630 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR635 – Resource Plan Performance Metrics Update.  ERCOT posted this PRR on 9/22/05.  It is on a normal timeline.  On 10/20/05, PRS tabled PRR635 to allow time to address issues raised in ERCOT Staff’s comments.  On 11/17/05, PRS again deferred PRR635.

- PRR640 – Update Provisions for Capacity and Energy Payments for RMR Service and Add a New Standard Form Agreement for Synchronous Condenser Service.  ERCOT posted this PRR on 10/21/05.  It is on a normal timeline.  On 11/17/05, PRS deferred action until its December meeting.