| PRR Number | 647 | PRR Title | Gross and Net MW Mvar Data Reporting |
| --- | --- | --- | --- |
| Impact Analysis Date |  | December 5, 2005 |  |
| Credit Impacts |  | YES _______ NO ___X__ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | None |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | No project is required; however, due to the necessary reiterative nature of communication between ERCOT and Transmission Service Providers (TSPs), approximately 3 months will be necessary to prepare ERCOT systems to receive the additional data point. |  |
| ERCOT Staffing Impacts (across all areas) |  | Current staff can perform the tasks necessary to prepare systems to receive both the gross and net MW (Megawatt) and Mvar (Megavolt Ampere Reactive) data from entities. This is a one time and minor impact. |  |
| ERCOT Computer System Impacts |  | There will be a minor effort required to prepare systems to receive both net and gross data as opposed to currently receiving one or the other. |  |
| ERCOT Business Function Impacts |  | None. |  |
| Grid Operations & Practices Impacts |  | There is no impact to Control Room Operations. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

ERCOT would prefer a deadline for the submittal of information in order to adhere to the three month approximation. ERCOT cannot complete the work without the information from Transmission Providers.