DWG Report to ROS, December 2005

- The last DWG meeting was November 8-9, 2005.

- The simulation of the August 19, 2004 FPL Forney plant trip is complete. The report is in document DWG Event Simulation Report.doc.

- Work on the annual DWG Procedural Manual review is nearly complete. Note that some issues related to NERC compliance were raised by Mark Henry as we were finishing our work.  Discussion with Mark revealed that there is no significant concern with the DWG Procedural Manual, and it will likely take some time and coordination with other entities to resolve the issues. Mark agreed the DWG Procedural Manual could be sent to ROS for approval without addressing these issues as long as DWG addresses them next year.

- DWG recommends Wes Woitt of CenterPoint to be the DWG Chair in 2006.  Wes is currently the DWG Vice-Chair.  DWG recommends Vance Beauregard of AEP to be the DWG Vice-Chair for 2006.

- DWG has spent quite a bit of time reviewing the TVD and TVS issue. Our recommendation is contained in document TSV & TVD Recommendation.doc.

- The next DWG meeting will be early next year.

DWG Tasks, 2005

| Task | Status |
| --- | --- |
| Flat start future case (part of 2005 flat start effort). | Complete |
| Incorporate load as responsive reserve models into dynamics database. | Complete |
| Flat start 2005 case with wind models. | Complete |
| Publish flat start book. | Complete |
| Make annual determination of the number and location of dynamic monitoring devices. | Complete |
| Study: Simulate ROS selected event and evaluate fidelity with recorded event data. | Complete |
| Revise ERCOT wind models for better fidelity during multi-wind plant studies. | Complete |
| Work with ERCOT Planning to archive DWG documents. | Working |
| Annual Procedural Manual review/update. | Working |
| Begin 2006 flat-start activities. Note 1 | Complete |
| Revisit TVD, part I. Determine whether the guidance is effective and appropriate. | Complete |

Note 1: The 2006 flat start activities will extend several months into 2006. This item simply recognizes that the work begins in 2005.