| PRR Number | 639 | PRR Title | Notification of Repairs to EPS Meter Facilities Under Emergency Conditions |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 10.8.1.2, ERCOT Polled Settlement Metering Facilities Repairs |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | This revision would allow, in emergency situations, the TDSP to repair its EPS metering without first having to notify ERCOT. |  |
| Reason for Revision |  | Currently, technicians must notify ERCOT prior to repairing EPS Metering facilities. This provides provisions for emergency situations. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |
| Timeline |  |  |  |
| Date Posted |  | 10/21/05 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Ken Swift, on behalf of the Meter Working Group (MWG) |
| E-mail Address | ken.swift@txued.com |
| Company | TXU Electric Delivery |
| Company Address |  |
| Phone Number | 817-215-6155 |
| Fax Number |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | None | None | Faster repairs to EPS Metering Facilities in emergency conditions |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | None |
| LSE: General, Including NOIE | None | None | Faster repairs to EPS Metering Facilities in emergency conditions |
| LSE: CR & REP | None | None | Faster repairs to EPS Metering Facilities in emergency conditions |
| QSE | None | None | Faster repairs to EPS Metering Facilities in emergency conditions |
| Resource | None | None | Faster repairs to EPS Metering Facilities in emergency conditions |
| TDSP | None | None | Faster repairs to EPS Metering Facilities in emergency conditions |

Proposed Protocol Language Revision

10.8.1.2	ERCOT Polled Settlement Metering Facilities Repairs

If an EPS Metering Facility requires repairs to ensure that it operates in accordance with the requirements of this Section, then the TDSP shall immediately notify ERCOT of the need for repairing such Facility.  In emergency conditions, notification of the repairs shall occur prior to the end of the next Business Day.

(1)	Where no Back-up Meter exists or back-up meter data is unavailable, the TDSP shall ensure that the metering point is repaired and operational within twelve (12) hours of problem detection;

(2)	Where a functional and operational Back-up Meter exists, the TDSP shall ensure that the metering point is repaired and operational within five (5) Business Days of problem detection.