| PRR Number | 602 | PRR Title | Ancillary Service Obligation for DC Tie Exports |
| --- | --- | --- | --- |
| Date |  | December 13, 2005 |  |
| Submitter's Information |  |  |  |
| Name |  | Larry Gurley |  |
| E-mail Address |  | lgurley@tnsk.com |  |
| Company |  | Tenaska Power Services |  |
| Company Address |  | 1701 E. Lamar Blvd., Arlington, TX 76006 |  |
| Phone Number |  | (817) 303-3601 |  |
| Fax Number |  | (817) 303-1104 |  |

| ERCOT / Market Segment Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | The cost per MWh of the Ancillary Services avoided is $2.50. |  |
|  | 2 | The cost per MWh of load ratio share uplifts is $1.00. |  |
|  | 3 | The cost of the ERCOT Fee is $0.42/MWh. |  |
|  | 4 | MW Daily Entergy Hub and ERCOT North Zone day ahead indices are a good approximation for the price differences on either side of the DC Tie. |  |
|  | 5 | Price indices were available for the period March 1, 2005 through August 31, 2005. Assumed that the bulk of the savings would come from this period in the year. |  |
|  | 5 | If Ancillary Service obligations are removed from DC Tie exports, additional power will be scheduled out of the tie when the price for Entergy Hub is greater than ERCOT North Zone by more than the sum of the ERCOT Uplifts and the ERCOT Fee ($1.42/MWh). |  |
|  | 6 | If additional power is exported on the DC Tie, market participants selling the export will receive an economic benefit from buyers outside ERCOT. |  |
|  | 7 | If additional power is exported on the DC Tie, ERCOT loads will receive an economic benefit from the LRS incurred by the export. Each load’s LRS will be reduced. |  |
|  | 8 | Additional ERCOT fees will be collected from the additional DC Tie exports. |  |
|  | 9 | For the period analyzed, there were no DC Tie exports. There will be no loss of revenue if Ancillary Service obligations are removed from exports. |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | Cost to implement per QSE | $0 |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Value per year to market participants exporting from the DC Ties | $589,000 per year |
|  | 2 | Savings to load from LRS | $307,000 per year |
|  | 3 | Additional ERCOT Fees | $129,000 per year |
|  | 4 |  |  |
| Intangible | 1 |  |  |
| Benefits | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |