| PRR Number | 623 | PRR Title | Resource Plan Use for OOME Instructed Deviation |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 6.7.7.2 Deployment of Resource-Specific OOME Before Market Clearing |  |  |
| Effective Date |  | January 1, 2006 |  |  |
| Priority & Rank Assigned |  | N/A |  |  |
| Revision Description |  | This PRR would align the Protocols with current EMMS system functionality by specifying that the most current Resource Plan available at the time of Real Time Balancing (RTB) Market Clearing be used for RTB calculations. |  |  |
| Overall Market Benefit |  | Consistency between Protocols and ERCOT systems. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the CWG have reviewed PRR623 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - This PRR and an Impact Analysis was posted on 8/25/05. - PRS considered this PRR on 9/29/05. - PRS reviewed the Impact Analysis and draft PRS Recommendation Report on 10/20/05. - TAC considered this PRR on 11/3/05. - The Board considered this PRR on 12/13/05. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 9/29/05, PRS unanimously voted to recommend approval of PRR623 as submitted. All market segments were present for the vote. On 10/20/05, PRS voted unanimously to endorse the PRS Recommendation Report and Impact Analysis. All market segments were present. |  |  |
| Summary of PRS discussion |  | On 9/29/05, ERCOT explained that since implementation of EMMS Release 3, the Balancing Energy market clearing engine uses the most recently updated Resource Plan output level in its calculations. On 10/20/05, PRS noted that PRR623 would not require a project if approved. |  |  |
| TAC Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 11/3/05, TAC unanimously voted to recommend approval of PRR623 as recommended by PRS. All market segments were present. |  |  |
| Summary of TAC discussion |  | No discussion. |  |  |
| Board Action |  | On 12/13/05, the Board unanimously approved PRR623 as recommended by TAC. |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | None | None | Protocols will be consistent with the current system. |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Protocols will be consistent with the current system. |
| LSE: General, Including NOIE | None | None | Protocols will be consistent with the current system. |
| LSE: CR & REP | None | None | Protocols will be consistent with the current system. |
| QSE | None | None | Protocols will be consistent with the current system. |
| Resource | None | None | Protocols will be consistent with the current system. |
| TDSP | None | None | Protocols will be consistent with the current system. |

| Original Sponsor |  |
| --- | --- |
| Name | Brandon Whittle |
| Company | ERCOT |
| Segment | N/A |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
|  | None received. |

Proposed Protocol Language Revision

6.7.7.2	Deployment of Resource-Specific OOME Before Market Clearing

When ERCOT issues a Resource-specific OOME Dispatch Instruction before the Balancing Energy Service market clears, the instructed deviation resulting from the OOME Dispatch Instruction will be defined as the difference between the instructed output level in the Dispatch Instruction and the Resource Plan output level when the Balancing Energy market clearing engine is initiated for the target service interval except: 1) A Resource is instructed to operate at or above an instructed output level and the planned output level of that Resource is above the instructed output level, or 2) A Resource is instructed to operate at or below an instructed output level and the planned output level of that Resource is below the instructed output level.  The instructed deviation will be balanced using the Balancing Energy Service Bid Stack.  ERCOT will send OOME Dispatch Instructions to QSEs concurrent with Balancing Energy Service Dispatch Instructions for the target interval.  The Balancing Energy Service deployment will be limited by the constraints imposed by the OOME Dispatch Instructions.  The instructed deviations for these OOME Dispatch Instructions will be included in the Balancing Energy Service Dispatch Instructions for that QSE for the target interval.  ERCOT must honor the unit ramp rates set forth in the QSE’s Resource Plan for the applicable Generation Resource.