# Texas SET Change Control Form

Texas SET Change Request

Change Control #2003-517

This TX SET Change Request can be found on the ERCOT website at www.ercot.com  .

| Requester’s Name: Bill Reily | Company Name: ONCOR | Phone #: 817.480.7300 |
| --- | --- | --- |
| Date of Request: 050103 | Affected EDI Transaction Set #(s): 814_28 | E-Mail Address: breily@oncorgroup.com |
| Emergency Priority* (Y/N): | Requested Implementation Date: Future Implementation | Production Implementation Date: |
| Testing Required for this CC (Y/N): | Testing Flight Number: (ready to test for this flight) | Status: |

Brief Explanation (This will be copied into the description in the Change Control Summary Spreadsheet):

Existing Table codes inadequate for providing CR and end use customer reasons for TDSP’s “Complete Unexecutable”

Reason for Request (Explain why this change is needed. For business or technical purposes?):

Addition of new codes to tables would allow an automated process to expedite the use of the 814_28

.

Detail Explanation  (Exactly what change is required? To which TX SET Standards? Why?):

These codes would be placed in the "Construction Section - Q"

1.)   Q006- Unable to determine meter base location

2.)   Q007- Customer needs to bore (ex. driveway, sidewalk, etc....)

3.)   Q008- Service path obstructed (ex. building materials, dirt, fence, etc....)

4.)   Q009- No equipment access (ex. need 5' to 10' wide path)

5.)   Q010- Needs grade work

6.)   Q011- Customer owned utilities not located (ex. water, sewer, gas, etc...)

7.)   Q012- Customer installed conduit insufficient, does not meet TDSP specifications

For Change Control Manager Use Only:

| Date of TX SET Discussion: | Expected Implementation Date: |  |
| --- | --- | --- |

TX SET Discussion and Resolution:

| *Emergency Priority | Used for Change Controls that require immediate implementation. |
| --- | --- |

Please submit this form via e-mail to txsetchangecontrol@ercot.com .

Your request will be evaluated and prioritized at an upcoming TX SET meeting or conference call.