| PRR Number | 639 | PRR Title | Notification of Repairs to EPS Meter Facilities Under Emergency Conditions |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Recommended Action |  | Approval |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 10.8.1.2, ERCOT Polled Settlement Metering Facilities Repairs |  |  |
| Proposed Effective Date |  | March 1, 2006 |  |  |
| Priority and Rank Assigned |  | n/a |  |  |
| Revision Description |  | Currently, technicians must notify ERCOT prior to repairing EPS Metering facilities. This revision would allow, in emergency situations, the TDSP to repair its EPS metering without first having to notify ERCOT. |  |  |
| Overall Market Benefit |  | Allows for more timely repairs of EPS metering facilities during emergency situations. |  |  |
| Overall Market Impact |  | None |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the CWG have reviewed PRR639 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - PRR639 was posted on 10/21/05. - PRS considered this PRR on 11/17/05. - On 12/9/05, ERCOT posted the Impact Analysis (IA) for this PRR. - On 12/16/05, PRS reviewed the IA and the PRS Recommendation Report. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 11/17/05, PRS voted to recommend approval of PRR639 as revised by PRS. The motion passed unanimously with all market segments present. |  |  |
| Summary of PRS discussion |  | Parties raised concerns over the use of the verbiage regarding emergency conditions and revised the language to create the flexibility needed to repair EPS Facilities without first notifying ERCOT when necessary. |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions: To allow for comprehensive PRR consideration, please fill out each block below completely.  Wherever possible, please include reasons, explanations, and quantitative cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | None | None | Faster repairs to EPS Metering Facilities when needed. |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | None |
| LSE: General, Including NOIE | None | None | Faster repairs to EPS Metering Facilities when needed. |
| LSE: CR & REP | None | None | Faster repairs to EPS Metering Facilities when needed. |
| QSE | None | None | Faster repairs to EPS Metering Facilities when needed. |
| Resource | None | None | Faster repairs to EPS Metering Facilities when needed. |
| TDSP | None | None | Faster repairs to EPS Metering Facilities when needed. |

| Original Sponsor |  |
| --- | --- |
| Name | Ken Swift, on behalf of the Meter Working Group (MWG) |
| Company | TXU Electric Delivery |
| Segment | n/a |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None |  |

Proposed Protocol Language Revision

10.8.1.2	ERCOT Polled Settlement Metering Facilities Repairs

If an EPS Metering Facility requires repairs to ensure that it operates in accordance with the requirements of this Section, then the TDSP shall immediately notify ERCOT of the need for repairing such Facility.  If, however, operating conditions are such that it is not possible for the TDSP to notify ERCOT of the need for repairs, then the TDSP may make the necessary repairs and then notify ERCOT of the repairs prior to the end of the next Business Day.

(1)	Where no Back-up Meter exists or back-up meter data is unavailable, the TDSP shall ensure that the metering point is repaired and operational within twelve (12) hours of problem detection;

(2)	Where a functional and operational Back-up Meter exists, the TDSP shall ensure that the metering point is repaired and operational within five (5) Business Days of problem detection.