## Slide 1: Kurten Switch Project
ERCOT Board of Directors
Bill Bojorquez
System Planning
December 13, 2005

## Slide 2: Bryan and College Station area

## Slide 3: Description of Project
Construct a 345-kV substation, Kurten Switch, in one circuit of the Twin Oak-Gibbons Creek 345-kV double circuit lines with a 345/138-kV 600-MVA autotransformer
Construct a double circuit 138-kV line from Kurten Switch through Kurten into Tabor; break the Dansby to Steephollow 138-kV line so that the portion to Steephollow ties into Tabor and the portion to Dansby ties into Kurten
Complete the Booneville to College Station Switch 138-kV upgrade (not shown)
Convert Booneville to Tabor to 138-kV operation (not shown)
Move the 69-kV line from Sutton to terminate at Tabor (not shown)
In-service date is spring 2009

## Slide 4: Project Justification and Cost
ERCOT evaluated 10 options to meet the long-term reliability needs of the Bryan/ College Station area
Kurten Switch sufficiently met the area’s needs for 2009 and beyond at the lowest net cost
Total net cost of project is $16.6 million (or approximately $2.7 million annual carrying cost)

## Slide 5
Joint study effort between Bryan Texas Utilities, City of College Station Utilities, Brazos Electric Cooperative, Texas Municipal Power Agency and ERCOT
Study updates presented at North Regional Planning Group meetings on November 16, 2004 and May 11, 2005
A comment period was held beginning in October 2005. Comments supporting the results were received from:
      TXU Electric Delivery
      Texas-New Mexico Power
      Bryan Texas Utilities
      City of Garland
      TXU Wholesale
All stakeholder comments were in support of the project with no dissenting comments
TAC supported the recommendation on December 1, 2005
Stakeholder Review

## Slide 6
ERCOT staff recommends that the Board endorse the need for the Kurten Switch Project as described in the ERCOT report to the Board.
Recommendation