| PRR Number | 647 | PRR Title | Gross and Net MW/Mvar Data Reporting |
| --- | --- | --- | --- |
| Date |  | January 11, 2006 |  |
| Submitter’s Information |  |  |  |
| Name |  | Henry Durrwachter |  |
| E-mail Address |  | hdurrwachter@txu.com |  |
| Company |  | TXU Wholesale |  |
| Company Address |  | 1717 Main Street, Dallas TX 75201 |  |
| Phone Number |  | (214) 875-9285 |  |
| Fax Number |  | (214) 875-9480 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 | Example: Key assumptions used in estimating market cost and/or benefit |  |
| --- | --- | --- | --- |
|  | 2 | Ex: Dependencies on other projects or other timing requirements |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | Example: Cost per MP to implement | Example: $10,000 each for 50 QSEs |
|  | 2 | Ex: Add’l staff required per MP | Ex: 1.5 FTE each for 6 TDSPs @ $65/hour |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Example: Reduced MP costs | Example: 2 FTE reduction for 25 CRs @ $65/hour |
|  | 2 | Ex: Enhanced MP efficiency | Ex: 2 hour savings per day for 50 generators @$65 |
|  | 3 | Ex: Reduced congestion cost | Ex: 0.5% reduction in total congestion cost |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | What to include here: Benefits that are difficult to quantify |  |
|  | 2 | What to include here: Benefits that are not certain but relatively likely |  |
|  | 3 | What to include here: Customer service impacts, cash flow impacts, transaction speed, etc. |  |
|  | 4 |  |  |
| Other | 1 | What to include here: Thoughts on ERCOT systems impacts |  |
| Comments | 2 | What to include here: Potential manual workarounds or delivery options |  |
|  | 3 | What to include here: Other comments of value to PRS, TAC and the Board of Directors |  |
|  | 4 |  |  |

Comments

Before TXU can determine whether it can support this PRR, we need to get some answers to several questions.  We request that ERCOT (as the sponsor of this PRR) address the clarifying questions shown below at the January 19, 2006 PRS Meeting.

Specifically, our questions are:

- Why does the Voltage Stability Analysis Tool (VSAT) now need Real-Time values for gross and net MW and Mvar values when it currently receives either gross or net (but not necessarily both) values (consistent with existing ERCOT Protocol 6.5.1.1(1))?

- How does NERC Standard VAR 001-0 R9, which requires status of generation Reactive Power sources, apply to reporting of Real-Time metering of MW and Mvar values?

- What level of metering accuracy does ERCOT require for the MW and Mvar values requested by this PRR?

- Do the meter values need to be updated every 4 seconds (i.e., Real-Time) or will a longer time period between value updates be allowed?

- Does this PRR imply that redundant metering will be necessary to ensure Real-Time data availability?

- Has ERCOT estimated the cost to generators and the time required to implement this PRR (from a generator perspective)?

- Does this PRR require separate metering and reporting of plant auxiliary Load, both MW and Mvar?  If so, why is such data needed?

In addition, TXU generally supports the comments of the City of Garland and Calpine related to need for both gross and net values for MW and Mvars and the applicability of the NERC Standard VAR-001-0: R9.

Revised Proposed Protocol Language

None at this time.