| PRR Number | 602 | PRR Title | Ancillary Service Obligation for DC Tie Exports |
| --- | --- | --- | --- |
| Impact Analysis Date |  | August 17, 2005 |  |
| Credit Impacts |  | YES _______ NO ___X__ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | 6-LL (less than $100k) |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | ERCOT will need four to five months for development and testing of the Lodestar system, and six weeks to update the Control Room procedures and inform Control Room staff of procedure changes. These two efforts are independent of each other. |  |
| ERCOT Staffing Impacts (across all areas) |  | None upon system implementation. |  |
| ERCOT Computer System Impacts |  | ERCOT will need to modify its settlement system (Lodestar) to exclude DC tie exports from Ancillary Service Obligation calculations. |  |
| ERCOT Business Function Impacts |  | None |  |
| Grid Operations & Practices Impacts |  | ERCOT will need to update the Control Room procedures to align them with the modified Protocol Section 5.6.7, which combines DC Tie activities into EECP (Emergency Electric Curtailment Plan) Step 1 from Step 1 (increase DC Tie imports) and Step 2 (interruption of exports). There is no impact to the associated Operating Guide. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None have been identified.

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

None