## Sheet1
Section 6 Protocols Clarification |  |  |  | 0 | 1
Reviewer | Section | Requested Clarification | TPTF Feedback 01232006 | 0 | 2
Jun Yu | 6.1 (2) | During adjustment period when hour ahead RUC executes to evalulate the system sufficiency, does it honor HASL limits? |  | 1 | 0 | 2
Jun Yu/ Brandon Whittle | 6.3 (3) | SASM is not found in acronyms - needs to be added. Need to define "SASM" in Chapter 2. |  | 3 | 0.03
Jagan Mandavilli | 6.3.1 | What is the purpose of short term wind forecast? Where and how it is planned to be used? Is this the same as the WGRPP? |  | 3 | 1
Jun Yu/ Brandon Whittle | 6.3.2 (2) | "Post SCED Shadow Prices via the MIS Public Area" - Please clarify that these Shadow Prices are only the Shadow Prices for the binding and violated transmission constraints (non-zero shadow prices). |  | 3 | 2 | 0.02
Jun Yu/ Brandon Whittle | 6.3.2 (2) | "Post SCED Shadow Prices via the MIS Public Area" - Please clarify that these Shadow Prices are only the Shadow Prices for the binding and violated transmission constraints (non-zero shadow prices). |  | 3 | 2 | 0.02
Jun Yu/ Brandon Whittle | 6.3.2 (2) | Fix numbering, There are 2 (2)'s |  | 3 | 2 | 0.02
Jun Yu/ Brandon Whittle | 6.3.2 (2) | "Communicate all Base Points, Dispatch Instructions and LMPs for energy and Ancillary Services using ICCP, SCADA, or Verbal Dispatch Instructions" Please clarify whether this is ERCOT's option on which method to use. |  | 3 | 2 | 0.02
Jun Yu/ Brandon Whittle | 6.3.2 (2) (2nd one) (a) | Requirement to post every hour the "changes or potential changes in the status of Transmission Facility for the remaining hours of the current Operating Day and all hours of the next Operating Day" Please clarify the meaning of "potential changes". |  | 3 | 2 | 0.02
Kenneth Ragsdale | 6.3.4 | Current: ERCOT shall provide each QSE with the information necessary to pre-validate its data Propose: ERCOT shall provide the information necessary to pre-validate data |  | 3 | 4 | 0
Hong Xiao | 6.4.2 (1) 6.4.2.1 (2) (a) 6.4.2.1 (2) (b) | Specifically 6.4.2(1) - Should a QF or IRR be exempt from the requirement of submitting an Output Schedule? |  | 4 | 2 | 0.1
Jun Yu/ Brandon Whittle | 6.4.2.3 (1) | QSE must submit its output schedule with "the name of the Entity" and the name of the resource" Can "the name" be a DUNS number or any sort of ID? |  | 4 | 2 | 3
Jun Yu/ Brandon Whittle | 6.4.2.3 (4) | MW difference between Output Schedules for any two consecutive five-minute intervals must be less than 10 times the SCED Up Ramp Rate…" - Please clarify why this is 10 times, instead of 5 times the ramp rate. - If outside the limit, assume ERCOT should follow step 6.4.2.4 (4) for DSRs and 6.4.2.4 (5)for non-DSRs? |  | 4 | 2 | 3
Jun Yu/ Brandon Whittle | 6.4.2.3 (5) | "Output Schedule for each interval in the Operating Period must be less than the Resource's HSL and must be greater than the Resource's LSL for.." Here it should be "less/greater than or equal to" rather than "less/greater than". |  | 4 | 2 | 3
Trip Doggett | 6.4.2.3(1)(a) | Can "Entity" be anything other than a QSE? |  | 4 | 2 | 3
Trip Doggett | 6.4.2.3(3) | Assume this test (for DSR) is immediately prior to each SCED execution? If outside the limit, assume ERCOT should follow step 6.4.2.4 (4)? |  | 4 | 2 | 3
Trip Doggett | 6.4.2.3(3) | Assume this test (for DSR) is immediately prior to each SCED execution? If outside the limit, assume ERCOT should follow step 6.4.2.4 (4)? |  | 4 | 2 | 3
Jun Yu/ Brandon Whittle | 6.4.2.4 (5) 6.4.3 (3) | "If valid Energy Offer Curve or an Output Schedule does not exist… ERCOT shall notfiy the QSE and set the Output Schedule equal to the then current telemetered output" (1) What if the current telemetered output is bad? ERCOT suggests utilizing the most recent telemetry (if reasonably recent data). If no recent data available, ERCOT would propose the use of the State Estimator. |  | 4 | 2 | 4
Jun Yu/ Brandon Whittle | 6.4.2.4 (5) 6.4.3 (3) | "If valid Energy Offer Curve or an Output Schedule does not exist… ERCOT shall notfiy the QSE and set the Output Schedule equal to the then current telemetered output" (1) What if the current telemetered output is bad? ERCOT suggests utilizing the most recent telemetry (if reasonably recent data). If no recent data available, ERCOT would propose the use of the State Estimator. |  | 4 | 2 | 4
Jagan Mandavilli | 6.4.2.5 | Is the DSR load dynamically configurable? |  | 4 | 2 | 5
Hong Xiao | 6.4.2.5 (2) | Why can't a QSE have more than one DSR Load? What is considered as one DSR Load? Is the DSR load dynamically configurable? |  | 4 | 2 | 5.02
Jun Yu/ Brandon Whittle | 6.4.5 (1) | QSE shall telemeter all capability and output levels which ERCOT will use in SCED, LFC, NSA What if the current telemetered output is bad? Should we use the most recent telemetry of good quality? |  | 4 | 5.01
Hong Xiao | 6.4.6 (4) 4.6.2.3 (1) | Language in 6.4.6 (4) states: "If a Resource that is decommitted for a DAM-Committed Interval, that one-hour DAM-Committed Interval is excluded from the calculation of any Day-Ahead Make-Whole Payment for that Resource. " ERCOT will assume that it should consider 6.4.6(4) when making payments in the formula in 4.6.2.3 (1). |  | 4 | 6.04
Jun Yu/ Brandon Whittle | 6.4.8.1 (2) | QSE can update its COP to change where AS is coming from, if "ERCOT does not act by the beginning of the operating Hour .. The request is deemed approved" Change the language to "If ERCOT does not act on the request by the beginning of the Operating Hour in which the change will take effect, the request is deemed approved, but only for request submitted before the end of the Adjustment Period." |  | 4 | 8.1 | 0.02
Hong Xiao | 6.4.8.1.1 (3) | The statement in Section 6.4.8.1.1 (3) may be inconsistent with settlement calculations. (ERCOT believes calculations are correct) |  | 4 | 8.1 | 1.03
Hong Xiao | 6.4.8.1.2 (4) | The statement in Section 6.4.8.1.2 (4) may be inconsistent with settlement calculations. (ERCOT believes calculations are correct) |  | 4 | 8.1 | 2.04
Kenneth Ragsdale | 6.4.8.1.3 | Need clarification on "Failure to Provide". Does ERCOT need to put in place a means to detect situations in which a QSE is unable to provide. |  | 4 | 8.1 | 3
Hong Xiao | 6.4.8.1.3 (3) (a) | The statement in Section 6.4.8.1.3 (3)(a)may be inconsistent with settlement calculations (ERCOT believes calculations are correct) |  | 4 | 8.1 | 3.03
Jun Yu/ Brandon Whittle | 6.4.8.2.2 (1) (b) (i) | "ERCOT shall select offers that minimize the overall cost of these Ancillary Services" Please clarify "the overall cost". Is the overall cost the overall offer cost? |  | 4 | 8.2 | 2.1
Jun Yu/ Brandon Whittle | 6.4.8.2.2 (1) (b) (ii) | Reg down procurement instructions Does this section need the same clarification as in the 6.4.8.2.2 (1) (b) (i) ? |  | 4 | 8.2 | 2.1
Jun Yu/ Brandon Whittle | 6.5.5.2 (9) | "A QSE representing combined_cycle Resources shall provide ERCOT with the possible operating configurations for each power block with accompanying limits and price points…." Should the QSE also provide lead time for switching operating configuration? |  | 5 | 5.2 | 0.09
Jagan Mandavilli | 6.5.7 | It is stated that we need to minimize the use of regulation service through SCED. However, for load qty, SCED uses real time data and does not use short term load forecast. We believe that without using short term load forecast, we can not meet this objective. During steep load changes, we always end up in deploying excess regulation by not using load forecast. What is the intention of not using short term load forecast? |  | 5 | 7
Jun Yu/ Shuye Teng | 6.5.7.1.11(2); 6.5.9.2(3)(a) | 6.5.7.1.11(2): “ERCOT shall establish a maximum Shadow Price for each constraint as part of the definition of contingencies…” 6.5.9.2(3)(a): Once ERCOT declares an Emergency Condition for a SCED process failure, “ERCOT may direct the SCED process to relax the active transmission constraints…” (1) With an established maximum Shadow Price for each constraint, there will not be a SCED process failure. That is, SCED will always generate a solution, unless there is a hardware crash. (In previous comments we have asked for a definition for “SCED failure”.) (2) Need to make these two sections consistent. One way to relax an active transmission constraint is by establishing a maximum Shadow Price. To relax transmission constraints at real time will override the Shadow Prices that have been established, Please clarify. |  | 5 | 7.1 | 11
Jun Yu/ Brandon Whittle | 6.5.7.1.13 (4) | "Every hour, ERCOT shall post.. The following information:" breaker status, transmission flows and voltages, transmission load, bus load, tap positions, etc. Will ERCOT need to post for every 5-minute interval? |  | 5 | 7.1 | 13
Jun Yu/ Brandon Whittle | 6.5.7.2 (3) | RDSTELEM description is unnecessarily included, LASL decription is not included but should be. |  | 5 | 7.2 | 0.03
Jagan Mandavilli | 6.5.7.3 (2) | SCED must monitor cumulative deployment of regulation service over time to be minimized; is it continous integration of regulation deployment just like inadvertant energy? Is the intention to use this as input to SCED? If so how it is planned to be used? |  | 5 | 7.3 | 0.02
Jun Yu/ Brandon Whittle | 6.5.7.5 (1) (h-k) | "Available capacity…" What is implied by avaialable? Does this mean available based on curves, or available with Ramp Rate constraints, etc. |  | 5 | 7.5 | 0.01
John Dumas | 6.5.7.6.1 (2) | LFC Process Description Paragraph (2) states that the LFC algorithm will calculate ACE and subtract the Dynamically scheduled Resources from ACE. Question – Why is it only considering where Dynamically Scheduled Resources will be? Base Point following from any unit will effect ACE. |  | 5 | 7.6 | 1
John Dumas | 6.5.7.6.2.2 | Deployment of Responsive Reserve Service Paragraph (1) (a) States that Responsive Reserve is used to restore frequency within the first few seconds of a significant deviation of the interconnected transmission system. Statement – Governor Response will stabilize the frequency within the first 10 – 20 seconds of an event but the frequency does not return until energy (in the amount of the generator loss or load deviation) has been deployed and ramped in. Paragraph (6) States that ERCOT shall declare EECP if 500 MW of Responsive Reserve is deployed. |  | 5 | 7.6 | 2.2
Mark Patterson | 6.5.7.6.2.2 (11) | Was it intentional to change dispatch instructions to Load Resources providing RRS to an XML instruction? |  | 5 | 7.6 | 2.2
Jun Yu | 6.5.7.6.2.2 (9) | Please clarify the requirements of this section. |  | 5 | 7.6 | 2.2
John Dumas | 6.5.7.6.2.3 | Non-Spinning Reserve Service Deployment General questions on this section. How can a DSR provide Non-Spin? |  | 5 | 7.6 | 2.3
Kenneth Ragsdale | 6.5.9.4.1(1)(v) | Need clarification on scheduling and settlement for when ERCOT uses available DC Tie capacity not already being used by QSEs during an emergency. |  | 5 | 9.4 | 1.01
Jun Yu/ Brandon Whittle | 6.6.5 | "The Base-Point deviation charge does not apply to Generation Resources between breaker closer and the time at which the telemetered HSL becomes greater than LSL" Type-o should be close, not closer |  | 6 | 5 | 0
Kenneth Ragsdale | 6.6.5.1 (3) | If Responsive Reserve is deployed --- is it true that all QSE's are off the hook for the Base Point Deviation Charge? |  | 6 | 5 | 1
Jun Yu/ Brandon Whittle | 6.6.5.1.1(2) | Formula correction to get TWTG in MWh: TWTG = Summation y (ATG y * TLMP y / 3600) |  | 6 | 5 | 1.1
Jun Yu/ Brandon Whittle | 6.6.5.1.2 | Formula question/confirmation: Is it the market's intention to have this Base Point Deviation Charge for Under Generation which is multiplied by the telemetered generation, which if zero will make the charge will be zero? |  | 6 | 5 | 1.2
Hong Xiao | 6.6.7.1 (2) (b) | Will a Resource that has been committed through RUC process be instructed to provide VSS? If so, what payments will be made for this Resource? |  | 6 | 7 | 1
Kenneth Ragsdale | 6.6.9.2 | "RTMGCEMREAMTTOT" needs to be "EMREAMTTOT" in the equation and the table. |  | 6 | 9 | 2
Kenneth Ragsdale | 6.6.10 (1) | Need to delete "(m)" in paragraph 1 and need to correct the formula by removing "DATCREVADJ/4". |  | 6 | 10 | 1.1
Kenneth Ragsdale | 6.7.1 (4) | Need to fix Description for "MCPNS" by removing "by QSE". Need to fix description for PCNS by inserting "by QSE". |  | 7 | 1 | 0.4