| PRR Number | 633 | PRR Title | TSP Data Information Requirements |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Action |  | Approved |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | - TSP Information to be provided to ERCOT 8.8.2.2 Approval of the Work |  |  |
| Effective Date |  | February 1, 2006 |  |  |
| Priority and Rank Assigned |  | n/a |  |  |
| Revision Description |  | This PRR updates and clarifies high level data requirements for modeling transmission grid modifications that Transmission Service Providers (TSPs) must provide to ERCOT. This PRR also proposes that reporting of “work accomplished” procedures, description of method to energize and test facilities, and in service testing be removed as a reporting requirement. (An Administrative OGRR to Section 8 of the Operating Guides corresponding to the changes of this PRR will follow if this PRR is approved.) |  |  |
| Overall Market Benefit |  | Requirements for data are clarified and this PRR will result in more efficient use of resources. |  |  |
| Overall Market Impact |  | None |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the CWG have reviewed PRR633 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - PRR633 was posted on 9/20/05. - PRS considered this PRR on 10/20/05. - On 11/10/05, ERCOT posted an Impact Analysis (IA). - On 11/17/05, PRS reviewed the IA and Recommendation Report. - On 12/1/05, TAC considered this PRR. - On 1/17/06, the Board considered this PRR. |  |  |
| PRS recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 10/20/05, PRS voted to recommend approval of PRR633 as revised by PRS. The motion passed with one abstention from the Independent Power Producer segment. All market segments were present for the vote. On 11/17/05, PRS reviewed the IA and Recommendation Report and voted to pass this PRR on to TAC. The motion passed with one abstention from the Independent Generator segment. |  |  |
| Summary of PRS discussion |  | On 10/20/05, ERCOT staff explained that this PRR largely memorializes and clarifies current practice in the Protocols. There was no discussion for the vote on 11/17/05. |  |  |
| TAC recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | TAC unanimously voted to recommend approval of PRR633 as submitted by PRS. All market segments were present for the vote. |  |  |
| Summary of TAC discussion |  | There was no discussion for the vote. |  |  |
| Board Action |  | The Board voted unanimously to approve this PRR as recommended by TAC. |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions: To allow for comprehensive PRR consideration, please fill out each block below completely.  Wherever possible, please include reasons, explanations, and quantitative cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Clearer expectations will yield better time management, data management, and work flow. | Long-term: Additional database parameters regarding rating responsibilities or new software capable of including parameter | Requirements for data are clarified. More effective use of current staff. |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | None |
| LSE: General, Including NOIE | None | None | None |
| LSE: CR & REP | None | None | None |
| QSE | None | None | None |
| Resource | None | None | None |
| TDSP | Communication regarding rating responsibilities is completed prior to a model change request | None | Requirements for data are clarified. |

| Original Sponsor |  |
| --- | --- |
| Name | Michael Bailey on behalf of NDSWG |
| Company | CenterPoint Energy |
| Segment | n/a |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None |  |

Proposed Protocol Language Revision

8.8.2.1	TSP Information to be provided to ERCOT

The TSP shall notify ERCOT at least thirty (30) days before starting to energize or place into service any new or relocated Facility.  The Notice shall be submitted in accordance with formats and procedures adopted by ERCOT and TSPs.  For Notices involving co-owned, co-operated, or co-rated Transmission Facilities, the TSP submitting the initial Notice shall communicate with the other Market Participants responsible for co-owning, co-operating, or co-rating said Transmission Facilities prior to the Notice submittal.  The Notice shall include the following information:

(1)	Proposed energize date;

(2)	TSP performing work;

(3)	TSP(s) responsible for rating affected transmission element(s);

(4)	Location Code if applicable (e.g. station code);

(5)	Identification of existing Transmission Facilities involved and new Transmission Facilities (if any) being added or existing Transmission Facilities being permanently removed from service;

(6)	Ratings of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(7)	Outages required (clearly identify each Outage if multiple Outages are required), including sequence of Outage and estimate of Outage duration;

(8)	General statement of work to be completed with intermediate progress dates and events identified;

(9)	Supervisory Control and Data Acquisition modification work including descriptions of any new data telemetry points or changes to existing telemetry;

(10)	Additional data determined by ERCOT and TSP(s) as needed to complete the ERCOT model representation of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(11)	Statement of completion, including:

(a)	Statement to be made at the completion of each intermediate stage of project; and

(b)	Statement to be made at completion of total project.

(12)	Drawings to be attached, including:

(a)	Existing status;

(b)	For each intermediate stage; and

(c)	Proposed completion of job.

8.8.2.2	Approval of the Work

On receipt of the information set forth in Section 8.8.2.1, TSP Information to be provided to ERCOT, ERCOT shall review the information and notify the TSP of any required modifications.  ERCOT may, at its discretion, require changes to and more detail regarding the work for the procedure.  The requesting TSP will consult with other Entities likely to be affected and will revise the work plan and Notice documentation, following any necessary or appropriate discussions with ERCOT and other affected Entities.  ERCOT shall approve or reject the request, including any revisions made by the TSP, within fifteen (15) days of receipt.  Following ERCOT approval, where appropriate, ERCOT shall publish a summary of the approved work on the MIS.