## Slide 1: ERCOT CPS1 by Day- November 2005

## Slide 2: ERCOT CPS1 by Interval November 130.87
Notes: Monthly average must be above 100.00 to pass this NERC requirement.

## Slide 3: ERCOT CPS1 12 Month Rolling Average
125.97

## Slide 4: 2004 & 2005 RMS1 of ERCOT Frequency

## Slide 5: 2000, 2004 & 2005 RMS1

## Slide 6: Nov 9, 2005 07:13 event
545 MW loss

## Slide 7: Nov 17, 2005 03:11 event
559.52 MW loss

## Slide 8: Nov 17, 2005 17:18 event
749.66 MW loss