## Slide 1: ERCOT CPS1 by Day- December 2005
Dec 13: Poor CPS1 contributing factors.
Poor 05:00 & 05:15 Interval
ERCOT Site failover problems @ 10:00 through 10:45
Out of Regulation Service at 15:15 & 18:03 for about 30 minutes each time.
Unit trips at 13:33 & 22:03 (quick recovery)

## Slide 2: ERCOT CPS1 by Interval December 138.45

## Slide 3: ERCOT CPS1 Rolling Average

## Slide 4: Daily Frequency RMS1 2004 & 2005
December 13
December 25

## Slide 5: Daily Frequency RMS1 2000 & 2004-2005

## Slide 6: Dec 9, 2005 Loss of Obligation
455 MW lost Obligation