Date:  January 26, 2006

To:  TAC Representatives

From:  Kevin Gresham, PRS Chair

Re: Consideration of Protocol Revision Requests

PRS acted upon the following PRRs and presents them to the TAC for consideration:

# PRRs Recommended for Approval:

PRS voted to recommend the following PRRs to the TAC for approval:

- PRR567 - Block Bidding of Ancillary Services.  Proposed effective date: upon system implementation.  Budgetary impact - $1 to 3 million; long-term minimal impact to ERCOT staffing (short-term resource competition with Nodal market implementation); impact to Ancillary Service (AS) Clearing Engine to provide three-part bidding, Market Operations System (MOS), Market Operator Interface (MOI), and Market User Interface (MUI); minimal impact to ERCOT business functions; no impact to grid operations. PRR567 creates a three part bidding structure for AS.  The three parts are (1) Startup cost; (2) per megawatt capacity offer; and (3) minimum operating cost.  ERCOT posted this PRR on 1/19/05.  On 11/15/05, the Board granted TXU’s appeal of TAC’s assignment of priority 1.2 with a ranking of 54.5, and remanded the Cost Benefit Analysis (CBA) to TAC for further development of the costs and benefits of this PRR and reconsideration of the priority and ranking assignment.

On 12/1/05, TAC voted to refer this PRR to PRS to review the CBA and the priority and ranking assigned to this PRR.  On 12/16/05, PRS unanimously voted to establish a task force to review the methodology developed by TXU and bring PRR567 back to PRS with a revised CBA.  On 1/13/06, the PRS task force met and reviewed revised CBA and its underlying assumptions.  On 1/19/06, PRS voted to accept the revised CBA and maintain the rank of 1.2.  There were seven opposing votes from the Cooperative (2), Municipal (2), Independent REP (2), and the Independent Power Marketer (1) segments.  There was one abstention from the IOU segment.  All segments were present.  ERCOT credit staff and the CWG have reviewed PRR567 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR630 - Private Use Networks.  Proposed effective date: April 1, 2006.  No impact to ERCOT budget; no impacts to ERCOT staffing - process can be absorbed by ongoing activities to improve models; no impact to ERCOT computer systems; no impact to business functions; no impact to grid operations. This PRR adds a requirement for private use networks (i.e., those networks that are connected to the ERCOT System that may include both generation and Load “behind the meter”) to maintain and report appropriate watt/VAR metering data at each substation identical to the requirements of Distribution Service Providers (DSPs), and requires reporting of addition or deletion of Load points.  ERCOT posted this PRR on 8/26/05.    On 9/29/05 the submitter requested deferral of consideration.  On 10/20/05, PRS tabled PRR630 to allow time for TIEC to submit formal comments.  On 12/16/05, PRS voted to recommended approval of PRR630 as modified by CenterPoint’s comments.  The motion passed with two opposing votes from the Consumers and Independent REPs and two abstentions from the Investor Owned Utilities and the Independent Generators.  All market segments were present.  On 1/19/06, PRS again reviewed PRR630 and voted to recommend its approval as amended by PRS.  There were two abstentions from the Consumer segment and one from the Independent Power Marketer segments.  ERCOT credit staff and the CWG have reviewed PRR630 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR635 – Resource Plan Performance Metrics Update.  Proposed effective date: April 1, 2006.  No impact to ERCOT budget; updates can be processed by current staffing levels; no impact to ERCOT computer systems; an existing procedure can be used to process exclusion requests; no impact to grid operations.  PRR635: excludes units undergoing required testing from having to bid down balancing; excludes units with and/or mechanical issues from having to show an inaccurate Low Sustainable Limit (LSL) and/or High Sustainable Limit (HSL); excludes hours where the QSE updated their Resource Plan after the close of the Adjustment Period and failed to pass the Adjustment Period Zonal Schedule Measure for those hours; clarifies that the Down Bid & Obligation Measure is done by Congestion Zone when possible; and updates the Resource Plan Performance Metrics to include improvements being made to the Resource Plan as part of Release 4.  ERCOT posted this PRR on 9/22/05.  On 10/20/05, PRS tabled PRR635 to allow time to address issues raised in ERCOT Staff’s comments.  On 11/17/05, PRS again deferred PRR635.  On 12/16/05, PRS voted to recommend approval of this PRR as revised by the QSE Managers Working Group comments.  The motion passed unanimously with all market segments present.  On 1/19/06, with all market segments present, PRS voted unanimously to forward the PRS Recommendation Report and the Impact Analysis to TAC.  ERCOT credit staff and the CWG have reviewed PRR635 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR640 – Update Provisions for Capacity and Energy Payments for RMR Service and Add a New Standard Form Agreement for Synchronous Condenser Service.  Proposed effective date: April 1, 2006.  No impact to ERCOT budget; no impact to ERCOT staffing; no impact to ERCOT computer systems; no impact to ERCOT business functions; no impact to grid operations.  PRR640 revises portions of Section 6, Ancillary Services, and the Reliability Must Run (RMR) Agreement to provide consistency between the two.  Additionally, in the RMR Agreement, portions specific to synchronous condensers have been removed and a new Agreement (in Attachment J, Standard Form Synchronous Condenser Agreement) has been created for Synchronous Condenser service.  Attachment J is based on language in Attachment F, Standard Form Reliability Must-Run Agreement.  ERCOT posted this PRR on 10/21/05.   On 11/17/05, PRS deferred action until its December meeting.  On 12/16/05, PRS voted to recommend PRR640 as revised at PRS.  The motion passed with one opposing vote from the consumer segment.  All market segments were present for the vote.  On 1/19/06, with all market segments present, PRS voted unanimously to forward the PRS Recommendation Report and the Impact Analysis to TAC.  ERCOT credit staff and the CWG have reviewed PRR640 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR642 – Lower Limit to IDR Meters in MRE for True-Up Settlement IDR Threshold.  Proposed effective date: April 1, 2006.  No impact to ERCOT budget; no impact to ERCOT staffing; no impact to ERCOT computer systems; no additional business function required, the minor impact to the Market Operations group can be performed within current business functions; no impact to grid operations.  PRR642 sets a lower limit to the number Interval Data Recorder (IDR) meters within a Meter Reading Entity (MRE) that would be considered when determining whether or not the IDR threshold requirement is met for true-up settlement.  ERCOT posted this PRR on 11/10/05.  On 12/16/05, PRS unanimously voted to recommend approval of PRR642 as submitted.  All market segments were present.  On 1/19/06, with all market segments present, PRS voted unanimously to forward the PRS Recommendation Report and the Impact Analysis to TAC.

PRR Recommended for Withdrawal:

- PRR602 - Ancillary Service Obligation for DC Tie Exports.  Proposed effective date: upon system implementation.  Budgetary impact less than $100,000; no staffing impact upon system implementation; modification to Lodestar to exclude DC tie exports from AS Obligation calculations; no impact to ERCOT business functions; update necessary to Control Room procedures.  This PRR removes the allocation of AS to DC Tie exports.  ERCOT posted this PRR on 5/4/05.  On 6/23/05, PRS did not approve a motion to recommend approval.  After additional discussion, PRS decided to table the PRR pending additional information from ERCOT staff.  On 7/21/05, PRS voted to recommend approval of PRR602 as amended by comments submitted by ERCOT Staff and PRS.  There were two abstentions from the Independent REP segment and the Independent Power marketer segments; all segments were present for the vote.  On 8/24/05, PRS voted to assign a Priority of 1.1 and a Rank of 32.5.  There were two votes against the motion (Municipal and Independent Power Marketers) and eight abstentions (Municipal, Investor Owned Utilities, Independent Generators, Consumers, and Independent Power Marketers).  On 9/8/05, TAC approved PRR602 as recommended by PRS.  There was one vote against (Municipal segment) and two abstentions (Cooperative segment).  All market segments were present for the vote.  On 10/27/05, PRS modified the CBA for PRR602 and voted unanimously to send it to TAC for review.  The Independent REP segment was not represented at the 10/27/05 meeting.  ERCOT credit staff and the CWG have reviewed PRR602 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.  On 11/3/05, TAC voted to remand PRR602 to PRS for further development of the CBA and incorporation of ERCOT comments.  There were seven abstentions (four Independent Power Marketers, two Independent Generators, and one Investor Owned Utility).  All market segments were present.  The sponsor requested that PRS defer action until its December meeting.  On 12/16/05, PRS tabled PRR602 to allow for completion of the CBA and incorporation of ERCOT Staff comments.  On 1/19/06, the PRS unanimously voted to affirm the withdrawal of PRR602.

---------------------------------------------------------------------------------------------------------------------

# Status of Pending PRRs (Information Purposes Only):

The following PRRs are pending and the current status is explained below:

Pending Input from Other Subcommittees

- PRR476 – Ramp Rate Adherence During Local Congestion.  PRS recommended approval of this PRR on 5/21/04; TAC approved it on 6/3/04.  On 6/15/04, the Board remanded PRR476 back to the TAC for the development of a cost estimate, noting that there is more than one way to implement the PRR and that further direction from the stakeholders is needed.  On 7/8/04, TAC remanded PRR476 to the PRS with instructions that the WMS is to further define how PRR476 should be implemented.

- PRR539 – OOMC Claw Back Correction.  This PRR was posted on 9/1/04.  At its September meeting, PRS voted to remand PRR539 to WMS for additional review.

- PRR541 – Regulation Deployment Ramp Rate.  This PRR was posted on 9/1/04.  PRS voted to remand PRR541 to WMS at its September meeting.

- PRR549 – Regulation Control During Abnormal Frequency Events.  ERCOT posted this PRR on 10/8/04.  At its November meeting, PRS remanded the PRR to ROS.

- PRR584 – Extending Black Start Service Bid Timeline.  ERCOT posted this PRR on 3/25/05.  On 4/21/05, PRS voted to refer the PRR to the Black Start Task Force for further development.  There were three abstentions from the Municipal and Coop (two) segments.  All segments were present for the vote.

- PRR586 – SCE Performance and Regulation Cost Re-allocation.  ERCOT posted this PRR on 4/01/05.  The submitter requested urgent status, but the request failed to garner enough e-mail votes. On 5/19/05, PRS discussed the PRR and voted to remand it to ROS with a suggestion that the PDC review issues identified by PRS.  On 7/21/05, PRS discussed the PRR and voted to refer it to WMS and ROS for further development.  On 9/29/05, ROS reported the results of its investigation to PRS.

- PRR553 – Scheduling Trading Hubs.  This PRR was remanded by TAC on 1/6/05 to PRS, to be remanded to WMS to further review its impacts and determine the necessity of implementing this PRR before the possible implementation of a nodal market (TNT).

- PRR605 - SCE Performance Monitoring for Combined Cycle Resources. ERCOT posted this PRR on 5/27/05.  PRS did not approve the request for urgent status (via email vote).  At its 6/23/05 meeting, PRS voted to refer the PRR to WMS for assignment to the WMS task force considering frequency issues.

- PRR607 - One-Minute Ramp Schedules.  ERCOT posted this PRR on 5/27/05.  At its 6/23/05 meeting, PRS voted to refer the PRR to WMS for assignment to the WMS task force considering frequency issues.

- PRR608 - Improve Ancillary Service Performance Conditions.  ERCOT posted this PRR on 6/1/05.  On 7/21/05, PRS voted to refer PRR608 to WMS and ROS task forces.

- PRR631 – Black Start Bid Procedures and Compensation for Testing.  ERCOT posted this PRR on 9/6/01.  On 10/20/05, PRS voted unanimously to refer PRR631 to ROS and the Black Start Task Force to address issues raised in ERCOT Staff’s comments.

- PRR632 – Clawback Mechanism for Generating Resources at a Site with an RMR Unit.  ERCOT posted this PRR on 9/9/01.  On 10/20/05, PRS voted unanimously to refer PRR632 to WMS to revisit the cross-subsidization issues for RMR contracts and to report to PRS at its January 2006 meeting.

Referred by PRS

- PRR647 - Gross and Net MW/Mvar Data Reporting.  ERCOT posted this PRR on 12/05/05.  It is on a normal timeline.  On 1/19/06, PRS voted unanimously to refer PRR647 to ROS for determination of ERCOT needs and identification of data already being reported to ERCOT by Market Participants.  ROS to report to PRS March meeting.

Sponsor Requested Deferral of Consideration

- PRR472 – ERCOT Meter Read Transaction Validation Reinstatement.  PRS remanded this PRR to RMS in November, 2003.  Based on a request by the submitter, RMS recommended deferral of consideration of PRR472 on 3/18/04.

Items for Review & Initial Action at February 2006 PRS Meeting

- PRR648 - Prevent IDR Removal from Customers Served at Transmission Voltage.  ERCOT posted this PRR on 1/16/06.  It is on a normal timeline.

- Withdrawn by Sponsor

- PRR645 – Customer Information Repository.  ERCOT posted this PRR on 11/18/05.  Based on a request by the submitter, PRS tabled PRR645.  On 1/19/06, the sponsor withdrew PRR645.