| RMGRR Number | 31 | RMGRR Title | IDR Installation Process |
| --- | --- | --- | --- |
| Date |  | 01/25/06 |  |
| Submitter’s Information |  |  |  |
| Name |  | Kathy Scott on behalf of the IDR Taskforce |  |
| E-mail Address |  | Kathy.Scott@CenterPointEnergy.com |  |
| Company |  | CenterPoint Energy |  |
| Company Address |  | 1111 Louisiana Street, Houston Texas 77002 |  |
| Phone Number |  | (713) 207-7830 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive RMGRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the RMGRR.

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Rule clarification and process concerning mandatory or optional installation of an IDR. |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |
| Comments |  |  |  |

Kathy Scott on behalf of the IDR Taskforce submits these comments in response to the RMS discussion on January 11, 2006. Below are recommendations from the IDR taskforce:

7.13.2.2(2) language will stay the same as originally agreed to by the Taskforce and documented in RMGRR031 as shown below:

      - Mandatory IDR Installation Process

- If an ESI ID appears on the report, but the CR determines that a Customer does not want to have an IDR installed and meets the criteria specified in Protocol Section 18.6.7, IDR Optional Removal Threshold which would allow an IDR to be removed the CR shall contact the appropriate ERCOT Retail Account Manager and explain the reason why the CR will not request an IDR installation for this ESI ID.  The CR shall also notify the TDSP of reason(s) that an IDR installation will not be requested.  Upon receipt of such notification the TDSP shall determine whether the reason(s) satisfy the requirements of Protocol Section 18.6.7.  If the reason(s) do not satisfy the Protocol requirements, the TDSP shall notify the CR of their findings along with all supporting evidence.  If the reason(s) do satisfy the Protocol requirements, the TDSP shall not install the IDR.

Section 7.13.2.2(5) the Taskforce agreed to remove the language “and be in accordance with approved TDSP tariffs”.

(5) Costs associated with mandatory installation of IDRs by TDSPs shall be the responsibility of the TDSP.

Also, added the following language to the paragraph right after 7.13.2.2(5), which now reads as (additions shown below are in bold and underlined font):

If a CR determines that an ESI ID appears on the IDR Requirement Report in error, the CR shall notify the TDSP for that premise.  If the TDSP agrees with the CR’s determination, the TDSP shall submit the appropriate TX SET transaction(s) to correct the error(s) as specified in Section 7.13.2.1 of this Retail Market Guide, IDR Requirement Report.  If the CR and TDSP cannot come to an agreement concerning the IDR requirement for an ESI ID, either party may use the FasTrak process, if appropriate, to resolve any disputes.  If a FasTrak resolution is not possible for a dispute, either party may request Alternative Dispute Resolution in accordance with Protocol Section 20, Alternative Dispute Resolution Procedure.

Revised Proposed Retail Market Guide Language

7.13		Interval Data Recorder (IDR) Optional Removal and IDR Installation Process

### 7.13.2 		Interval Data Recorder (IDR) Installation Process

Pursuant to Protocols Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement, this section details the steps that Market Participants shall follow when processing a Mandatory or Optional IDR installation.

#### 7.13.2.1	IDR Requirement Report

The IDR Requirement Report consists of the following criteria:

(1)	Report Generation

The IDR Requirement Report is generated on the second calendar day of each month.  In addition to the ESI IDs that are already on the IDR Requirement Report, the ERCOT system identifies active and de-energized ESI IDs that meet the IDR mandatory installation threshold as defined in Protocol Section 18.6.1 	 and are not assigned the BUSIDRRQ Profile Type.

(2)	Posting of the Report

ESI IDs that meet the above criteria are placed on the IDR Requirement Report, 	which is available on ERCOT’s Market Information System (MIS) to the 	respective CRs (Rep of Record), TDSPs, and the PUCT.  Should an ESI ID listed 	on the report Switch to a different CR that ESI ID would show up on the Gaining 	CR’s report, and will no longer appear on the report of the Losing CR.  Updated 	IDR Requirement Reports are normally posted on the second calendar day of

each month.

(3)	Resolution

ESI IDs listed on the IDR Requirement Report ordinarily remain on the report until an IDR is installed and the Profile ID has been changed to reflect a Profile Type of ‘BUSIDRRQ’ and a Meter Data Type of ‘IDR’.  The month and year of the IDR installation will be shown in the ‘Month Resolved’ column for the next three monthly reports, after which the ESI ID is dropped from the report

The ‘Month Resolved’ column for each ESI ID will:

- Be blank if one-hundred twenty (120) calendar days have not yet passed since the ESI ID first appeared on the report;

- Show the month and year that the IDR was installed and the Profile Type was changed (via TX SET transaction) to BUSIDRRQ; or

- Show ‘Overdue’ if one-hundred twenty (120) calendar days have passed since the ESI ID first appeared on the report and the Profile Type has not been changed to BUSIDRRQ as a result of the required IDR being installed.

If an ESI ID was placed on the IDR Requirement Report because of one (1) or more errors (e.g., incorrect meter reads), the TDSP shall submit market transactions to correct the error(s) or contact the appropriate ERCOT Retail Account Manager to explain the situation and request that the ESI ID be manually removed from the IDR Requirement Report.  ERCOT shall take action to correct subsequent IDR Requirement Reports following such notification.

- 7.13.2.2 	Mandatory IDR Installation Process

Each month following ERCOT’s publishing of the IDR Requirement Report, the CR has thirty (30) calendar days to verify that each ESI ID satisfies the requirements of Protocol Section 18.6.1 and if so, initiate the appropriate request to the TDSP or notify the TDSP of any discrepancies for investigation.

(1)	If the IDR installation request satisfies the Protocol requirements, the CR shall 		initiate a request to the TDSP for an IDR to be installed using one of the 			following options:

- Send the appropriate TX SET Service Order Request transaction requesting an exchange of the current meter to an IDR installation, also included in the TX SET transaction the CR will provide in the comments/text field the reason for the exchange request (example, ESI ID met mandatory install requirements) along with all CR and Customer contact information in order that the TDSP can appropriately coordinate and schedule the request with the CR and/or Customer.

- Complete the IDR Installation Request Form (Appendix H2) and submit it by e-mail to the appropriate TDSP for processing at the TDSP’s e-mail address listed below.

    - AEP - crrtx@aep.com

    - CNP - CR.Support@CenterPointEnergy.com

    - Nueces - eflores@nueceselectric.org

    - Sharyland - egarcia@su-power.com

    - TNMP - MV90operator@tnpe.com

    - TXU ED - meteringservices@txued.com

- Submit the request via TDSP’s website where available.  Currently, TXU Electric Delivery is the only TDSP with this option.

(2)	If an ESI ID appears on the report, but the CR determines that a Customer does 		not want to have an IDR installed and meets the criteria specified in Protocol 		Section 18.6.7, IDR Optional Removal Threshold which would allow an IDR to 		be removed the CR shall contact the appropriate ERCOT Retail Account Manager 	and explain the reason why the CR will not request an IDR installation for this 		ESI ID.  The CR shall also notify the TDSP of reason(s) that an IDR installation 		will not be requested.  Upon receipt of such notification the TDSP shall determine 	whether the reason(s) satisfy the requirements of Protocol Section 18.6.7.  If the 		reason(s) do not satisfy the Protocol requirements, the TDSP shall notify the CR 		of their findings along with all supporting evidence.  If the reason(s) do satisfy the 	Protocol requirements, the TDSP shall not install the IDR.

(3)	If after one hundred twenty (120) days of the ESI ID appearing on the report the 	TDSP has not received notification of either a dispute of an IDR requirement or 	an ESI ID qualifying for optional removal as identified in proceeding paragraph, 	the TDSP may proceed with the IDR installation only after providing notification 	to the CR of the TDSP’s intent to perform the installation. Upon completing the 	installation, the TDSP shall provide market notification of the installation through 	normal market transactions.

(4)	In the absence of a CR request, the TDSP shall not install an IDR for an ESI ID 	prior to one-hundred twenty (120) days of the ESI ID first appearing on the 	report.

(5)	Costs associated with mandatory installation of IDRs by TDSPs shall be the 	responsibility of the TDSP.

If a CR determines that an ESI ID appears on the IDR Requirement Report in error, the CR shall notify the TDSP for that premise.  If the TDSP agrees with the CR’s determination, the TDSP shall submit the appropriate TX SET transaction(s) to correct the error(s) as specified in Section 7.13.2.1 of this Retail Market Guide, IDR Requirement Report.  If the CR and TDSP cannot come to an agreement concerning the IDR requirement for an ESI ID,either party may use the FasTrak process, if appropriate, to resolve any disputes.  If a FasTrak resolution is not possible for a dispute, either party may request Alternative Dispute Resolution in accordance with Protocol Section 20, Alternative Dispute Resolution Procedure.

TDSP processing of Mandatory IDR installations are as follows:

(1) 	Within ten (10) Retail Business Days of receipt of the IDR Installation Request 		Form, the TDSP shall:

- Complete the appropriate sections of the request form indicating TDSP contact name and telephone number, contact email address, along with estimated date of IDR installation; and

- Return the completed request form by e-mail to the originating CR.

- The IDR installation must be completed no later than the 	Customer's second billing cycle after the date the completed 	installation request was received by the TDSP.

- The TDSP shall send the appropriate Texas SET transaction to                	change the Profile Type Code and the Meter Data Type Code of 	the Load Profile ID as directed by the Load Profiling Guide along 	with all applicable meter data.

#### 7.13.2.3  Optional IDR Installation Request Process

Upon a Retail Customer’s request to a CR for installation of an IDR at a specific premise, the CR shall verify that the IDR installation would be consistent with Protocols Section 18.6.7.  If so, the CR shall then request the TDSP to initiate the installation, per Section 7.13.2.2 (a) of this Retail Market Guide.

Once the TDSP receives the optional IDR installation request from the CR, the TDSP shall verify that the request satisfies the requirements of Protocol Section 18.6.7. If the request does not satisfy the Protocol requirements, the TDSP shall notify the CR of their findings along with all supporting evidence.  If the request satisfies the Protocol requirements, the TDSP shall install the IDR no later than the Customer's second billing cycle following receipt of a valid request.

The TDSP shall then submit the appropriate Texas SET transaction to change the Profile Type Code and the Meter Data Type Code of the Profile ID as directed by the Load Profiling Guide, along with all applicable meter data.

(1)	If a Customer contacts the TDSP directly to make an optional request for the 	installation of an IDR, the TDSP shall refer the Customer to their Competitive 	Retailer to initiate the request, regardless of the option a CR has chosen for 	service order request.

(2)	IDR optional installations are subject to applicable TDSP tariff charges.  Consult 	each TDSP’s tariff for complete details.

#### 7.13.2.4	IDR Installation Request Form

If a CR chooses to make their request to the TDSP by sending the IDR Installation Request form, the CR must complete all relevant sections of the request form found in Appendix  H2 including:

(1)		CR name, CR contact name, telephone number, CR contact email address, date 			the request is sent to the TDSP, and the name of the TDSP.

(2)		In addition, for each applicable ESI ID, the form must include:

- Customer contact information, which includes name, primary phone number, additional contact numbers, if available, any special time customer is available for contact or instructions to assist TDSP with coordinating and scheduling installation;  and

- the associated service address; and

- the actual peak demand for the most recent twelve (12) months.

An incomplete request form may be rejected by the TDSP, whereupon the CR shall add the missing information and resubmit the request form reflecting the date that the request is being resubmitted to the TDSP.