## Sheet1
Section 6 Protocols Clarification |  |  |  | 0 | 1
Reviewer | Section | Requested Clarification | TPTF Feedback 01232006 | 0 | 2
Jun Yu | 6.1 (2) | During adjustment period when hour ahead RUC executes to evalulate the system sufficiency, does it honor HASL limits? | - Yes, and SCED will honor HASL as well. - If HA or DA RUC predicts issue with honoring HASL, ERCOT Ops could request start of another unit. - ERCOT could shift A/S to another (procure more A/S). - ERCOT should be careful to only control to n-1, not n-2 - See 6.4.8.1.2 - Not adjusting HASL on Regulation, but could for Responsive and NonSpin. - Permissive control allowed. - Other notes- ERCOT can adjust HASL 6.5.7.6.2.2 (9). - If Unit taken above HASL, next SCED run should take unit back to HASL, and will find another unit to dispatch. - Should be further defined and reviewable within Design Documentation for RUC and SCED. | 1 | 0 | 2
Jun Yu/ Brandon Whittle | 6.3 (3) | SASM is not found in acronyms - needs to be added. Need to define "SASM" in Chapter 2. | No disagreement | 3 | 0.03
Jagan Mandavilli | 6.3.1(1) | What is the purpose of short term wind forecast? Where and how it is planned to be used? Is this the same as the WGRPP? | WGRPP is 80% confidence One in the same- STWPF was a subset, rolled into WGRPP (confirm with Walter Reid before proceeding with PRR). | 3 | 1
Trip Doggett | 6.3.2 (2) | Execute the Hour-Ahead Sequence, including HRUC, beginning with the second hour of the Operating Period | Chart in 6.3.2 (2) is accurate. Section 5.2 figure- move the commitment arrow (black arrow in diagram) to the left into the Operating Hour. - Consider separate runs for HRUC/DRUC- different optimization - Run HRUC every hour, including 1500 (during DRUC) - ERCOT could submit PRR to allow discretion in running HRUC
Jun Yu/ Brandon Whittle | 6.3.2 (2) | "Post SCED Shadow Prices via the MIS Public Area" - Please clarify that these Shadow Prices are only the Shadow Prices for the binding and violated transmission constraints (non-zero shadow prices). | Corresponding shadow price for Binding contraints, and power balance shadow price. | 3 | 2 | 0.02
Jun Yu/ Brandon Whittle | 6.3.2 (2) | Fix numbering, There are 2 (2)'s | Agree- clean-up PRR needed | 3 | 2 | 0.02
Jun Yu/ Brandon Whittle | 6.3.2 (2) | "Communicate all Base Points, Dispatch Instructions and LMPs for energy and Ancillary Services using ICCP, SCADA, or Verbal Dispatch Instructions" Please clarify whether this is ERCOT's option on which method to use. | Worded to allow flexibility for ERCOT but ERCOT should work with Market Participants on best option. Don't want to force a small player to use ICCP. Reflect any change to details in 6.5.7.4 (Base Points), and other places. RTU limitations understood, but did not want to constrain options on how to communicate. | 3 | 2 | 0.02
Jun Yu/ Brandon Whittle | 6.3.2 (2) (2nd one) (a) | Requirement to post every hour the "changes or potential changes in the status of Transmission Facility for the remaining hours of the current Operating Day and all hours of the next Operating Day" Please clarify the meaning of "potential changes". | PRR- to change "potential" to "expected changes that are not in the Outage Scheduler" | 3 | 2 | 0.02
Kenneth Ragsdale | 6.3.4 | Current: ERCOT shall provide each QSE with the information necessary to pre-validate its data Propose: ERCOT shall provide the information necessary to pre-validate data | ERCOT deleted this clarification | 3 | 4 | 0
Hong Xiao | 6.4.2 (1) 6.4.2.1 (2) (a) 6.4.2.1 (2) (b) | Specifically 6.4.2(1) - Should a QF or IRR be exempt from the requirement of submitting an Output Schedule? | No, the QF and IRR are not exempt from submitting output schedule. | 4 | 2 | 0.1
Jun Yu/ Brandon Whittle | 6.4.2.3 (1) | QSE must submit its output schedule with "the name of the Entity" and the name of the resource" Can "the name" be a DUNS number or any sort of ID? | Entity= QSE or ERCOT For XML schedule submission, DUNS can be in technical specs. Unit Name should refer to the same name observed by operator. PRR to change: "An Output Schedule submitted by a QSE for a Resource that is not an RMR Unit and by ERCOT for an RMR Unit must include the following:" | 4 | 2 | 3
Jun Yu/ Brandon Whittle | 6.4.2.3 (4) | MW difference between Output Schedules for any two consecutive five-minute intervals must be less than 10 times the SCED Up Ramp Rate…" - Please clarify why this is 10 times, instead of 5 times the ramp rate. - If outside the limit, assume ERCOT should follow step 6.4.2.4 (4) for DSRs and 6.4.2.4 (5)for non-DSRs? | - Not linear ramp- bracketed with range of 10x, 5x was not enough. - Yes | 4 | 2 | 3
Jun Yu/ Brandon Whittle | 6.4.2.3 (5) | "Output Schedule for each interval in the Operating Period must be less than the Resource's HSL and must be greater than the Resource's LSL for.." Here it should be "less/greater than or equal to" rather than "less/greater than". | "Equal to" is OK- PRR to be proposed | 4 | 2 | 3
Trip Doggett | 6.4.2.3(1)(a) | Can "Entity" be anything other than a QSE? | Previously covered in row 14 clarification | 4 | 2 | 3
Trip Doggett | 6.4.2.3(3) | Assume this test (for DSR) is immediately prior to each SCED execution? If outside the limit, assume ERCOT should follow step 6.4.2.4 (4)? | Yes- correct assumption Yes- correct | 4 | 2 | 3
Jun Yu/ Brandon Whittle | 6.4.2.4 (5) 6.4.3 (3) | "If valid Energy Offer Curve or an Output Schedule does not exist… ERCOT shall notfiy the QSE and set the Output Schedule equal to the then current telemetered output" (1) What if the current telemetered output is bad? ERCOT suggests utilizing the most recent telemetry (if reasonably recent data). If no recent data available, ERCOT would propose the use of the State Estimator. | PRR to reflect what was proposed by ERCOT. | 4 | 2 | 4
Jagan Mandavilli | 6.4.2.5 | Is the DSR load dynamically configurable? | No- QSE must apply to ERCOT for load and assign meters. | 4 | 2 | 5
Hong Xiao | 6.4.2.5 (2) | Why can't a QSE have more than one DSR Load? What is considered as one DSR Load? Is the DSR load dynamically configurable? | 1- Difficult to apply across multiples- could break into separate QSEs 2- Group of assigned meters. 3- No. DSR load must be observable. Telemetry verified in the state estimator | 4 | 2 | 5.02
Jun Yu/ Brandon Whittle | 6.4.5 (1) | QSE shall telemeter all capability and output levels which ERCOT will use in SCED, LFC, NSA What if the current telemetered output is bad? Should we use the most recent telemetry of good quality? | Generally yes, but if telemetry is older than 1 hour something is wrong. Unusual to lose one point. Strongly suggest ERCOT consider an ongoing procedure to address telemetry issues. Reference 3.10.7.4 Telemetry Criteria. | 4 | 5.01
Hong Xiao | 6.4.6 (4) 4.6.2.3 (1) | Language in 6.4.6 (4) states: "If a Resource that is decommitted for a DAM-Committed Interval, that one-hour DAM-Committed Interval is excluded from the calculation of any Day-Ahead Make-Whole Payment for that Resource. " ERCOT will assume that it should consider 6.4.6(4) when making payments in the formula in 4.6.2.3 (1). | ERCOT and M.Wagner to look at issue- Day-Ahead Make-Whole payment should be adjusted if the QSE decommits the unit early. To be eligible for the MakeWhole in Day Ahead, should be looking to see if generator is online during that time. | 4 | 6.04
Jun Yu/ Brandon Whittle | 6.4.8.1 (2) | QSE can update its COP to change where AS is coming from, if "ERCOT does not act by the beginning of the operating Hour .. The request is deemed approved" Change the language to "If ERCOT does not act on the request by the beginning of the Operating Hour in which the change will take effect, the request is deemed approved, but only for request submitted before the end of the Adjustment Period." | No argument over timing of turnaround limitations. Deadline for changing of COP is the end of the Adjustment Period. John Adams to work with Floyd to formalize- ensure accurately documented 3.9(5) | 4 | 8.1 | 0.02
Hong Xiao | 6.4.8.1.1 (3) | The statement in Section 6.4.8.1.1 (3) may be inconsistent with settlement calculations. (ERCOT believes calculations are correct) | Tracking of SASM over time is difficult (DAM and subsequent SASMs). Move to average over hourly basis. In reality, is a calculated number, rather than MCPC. PRR- "When a SASM has been executed in response to ERCOT increasing the Ancillary Services Plan, each QSE that purchases Ancillary Service capacity shall be charged their share of the net cost incurred for each service. In accordance with Section 6.7.3." | 4 | 8.1 | 1.03
Hong Xiao | 6.4.8.1.2 (4) | The statement in Section 6.4.8.1.2 (4) may be inconsistent with settlement calculations. (ERCOT believes calculations are correct) | PRR- change to: If ERCOT procures additional Ancillary Services for the amount of substituted capacity that is deemed infeasible or the amount of Ancillary Services capacity that each affected QSE does not replace, then all QSEs that bought the specific Ancillary Service in the DAM are charged for their share of the Ancillary Service procured by ERCOT as part of the multiple procurement processes (DAM and SASMs). In accordance with Section 6.7.3. | 4 | 8.1 | 2.04
Kenneth Ragsdale | 6.4.8.1.3 | Need clarification on "Failure to Provide". Does ERCOT need to put in place a means to detect situations in which a QSE is unable to provide. | If Operations flags a failure to provide A/S capacity from a QSE, the full capacity would not be paid at settlement. ERCOT anticipates this will be an automated process. Note enforcement consequences in section 8.4(3). | 4 | 8.1 | 3
Hong Xiao | 6.4.8.1.3 (3) (a) | The statement in Section 6.4.8.1.3 (3)(a)may be inconsistent with settlement calculations (ERCOT believes calculations are correct) | PRR Change: (ii) The maximum MCPC in the DAM or any SASM in the same operating hour. (formula is 6.7.2) | 4 | 8.1 | 3.03
Jun Yu/ Brandon Whittle | 6.4.8.2.2 (1) (b) (i) | "ERCOT shall select offers that minimize the overall cost of these Ancillary Services" Please clarify "the overall cost". Is the overall cost the overall offer cost? | DAM is different optimization from SASM. In SASM, may be a subset of services. Minimize offer-based costs of services simultaneously as in today's market. | 4 | 8.2 | 2.1
Jun Yu/ Brandon Whittle | 6.4.8.2.2 (1) (b) (ii) | Reg down procurement instructions Does this section need the same clarification as in the 6.4.8.2.2 (1) (b) (i) ? | PRR- to reflect in (ii): add: For each of these Ancillary Services, if selection of the Resource offer exceeds ERCOT’s required Ancillary Service quantity, then ERCOT shall select a portion of the Resource offer to meet the Ancillary Service quantity required. For Load Resources offering a block of capacity, ERCOT shall ignore the offer unless the entire block can be accepted. | 4 | 8.2 | 2.1
Jun Yu/ Brandon Whittle | 6.5.5.2 (9) | "A QSE representing combined_cycle Resources shall provide ERCOT with the possible operating configurations for each power block with accompanying limits and price points…." Should the QSE also provide lead time for switching operating configuration? | Randy Jones to look at matrix of multiple operating configurations to capture transition times from one configuration to another. Consider adding a column. - Note there may be a limitation of EMMS vendor in solving HRUC. - Recommend ERCOT look at the Outage Scheduler and COP interplay and timeline. ERCOT Operations will use COP 7x24, but note a difference with Outage Scheduler. Consider PRR in 3.9 in COP to validate Outage Scheduler against Cop. Also in Section 6.4.5. ERCOT needs a procedure to describe what information trumps the other. | 5 | 5.2 | 0.09
Jagan Mandavilli | 6.5.7 | It is stated that we need to minimize the use of regulation service through SCED. However, for load qty, SCED uses real time data and does not use short term load forecast. We believe that without using short term load forecast, we can not meet this objective. During steep load changes, we always end up in deploying excess regulation by not using load forecast. What is the intention of not using short term load forecast? | The rapid pick-up in load should be limited, for example, to early morning cold load at 7am. Note that there is a history of discussion on this topic from the TNT process. ERCOT will bring options for discussion during design. ERCOT may consider PRR to further clarify. | 5 | 7
Jun Yu/ Shuye Teng | 6.5.7.1.11(2); 6.5.9.2(3)(a) | 6.5.7.1.11(2): “ERCOT shall establish a maximum Shadow Price for each constraint as part of the definition of contingencies…” 6.5.9.2(3)(a): Once ERCOT declares an Emergency Condition for a SCED process failure, “ERCOT may direct the SCED process to relax the active transmission constraints…” (1) With an established maximum Shadow Price for each constraint, there will not be a SCED process failure. That is, SCED will always generate a solution, unless there is a hardware crash. (In previous comments we have asked for a definition for “SCED failure”.) (2) Need to make these two sections consistent. One way to relax an active transmission constraint is by establishing a maximum Shadow Price. To relax transmission constraints at real time will override the Shadow Prices that have been established, Please clarify. | Failure means cannot create a base point/price. | 5 | 7.1 | 11
Jun Yu/ Brandon Whittle | 6.5.7.1.13 (4) | "Every hour, ERCOT shall post.. The following information:" breaker status, transmission flows and voltages, transmission load, bus load, tap positions, etc. Will ERCOT need to post for every 5-minute interval? | No- a snapshot at the top of the hour of current values in database. | 5 | 7.1 | 13
Jun Yu/ Brandon Whittle | 6.5.7.2 (3) | RDSTELEM description is unnecessarily included, LASL decription is not included but should be. | Agree- PRR needed to correct language by ERCOT | 5 | 7.2 | 0.03
Jagan Mandavilli | 6.5.7.3 (2) | SCED must monitor cumulative deployment of regulation service over time to be minimized; is it continous integration of regulation deployment just like inadvertant energy? Is the intention to use this as input to SCED? If so how it is planned to be used? | Goal is to minimize use of Regulation. It is not the intention to use regulation deployment as input to SCED. Look to vendor to determine how to control and deploy to base point. | 5 | 7.3 | 0.02
Jun Yu/ Brandon Whittle | 6.5.7.5 (1) (h-k) | "Available capacity…" What is implied by available? Does this mean available based on curves, or available with Ramp Rate constraints, etc. | "Available" is to reflect amount of reserve. Available capacity that can be used (without ramp rate limits) to increase base points. Example - to increase base points would be HASL minus Current Generation without transmission constraints. | 5 | 7.5 | 0.01
John Dumas | 6.5.7.6.1 (2) | LFC Process Description Paragraph (2) states that the LFC algorithm will calculate ACE and subtract the Dynamically scheduled Resources from ACE. Question – Why is it only considering where Dynamically Scheduled Resources will be? Base Point following from any unit will effect ACE. | DSRs are the only ones likely to be moving to follow load dynamically- to meet their loads in an uncoordinated fashion (outside of SCED). ERCOT may consider a bias term to allow correction of dynamic generation. | 5 | 7.6 | 1
John Dumas | 6.5.7.6.2.2 | Deployment of Responsive Reserve Service Paragraph (1) (a) States that Responsive Reserve is used to restore frequency within the first few seconds of a significant deviation of the interconnected transmission system. Statement – Governor Response will stabilize the frequency within the first 10 – 20 seconds of an event but the frequency does not return until energy (in the amount of the generator loss or load deviation) has been deployed and ramped in. Paragraph (6) States that ERCOT shall declare EECP if 500 MW of Responsive Reserve is deployed. | (a) is confirmed to include governor response | 5 | 7.6 | 2.2
Mark Patterson | 6.5.7.6.2.2 (11) | Was it intentional to change dispatch instructions to Load Resources providing RRS to an XML instruction? | Loads prefer XML over telehone- may look at costs during development of solution. | 5 | 7.6 | 2.2
Jun Yu | 6.5.7.6.2.2 (9) | Please clarify the requirements of this section. | Delete- previously covered | 5 | 7.6 | 2.2
John Dumas | 6.5.7.6.2.3 | Non-Spinning Reserve Service Deployment General questions on this section. How can a DSR provide Non-Spin? | Will be a part of future ERCOT procedures- DSR would be instructed to a different base point. DSR will have offer curve, more details in 6.5.7.3. | 5 | 7.6 | 2.3
Kenneth Ragsdale | 6.5.9.4.1(1)(v) | Need clarification on scheduling and settlement for when ERCOT uses available DC Tie capacity not already being used by QSEs during an emergency. | Not opposed to ERCOT Settlements drafting a PRR. | 5 | 9.4 | 1.01
Jun Yu/ Brandon Whittle | 6.6.5 | "The Base-Point deviation charge does not apply to Generation Resources between breaker closer and the time at which the telemetered HSL becomes greater than LSL" Type-o should be close, not closer | Agree- PRR to clean-up | 6 | 5 | 0
Kenneth Ragsdale | 6.6.5.1 (3) | If Responsive Reserve is deployed --- is it true that all QSE's are off the hook for the Base Point Deviation Charge? | Yes- applies to any and all QSEs, whether or not they are carrying RRS. | 6 | 5 | 1
Jun Yu/ Brandon Whittle | 6.6.5.1.1(2) | Formula correction to get TWTG in MWh: TWTG = Summation y (ATG y * TLMP y / 3600) | Agree- PRR needed from Settlements, and add TLMP in table below equation. | 6 | 5 | 1.1
Jun Yu/ Brandon Whittle | 6.6.5.1.2 | Formula question/confirmation: Is it the market's intention to have this Base Point Deviation Charge for Under Generation which is multiplied by the telemetered generation, which if zero will make the charge will be zero? | ERCOT PRR needed- If you are not at base point, there should be a penalty. Want penalty to increase with deviation- ERCOT to propose change in equation. | 6 | 5 | 1.2
Hong Xiao | 6.6.7.1 (2) (b) | Will a Resource that has been committed through RUC process be instructed to provide VSS? If so, what payments will be made for this Resource? | Yes. There should be a payment to the resource as part of the make-whole. | 6 | 7 | 1
Kenneth Ragsdale | 6.6.9.2 | "RTMGCEMREAMTTOT" needs to be "EMREAMTTOT" in the equation and the table. | Agree- PRR to clean-up | 6 | 9 | 2
Kenneth Ragsdale | 6.6.10 (1) | Need to delete "(m)" in paragraph 1 and need to correct the formula by removing "DATCREVADJ/4". | Agree- PRR to clean-up | 6 | 10 | 1.1
Kenneth Ragsdale | 6.7.1 (4) | Need to fix Description for "MCPNS" by removing "by QSE". Need to fix description for PCNS by inserting "by QSE". | Agree- PRR to clean-up | 7 | 1 | 0.4