## Sheet1
Section 10 Protocols Clarification
Reviewer | Section | Requested Clarification | TPTF Meeting Action 01092006 | TPTF 020206 discussion
Don Tucker | 10.3.2.3 | Can multiple nodes be included in the netting arrangement for a Generation Resource? There are sites where ERCOT has multiple voltage points currently being netted under 10.3.2.3. With different voltage levels potentially having different LMPs, are additional restrictions or limitations needed in 10.3.2.3 to address nodes being netted at different voltage levels? | ERCOT Action Item: Identify unique scenarios of metering. Provide for market discussion using operating one-line diagrams with breaker configuration- may require subgroup meeting. To be considered: Consider meter weighting for pricing of different voltages. Different owner issues? Note that Resources that bid individually may need to be metered individually.