## Sheet1
Section 8 Protocols Clarification
Reviewer | Section | Requested Clarification | TPTF Feedback 020206
Larry Grimm | 8.1(3)(c)(i) | Data to be telemetered is defined in Section 6.5.5.2. Should the telemetry accuracy requirements to be defined by appropriate TAC subcommittee?
Larry Grimm | 8.1(3)(e) | Is Section 8.1.2.1 the correct section to reference? Should it be 8.1.2.4.1 (Regulation Service Energy Deployment Performance Criteria)?
Larry Grimm | 8.1(3)(n) | How often should this be tested to ensure functionality?
Mark Patterson | 8.1.2.2 (3) | Today ERCOT does not require a TSP or DSP to certify the underfrequency relay for correct operation. This would be extremely overburdenson for the TSP's and DSP's. Today we rely on signed off relay test sheets as part of the qualification process.
Mark Patterson | 8.1.2.2.3 (8)(c) | Today a Load Resource is required to provide no less than 95% and no greater than 150% of the RRS instruction. Was it intentional to revert back to the old requirement or an error?
Mark Patterson | 8.1.2.2.4 (6)(c) | Today a Load Resource is required to provide no less than 95% and no greater than 150% of the NSRS instruction. Was it intentional to revert back to the old requirement or an error?
Larry Grimm | 8.1.2.4.1 | Is there a valid reason to keep this as a portfolio measure as opposed to a resource-specific measure?
Mark Patterson | 8.1.2.4.2 (1) (c) | The compliance criteria for Load Resources providing RRS has also changed from no less than 95% or greater than 150% of the instructed amount.
Larry Grimm | 8.1.2.2.5 | Typo- 8.1.2.2.5 should be 8.1.2.5.2
Larry Grimm | 8.2(1)(a) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(1)(b) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(1)(c) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(a)(i) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(a)(ii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(a)(iii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(a)(iv) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(a)(v) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(a)(vi) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(b)(i)(B) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(b)(i)(C) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(b)(iii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(b)(iv) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(b)(v) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(b)(vii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(i) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(ii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(iii)(A) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(iii)(B) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(iii)(C) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(iii)(D) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(iii)(E) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(iii)(F) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(d)(i) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(d)(ii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(d)(iii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(d)(iv) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(e)(i) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(e)(ii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(e)(iii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(e)(iv) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(e)(v) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(f) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(g) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(j) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(k) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(a) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(b)(i) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(b)(ii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(c) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(d) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(e) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(h) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(i) | Performance Criteria needs to be inserted into the Protocols