| PRR Number | 567 | PRR Title | Simplified Three-Part Bidding for Ancillary Services (FKA Block Bidding of Ancillary Services) |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Recommended Action |  | Endorse priority and ranking. |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 2.1 Definitions 4.4.11 Ancillary Services Bid Submittal 4.5.9 Available Bids for Ancillary Services in the Adjustment Period 4.5.9.1 Resubmittal of Bids for Ancillary Services in the Adjustment Period 4.5.9.2 Submittal of New Bids for Ancillary Services in the Adjustment Period 6.3.1 ERCOT Responsibilities 6.6.2 Competitive Procurement of Ancillary Service Resources by ERCOT 6.6.3.1 General Procurement Requirements 6.8.1.1 Payments for Ancillary Service Capacity 6.8.1.16 Make-Whole Payment to QSE for Startup Costs and Minimum Running Costs (new) 6.9.1.6 Make-whole Cost Charge (new) |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority Rank Assigned |  | 1.2 priority and rank of 54.5 |  |  |
| Revision Description |  | PRR would create Startup and minimum Loading offer parameters as well as minimum run time, minimum down time and minimum and maximum strikes on Ancillary Service offers. This will reduce costs for Ancillary Services significantly in the market by mitigating the risk associated with these components of unit operation. |  |  |
| Overall Market Benefit |  | Greater participation in Ancillary Services (AS) markets. |  |  |
| Overall Market Impact |  | Requires redesign of bid submittal interface with the ERCOT systems. The proposal may also require more complex bidding strategy. |  |  |
| Consumer Impact |  | Potentially lower AS prices. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the CWG have reviewed PRR567 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - PRR 567 was posted 1/19/05. - PRS considered this PRR at its 2/17/05 meeting and tabled the proposal pending further review. - On 3/17/05, PRS reconsidered PRR 567 and decided to refer the matter to a taskforce for further review and development. - On 6/21/05, PRS reconsidered this PRR and voted to recommend approval. - On 7/14/05, ERCOT submitted an Impact Analysis (IA). - On 8/24/05, PRS assigned a priority to this PRR. - On 9/8/05, TAC remanded this PRR pending the development of a Cost Benefit Analysis (CBA). - On 9/14/05, ERCOT posted the CBA. - On 9/29/05, PRS reviewed the CBA. - On 10/6/05, TAC considered this PRR and its CBA. - On 10/18/05, TXU submitted a revised CBA. - On 10/20/05, TXU appealed the priority and ranking assignment by TAC. - On 11/15/05, the Board considered TXU’s appeal. - On 12/1/05, TAC referred this PRR to PRS. - On 12/16/05, PRS referred this PRR to a taskforce. - The PRR567 Taskforce convened on 1/13/06. - On 1/16/06, the PRR567 Task Force posted a revised CBA. - On 1/19/06, PRS again considered this PRR. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 6/21/05, PRS voted to recommend approval of this PRR as submitted by the Task Force on 6/21/05 and as amended by PRS. The motion was accompanied with a request that ERCOT conduct an analysis of the impact of this PRR on the Market Clearing Price for Energy. The motion passed with 54.3% voting for and 45.7% (Municipally Owned Utilities (Munis), Electric Cooperatives (Coops), Independent Generators (IGs), Consumers, and Independent Power Marketers (IPMs)) against the proposal. Four members abstained (Munis, Investor Owned Utilities (IOU), Consumers, and Independent REPs). All market segments were present. On 8/24/05, PRS voted to assign a priority of 3.3 with six opposing votes from the Munis, IOU, IG (2), and IPM (2) segments. All segments were present for the vote. On 12/16/05, PRS voted to refer this PRR to a taskforce for further analysis of the costs and benefits, as well as review of the existing CBA and prioritization. The task force is to report back to PRS in January. The motion passed unanimously with all market segments present for the vote. On 1/19/06, PRS voted to endorse the revised CBA submitted by the PRR567 Task Force on 01/16/06 and retain the original priority and ranking of this PRR. The vote passed with eight yeas from the Muni (1), IOU (1), IG (3), Consumers (2), and IPM (1) market segments; seven nays from the Electric Cooperative (2), Muni (2), Independent REP (2), and the IPM (1) market segments; and one abstention from the IOU market segment. All market segments were present for the vote. |  |  |
| Summary of PRS discussion |  | On 3/17/05, Constellation, the sponsor of PRR 567, gave a presentation on the merits of the proposal. ERCOT Staff explained that ERCOT has the software license, but the software is not configured for simultaneous selection. PRS discussed that the best approach for this PRR was to allow ERCOT, Constellation and TXU to convene a taskforce to work through the issues. PRS identified several issues for them to address: allocation of uplift, how block bids would be structured and managed, the appropriate scope of the PRR, compliance with the PUCT order, and ERCOT implementation concerns. Constellation agreed to lead a task force to review the outstanding issues, revise the PRR and bring resolution to PRS. On 6/23/05, Constellation explained how the changes to the PRR address Market Participants’ concerns. OPC noted that the original intent of the PRR was to have more units participate in the market, and expressed concern that the changes only created new products in the market, as well as increase price. Austin Energy advised that, despite having participated in the task force meetings, it continued to be uncomfortable with the portfolio nature of the proposal, the cost of implementation, and whether the cost is justified given that the market may move to a nodal structure. LCRA agreed with Austin Energy’s assessment. Constellation countered that these issues could be addressed in the Impact Analysis and prioritization. On 9/29/05, PRS discussed the cost of implementation and reviewed the Project Priority List to identify projects that could be delayed if PRR567 were implemented. On 12/16/05, PRS discussed the analysis methodology and the need to convene a taskforce to finalize the analysis. The taskforce should report back to PRS by January, 2006. Participants also directed the taskforce to work with ERCOT staff to review the potential impacts of implementing this PRR on ERCOT resources. On 1/19/06, ERCOT Staff gave a presentation on the potential resource impacts resulting from the implementation of this PRR. ERCOT noted that the long-term impacts are fairly minimal. The short-term resource impacts, however, are substantial. The implementation of this PRR would require the same resources as needed for the implementation of the Nodal market and could result in a delay of the Nodal market implementation if PRR567 was given higher priority. TXU presented the revised CBA and the underlying methodology. The revised CBA showed a $10 million benefit resulting from this project. TXU emphasized that this is a conservative number because the benefit calculation showed a range of $10 to $20 million. Participants questioned the validity of the underlying assumptions of the methodology. |  |  |
| TAC Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 9/8/05, TAC voted to remand this PRR to PRS for the development of a CBA. The motion passed unanimously with all market segments present. On 10/6/05, TAC voted to recommend approval of PRR567 as submitted by PRS. The motion passed with one negative vote from the MOU segment and two abstentions from the Consumer segment. All market segments were present. Then TAC voted to change the priority and ranking recommended by PRS from a priority of 3.3 to a priority of 1.2 with a ranking of 54.5. The motion passed with four nay votes from the Coop (2) and REP (2) segments and three abstentions from the Consumers (2) and REP (1) segments. All market segments were present for the vote. On 12/1/05, TAC voted to refer this PRR to PRS to review the CBA and the priority and ranking assigned to this PRR. The motion was approved by hand vote. |  |  |
| Summary of TAC discussion |  | On 9/8/05, TAC discussed the costs and benefits of this PRR, and whether an official CBA had been developed. The PRR Sponsor stated that the analysis developed by TXU demonstrated a substantial benefit as a result of this PRR. Others questioned the validity of the analysis and noted that implementation of this PRR would be disruptive to all ERCOT systems. Consumers reported that they initially supported the PRR, but as a result of the PUCT discussion regarding the Nodal market design and because implementation of this PRR would bump other projects, they could no longer support this PRR. TAC agreed that it needed a fully vetted CBA to fully evaluate this PRR. On 10/6/05, TAC discussed the apparent contradiction between the CBA results and the priority assignment recommended by PRS. Participants raised issues of data transparency, impact of the project on ERCOT systems, overall cost, land longevity of the measure, particularly its applicability in a Nodal environment. Participants also discussed whether there would be sufficient Staff resources once these resources are used to implement the Nodal market. On 12/1/05, participants discussed whether this PRR should be referred to PRS or whether TAC is in the position to review the priority and ranking. Participants noted that if the priority and ranking is changed, this change will have an impact on the priority and ranking of other projects. Participants also noted that delays in implementation may reduce the potential benefits of this PRR. TXU presented a proposed methodology to capture the benefits of this PRR, using expanded data to include three typical days per season for two types of unit. |  |  |
| Board Action |  | On 11/15/05, the Board granted TXU’s appeal and remanded the CBA to TAC for further development of the costs and benefits of this PRR and reconsideration of the priority and ranking assignment. |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions: To allow for comprehensive PRR consideration, please fill out each block below completely.  Wherever possible, please include reasons, explanations, and quantitative cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Minimal business function impact | The proposed Ancillary Services (AS) market would require an even more complex market clearing engine than the one currently under development as part of EMMS Release 4. Although a portion of EMMS Release 4 efforts would carry over, there would be significant redesign, additional modifications and coding efforts required. Additionally, all interfaces with the AS engine would have to be tested and validated. Please review Impact Analysis for full cost detail. | Not known |
| MARKET SEGMENT |  |  |  |
| Consumer | No impact | No impact | Potential for reduced AS costs with multi-hour optimization |
| LSE: General, Including NOIE | No impact | No impact | Potential for reduced AS costs with multi-hour optimization. |
| LSE: CR & REP | No impact | No impact | Potential for reduced AS costs with multi-hour optimization. |
| QSE | Would require more complex bidding strategy | Potentially requires redesign of bid submittal interface with ERCOT’s system. | Not known |
| Resource | Would require more complex bidding strategy | Potentially requires redesign of bid submittal interface with ERCOT’s system. | Not known |
| TDSP | No impact | No impact | No impact |

| Original Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | Clayton.greer@constellation.com |
| Company | Constellation Energy Commodities Group |
| Segment | Independent Power Producer |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| TXU Energy 021005 | Supported the concept proposed in this PRR. |
| ERCOT 021005 | Addressed the viability of this PRR. |
| TXU Energy 021105 | Corrected its previous comments regarding the desired outcome resulting from this PRR. |
| LCRA 02105 | Noted the ERCOT comments and states such a project is not necessary at this time and that the proposal may result in unstable AS pricing. |
| ERCOT 031005 | Addressed the viability of the proposal. |
| Constellation 031605 | Documentation of presentation on the merits of the proposal. |
| Constellation 041805 | Recommended changing the title of the PRR to “Simplified Three-Part Bidding for Ancillary Services”, changed the revision description and the reasons for the revision. Also changed the discussion and PRR language consistent with the aforementioned revisions. |
| Task Force 050905 | Offered further refinement of the PRR language based on Task Force discussions. |
| Task Force 062105 | Offered further refinement of the PRR language based on Task Force discussions. |
| Constellation 093005 | Presentation regarding the mechanics of the proposal. |

Proposed Protocol Language Revision

[The black line has been updated to reflect the January 1, 2006 Protocols.]

2.1	Definitions

Maximum Capacity

A value in MW that may be submitted with Ancillary Services bids.  Bids using this parameter may only be struck if the quantity struck is equal to or less than the value submitted with the bid.

Minimum Capacity

A value in MW that may be submitted with Ancillary Services bids.  Bids using this parameter may only be struck if the quantity struck is equal to or greater than the value submitted with the bid.

Minimum Running Cost

A cost in $/hr that may be submitted with Ancillary Services bids.  This cost is guaranteed to be paid in whole or in part if the bid is struck in the Ancillary Services market and the revenues from the market are insufficient to fully recover the cost.

Minimum Running Time

A span in hours that may be submitted with Ancillary Services bids.  Bids using this parameter may only be struck for a period of consecutive hours equal to or greater than the value submitted with the bid.

Startup Costs

A cost in $/start that may be submitted with Ancillary Services bids.  This cost is guaranteed to be paid in whole or in part if the bid is struck in the Ancillary Services market and the revenues from the market are insufficient to fully recover the cost.

4.4.11	Ancillary Services Bid Submittal

QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period.  Submitted bids remain active for any period until:  (a) selected by ERCOT; or (b) automatically expired by software at the time selected by the QSE.

Ancillary Service bids shall not exceed one thousand ($1,000) dollars per MW for any Resources.  Any Ancillary Service bids in excess of one thousand ($1,000) dollars per MW will be rejected by ERCOT.

For Ancillary Service bids, a QSE must provide:

(1)	The market for which the bid is being supplied;

(2)	The period of time for which the bid is submitted;

(3)	A dollars per megawatt price for the capacity bid;

(4)	The quantity of capacity for which the bid price is effective;

(5)	Any ties to other bids in other ERCOT Day Ahead Ancillary Service markets that may require those bids to be removed from those markets if a bid is selected by ERCOT in an earlier clearing market; and

(6)	Expiration time of the bid.

[PRR496: Add item (7) to Section 4.4.11 upon system implementation:] (7) For a Load Acting as a Resource bids for Responsive Reserve Service and Non-Spinning Reserve Service shall have the option to choose the bid to be awarded only as a complete block at the bid quantity. Bids requested in this fashion shall be defined as Block Bids. Block size will be limited to one hundred fifty (150) MWs for both RRS and NSRS.

- For Generation Resources, bids for Regulation Up, Regulation Down, Responsive Reserves and Non-Spinning Reserves shall have the option to choose the bid to be awarded at a minimum capacity and/or a consecutive number of operational hours.  The minimum capacity specified in any single bid may not exceed one hundred (100) MW.

A Responsive Reserve capacity bid tied to a Regulation Up capacity bid may only exceed the Regulation Up capacity bid by X%, as approved by the ERCOT Board.

A Non-Spinning Reserve capacity bid may only exceed Responsive Reserve capacity bid by X%, as approved by the ERCOT Board.

For Responsive Reserve, Regulation Up and Non-Spin Ancillary Service bids, a QSE may provide:

(1)	Startup Costs in dollars per start, not to exceed 20,000 MMBtu * FIP (default is $0);

(2)	Minimum Running Costs in dollars per hour, not to exceed 2,000 MMBtu * FIP per hour (default is $0);

(3)	Minimum Running Time in hours, (default is 1 hour);

(4)	Minimum Down Time in hours, (default is 1 hour);

(5)	Minimum Capacity in megawatts will be set to  zero (0) MW, except for LaaRs whose minimum can’t exceed the Maximum Capacity; and

(6)	Maximum Capacity in megawatts offered per service if non-default values have been entered for any of the items 1-4 above.  Not to exceed 400 MW for Reg Up.  Not to exceed 200MW of Responsive.  Not to exceed 600 MW for Non-Spin. (no default).

4.5.9	Available Bids for Ancillary Services in the Adjustment Period

QSEs may submit, change, or delete Ancillary Services bids throughout the Adjustment Period.  Bids containing optional components described Section 4.4.11, Ancillary Services Bid Submittal with values other than the default values will not be considered in the Adjustment Period Ancillary Services Market.

4.5.9.1	Resubmittal of Bids for Ancillary Services in the Adjustment Period

If a QSE resubmits a bid for an Ancillary Service that it submitted in a previous market for the same Ancillary Service, but was not selected, the resubmitted bid must meet the following criteria to be considered a valid bid in the subsequent market:

(1)	The bid quantity may not be less than the quantity of the bid from the previous market, unless that QSE has not resubmitted any of the higher priced bids that were not selected in the previous market;

(2)	The bid must be priced equal to or less than the price of the bid not selected from the previous market; and

(3)	The bid may not contain values for the optional components listed in Section 4.4.11, Ancillary Services Bid Submittal, other than the default values.

4.5.9.2	Submittal of New Bids for Ancillary Services in the Adjustment Period

If an individual QSE submits Ancillary Services bids in the Adjustment Period that, in total, are greater in quantity than that QSE’s total quantity of bids that were not selected in a previous market, the incremental amount of Ancillary Services bid may be submitted at any price.

In the event ERCOT notifies Market Participants that additional Ancillary Services are needed, only bids that were submitted before the Notice are eligible.  Once the Notice is given, no further bids are eligible for that procurement.  QSEs may change or delete any bids submitted or resubmitted during the Adjustment Period, prior to ERCOT’s Notice of need for additional Ancillary Services, subject to the restrictions of Protocols Sections 4.5.9.1 or 4.5.9.2.

New bids may not contain values for the optional components listed in Section 4.4.11, Ancillary Services Bid Submittal, other than the default values.

6.3.1	ERCOT Responsibilities

(11)	ERCOT will provide that Market Clearing Prices and costs related to make-whole payments are posted on the Market Information System (MIS) in a timely manner as stated in Section 12.4.1, Scheduling Information, of these Protocols.  ERCOT will monitor Market Clearing Prices for errors and will “flag” for further review questionable prices before posting, and make adjustments or notations in the posting if there are conditions that cause the price to be questionable.  ERCOT may only correct the price consistent with these Protocols.

6.6.2	Competitive Procurement of Ancillary Service Resources by ERCOT

(1)	Except where stated to the contrary in these Protocols, ERCOT shall, to the extent the Ancillary Service Resource bids are available, use competitive procurement processes to procure sufficient Ancillary Service Resources to meet the requirements specified in these Protocols.

(2)	QSEs may submit bids to provide Regulation Down, Regulation Up, Responsive Reserves, and Non-Spinning Reserves, as part of the Scheduling Process in accordance with Section 4, Scheduling.

(3)	QSEs offering Balancing Energy Up, Balancing Energy Down, and Replacement Reserves can offer bids through the Adjustment Period, in accordance with Section 4.5, Adjustment Period Scheduling Process.

(4)	QSE’s bids to provide Ancillary Services will continue to be valid until withdrawn by the QSE prior to the market clearing or the market is cleared.  Bids may not be withdrawn during bid evaluation by ERCOT as described in Scheduling Sections 4.4 Day Ahead Scheduling Process and Section 4.5 Adjustment Period Scheduling Process or after the bid is selected.

(5)	QSEs may only submit bids from that portion of any Resource not used to provide capacity and energy to Supply the Resources in the QSE’s Balanced Schedule.

(6)	ERCOT will determine the MCPC of each interval for Regulation Up, Responsive Reserve and Non-Spinning Reserve using an optimized simultaneous selection process, honoring all optional parameters provided with bids, in order to minimize the overall cost of these Ancillary Services.  ERCOT will determine any make-whole amounts due to QSEs for bids awarded with Startup Costs or Minimum Running Costs that weren’t covered by the capacity payments made to the QSEs for these bids.  The MCPC for RGS Up, RRS and NSRS will represent the marginal value of each capacity product, that is, the rate at which system costs could be decreased or increased by slightly increasing or decreasing, respectively, the amount of the product being made available.

(7)	Other than as specified for Congestion Management, ERCOT shall select Replacement Reserve and Regulation Down bids based on the lowest bid for each service.

(8)	Other than as specified for Congestion Management, ERCOT shall Dispatch energy from the Balancing Energy Service bids based on price Merit Order and the requirements specified in Section 5, Dispatch Instructions.

(9)	For Congestion Management, ERCOT shall, if possible, resolve all Congestion using the Balancing Energy Service by Congestion Zone.

(10)	ERCOT shall establish, through an annual competitive procurement process, annual agreements with Resources needed to provide Black Start capability.

6.6.3.1	General Procurement Requirements

(1)	ERCOT shall conduct daily the Day Ahead bidding process for the purpose of procuring the quantities of Resources as specified in the Ancillary Services Plan for all Operating Hours of the next Operating Day to provide Regulation Up, Regulation Down, Responsive Reserves, and Non-Spinning Reserves.

(2)	ERCOT shall procure Regulation Up, Responsive Reserve and Non-Spinning Resources in the Day-Ahead market simultaneously, for all hours of the next Operating Day such that the overall cost of these Ancillary Services are minimized honoring the bidding constraints provided by the QSEs.  ERCOT will also procure Regulation Down and Replacement Reserves, if needed, prior to the end of the Day Ahead market.

(3)	ERCOT will procure the amount of each service specified in the Ancillary Service Plan, less the amount self-arranged, without substituting one service for a different service.

(4)	A QSE may offer the same Resource capacity into any or all of the Ancillary Services markets simultaneously.  A QSE may specify different capacity bids from a single Resource for each of the Ancillary Service markets into which the Resource is bid in compliance with Section 4, Scheduling.

(5)	When the same Resource capacity is simultaneously offered for more than one of RGS Up, RRS and NSRS ERCOT will select the service for which the capacity will be awarded such that the overall cost of these Ancillary Services is minimized.

(6)	For each Ancillary Service procurement process, ERCOT shall select capacity bids submitted by QSEs, such that:

(a)	After adjusting for self-arranged Resources, the total amount of capacity procured by ERCOT meets the Ancillary Services Plan requirements; and

(b)	For each of RGS Up bid as well as RRS and NSRS bids will be arranged in the Bid Stack such that the overall cost of these Ancillary Services is minimized.  For each of these Ancillary Services, if selection of the marginal capacity block will exceed ERCOT’s required Ancillary Service quantity, ERCOT will select a portion of this capacity block as the actual marginal AS quantity accepted.

(c)	For RGS Down, ERCOT will procure required quantities by selecting capacity in ascending order starting from the lowest priced bid.  ERCOT will continue this selection process until the required quantity of RGS Down is obtained.

[PRR496: Revise (b) upon system implementation. (b) For each of RGS Up bid as well as RRS and NSRS bids will be evaluated and cleared such that the overall cost of these Ancillary Services including any make-whole payments due to QSEs is minimized

(d)	In the case where multiple bids have the same total cost for the selection of RGS Up, RGS Down, RRS and NSRS Ancillary Services, selection shall be awarded based on the bids with the earliest submitted time stamp.

(e) In the case where a bid containing Startup Costs or Minimum Running Costs is struck, but no capacity is procured for specific intervals in the period for which the bid is struck, the Minimum Running Costs will be paid and 0 MW awarded for the service in those intervals.

(7)	ERCOT shall deduct any Resource capacity accepted in one of the Ancillary Service procurement auctions from the capacity that is available for procurement in any subsequent Ancillary Service procurement auction if the QSE has indicated that the Resource capacity bids are linked.

(8)	ERCOT shall determine an hourly MCPC for each of the following Day-Ahead Ancillary Service markets:  Regulation Up, Regulation Down, Responsive Reserves and Non-Spinning Reserves.  The hourly MCPC shall equal the highest-priced capacity reservation bid accepted in the Day Ahead market by ERCOT for that Ancillary Service for the hour.

(9)	If the MCPC cannot be calculated by ERCOT, the MCPC for the particular Ancillary Service shall be deemed to be equal to the MCPC for that Ancillary Service in the same Settlement Period of the preceding Operating Day.

(10)	For each of RGS Up, RGS Down, RRS and NSRS, for each hour of the next Operating Day, ERCOT will post the quantity of capacity procured, the MCPC for the Day Ahead market, and any make-whole amounts generated by the market.

[PRR558: Replace (10) above with the following upon system implementation.] (10) For each of RGS Up, RGS Down, RRS and NSRS, for each hour of the next Operating Day, ERCOT will post the quantity of capacity procured, the MCPC for the Day Ahead market, and any make-whole amounts generated by the market. ERCOT will post a notice if the RRS awarded to LaaR was prorated for any hour.

(11)	ERCOT will be capable of using the MCPC for Non-Spinning Reserve as the MCPC for Regulation Up and/or the MCPC for Responsive Reserve.  Similarly, the MCPC for Responsive Reserve could be used for Regulation Up.  ERCOT shall not substitute prices until a determination of the conditions to allow substitution of prices from one service to another is approved by the ERCOT Board.

6.8.1.1	Payments for Ancillary Service Capacity

(1)	A QSE whose bid to provide an Ancillary Service Resource to ERCOT is accepted in a particular market in ERCOT’s Day-Ahead and Adjustment Period Ancillary Service procurement process shall be paid for services other than RPRS the amount (in megawatts) of Ancillary Service capacity accepted by ERCOT in that market, multiplied by the MCPC in that market for the Operating Hour plus any make-whole amounts due the QSE caused by unfunded Startup Costs and Minimum Running Costs.

6.8.1.16	Make-Whole Payment to QSE for Startup Costs and Minimum Running Costs

(1)	A QSE whose bid included Startup Costs and/or Minimum Running Costs will be paid a make-whole payment for any portion of these bid components that are not otherwise paid by margins received in the Ancillary Service market.  That amount shall equal:

MWPqb =	-1 * Max [0, (SCqb* SNqb  + Σ [MRCqbi]i - CBqb)]

Where:

CBqb	Clawback amount per QSE per three part bid

MRCqbi	Minimum Running Costs per QSE per three part bid per interval

MWPqb	Make-whole payment per QSE per three part bid

SCqb	Startup Cost per QSE per three part bid

SNqb	Number of awarded starts in the day

The clawback amount shall be determined by taking the difference between the Market Clearing Price of capacity and the offer price of the QSE for each Service the specific bid was awarded times the capacity quantity for which the bid was awarded.

CBqb =	Σ [CRUqib * ( MCPCRUi - BPRUqib)] i + Σ [CRRqib * ( MCPCRRi - BPRRqib)] i  + Σ [CNSqib * ( MCPCNSi – BPNSqib)] i

Where:

BPNSqib	QSE bid price for Non-Spinning Reserve Service corresponding to the bid award per interval per bid

BPRRqib	QSE bid price for Responsive Reserve Service corresponding to the bid award per interval per bid

BPRUqib	QSE bid price for Regulation Up Service corresponding to the bid award per interval per bid

CNSqib	Non-Spinning Reserve Service award quantity per QSE per interval per bid

CRRqib	Responsive Reserve Service award quantity per QSE per interval per bid

CRUqib	Regulation Up Service award quantity per QSE per interval per bid

CBqb	Clawback amount per QSE per bid

MCPCNSi	Market Clearing Price for Capacity for Non-Spinning Reserve Service

MCPCRRi	Market Clearing Price for Capacity for Responsive Reserve Service per interval

MCPCRUi	Market Clearing Price for Capacity for Regulation Up Service per interval

6.9.1.6	Make-whole Cost Charge

(1)	All make-whole payment costs to QSEs shall be allocated to Entities who purchase Ancillary Services in the Day Ahead market based on the financially weighted average of each QSE’s total purchases.

MWAq =	-1 * MWT * (LARUq + LARRq + LANSq)/(LARU + LARR + LANS)

Where:

LANS	Load Allocation charge for Non-Spinning Reserve Service for all QSEs for the Operating Day

LANSq	Load Allocation charge per QSE for Non-Spinning Reserve Service for the Operating Day

LARR	Load Allocation charge for Responsive Reserve Service for all QSEs for the Operating Day

LARRq	Load Allocation charge per QSE for Responsive Reserve Service for the Operating Day

LARU	Load Allocation charge for Regulation Up Service for all QSEs for the Operating Day

LARUq	Load Allocation charge per QSE for Regulation Up Service for the Operating Day

MWAq	Make-whole allocation per QSE

MWT	Total make-whole costs for the Operating Day