## Slide 1
2005 Pre-Nodal Transmission Study
Status Report
Bill Bojorquez
Technical Advisory Committee
February 2, 2006

## Slide 2: Study Basis
Several projects were identified at the July 2005 PUCT Workshop on Project 28500
“Pre-Nodal” Study initiated at request of Chairman Hudson to look at any residual long-lead time upgrades that would be economic and mitigate the impact of transmission constraints on expected market benefits
Other study considerations:
  Different generation scenarios consisting of publicly-announced, new generation
  Removal of certain temporary protection systems
  Included RPS level for 2009

## Slide 3: Status
ERCOT has completed initial studies and identified additional projects that appear to be needed for reliability or economics
Held RPG meeting on January 19 to go over study results with stakeholders
  No additional long-lead time projects were identified as needed *
  34 shorter-lead time (SLT) upgrades, with capital cost totaling approximately $115M, were identified as needed
  Some additional transmission lines were identified as economic IF certain proposed new generating units are built
ERCOT will be soliciting additional stakeholder input and working with stakeholders before issuing report and recommendations
  Chairman Hudson concurs with this approach
* Certain upgrades in the Uvalde/Del Rio area proposed by AEP require additional study

## Slide 4: Short Lead-time Reliability Projects $58.4 Million
+ Revised Insecure energy reliability projects
DFW/North Texas
Houston
Central TX

## Slide 5: Short Lead-Time Economic Projects $57.3 Million
DFW/North Texas
Houston
Central TX

## Slide 6: Additional Studies Needed
Continue to solicit any additional comments and suggestions
Refine the 34 SLT projects
Determine timing for SLT projects
Evaluate AEP Uvalde Area upgrades
Develop plans to mitigate congestion in 2009 prior to Clear Springs line completion
Confirm scope and in-service dates for all upgrades
Make specific recommendations on projects and timing
The process used for the Pre-Nodal Study will become part of on-going annual planning process

## Slide 7
Long-Term Transmission Study
Overview

## Slide 8: Legislation Requirements
Section 39.904
(k) The commission and the independent organization certified for ERCOT shall study the need for increased transmission and generation capacity throughout this state and report to the legislature the results of the study and any recommendations for legislation…
Section 39.904
(g) The commission, after consultation with each appropriate independent organization, electric reliability council, or regional transmission organization:
(1) shall designate competitive renewable energy zones …
(2) shall develop a plan to construct transmission capacity necessary …
Notes: (2) shall develop a plan to construct transmission capacity necessary to deliver to electric customers, in a manner that is most beneficial and cost-effective to the customers, the electric output from renewable energy technologies in the competitive renewable energy zones; and
(3) shall consider the level of financial commitment by generators for each competitive renewable energy zone in determining whether to designate an area as a competitive renewable energy zone and whether to grant a certificate of convenience and necessity.

## Slide 9: Components and Schedule
J | F | M | A | M | J | J | A | S | O | N | D
LT System Study
Wind Integration RFP
CREZ Criteria Development
CREZ Determination
CREZ Analysis
ERCOT
PUCT
Generation Scenarios
Potential CREZ ID

## Slide 10: Wind Integration RFP
Two Phases with separate bidder selections possible
  Phase I – develop representative wind profiles and characteristics for each potential CREZ
  Phase II – develop total A/S requirements for system including 2015 RPS (5880MW) level of wind generation distributed in different ways among potential CREZs
    How to treat higher levels of RPS?

## Slide 11: Potential CREZs
B
A
E
D
C
For Conceptual Purposes Only
G
F

## Slide 12: Results of LT Study
Identification of transmission lines that are indicated regardless of selected generation scenarios
Matrix of transmission lines that are needed under certain reasonable scenarios and the triggers that cause each line to be needed; triggers could include:
  Generation interconnection agreements
  CREZ developments
  Generation retirement trends
Insights into locations or types of new generation that might enhance reliability and/or reduce total costs
Information needed by PUCT for CREZ determination

## Slide 13
Questions?