## Sheet1
Long Term Solutions
|  | CREDIT ALTERNATIVE | MARKET DESIGN ALTERNATIVES |  | ADMINISTRATIVE ALTERNATIVE
|  | Collateralization for Negative Bids | Modified Market Clearing Engine - Separate Bid Stacks and MCPCs | Existing Market Clearing Engine - Single RRS Bid Stack with LaaR and Gen MCPCs if Oversubscribed | LaaR RRS Offered Below MCPC is Prorated when Market Oversubscribed
| Number | 2 | 4a | 5 | 7
| Proposed Solution | Modify the ERCOT EAL credit program. EAL calculation would capture negative bidding by QSE and incorporate into QSE credit requirements. Solution creates a similar process as TEL but based on bidding behavior not clearing price. | Creates two different Responsive Reserve services, one provided by LaaR and one supplied by Gen. Separate clearing price for LaaR and Gen. | Solution leverages ERCOT's existing clearing engines. If LaaRs are fully subscribed a separate MCPC price for LaaR would be posted. To the extent the market is not oversubscribed only one MCPC for both LaaR and Gen is cleared. | Solution awards all LaaRs offered below the cleared MCPC and removes any incentive to submit negative bids. Solution was originally proposed by the Demand Side Working Group via PRR619 and was rejected by TAC in November.
Evaluation Criteria | Ease of Implementation
| Market Participants | Moderate. Negative bidding behavior could require 5 to 10 QSEs to post additional credit collateral based on their EAL calculation. QSE is responsible for establishing their own credit requirements with LaaR. | Moderate. Shadow Settlement would have 2 RRS MCPC prices instead of 1, and each QSE with both Gen and LaaRs would have to separately track obligations vs. self-scheduled. | Moderate. Shadow Settlement could have 2 prices instead of 1 for each QSE. | Minor. QSEs would be required to closely monitor RRS performance criteria and unarm breakers to achieve awarded LaaR quantities.
| ERCOT | Moderate. Solution requires extensive front-end system changes, but likely minimal ongoing system changes would be required. | Extensive. Modify Market Clearing Engine to create separate MCPC for LaaR and Gen, most ERCOT modeules are impacted. Updated Settlement calculations also required ERCOT would need to create a blended MCPC for settlement processes on payout for RRS Awards. | Moderate - Needs minor enhancements;Existing Market Clearing Engine to pull separate MCPC for LaaR and Gen when needed. Updated Settlement calculations also required; ERCOT would need to create blended MCPC for settlement processes on payout for RRS Awards. | Moderate. Modifications to Existing Market Clearing Engine required to select LaaRs based on offer price and then determine if oversubscription has occurred.
| Speed of Implementation | Project Required. Unlikely to be completed in 2006, possible 2007 target. | Project Required. Required to go through Project Priority List and acquire funding. Earliest implementaiton possible 2007. Would require extension of sunset date. | Project Required. With appropriate prioritization could be completed in 2006. | Minimal system change required to implement. With appropriate prioritization could be completed in 2006.
Financial Impact
| Impact on Credit | To be determined by CWG | To be determined by CWG | To be determined by CWG | To be determined by CWG
| Cost for System Changes | Moderate. ERCOT will need to provide estimate. | Moderate. Cost is estimated at $500K - $1 MM; likely to be substantial and more than Alternative 5. | Moderate. Initial estimate at $100K - $250K. | Minor. Estimated at <$50k.
| Impact on RRS MCPC | MCPC could be affected by any change in LaaR participation and bidding strategy. | Would now have two separate RRS markets: LaaR and Gen, composite MCPC depends on LaaR participation and bidding strategies. Could require periodic secondary RRS solicitations if LaaR participation drops significantly. | Periodically would have two separate RRS MCPCs; composite MCPC depends on LaaR participation and bidding strategies. Need for secondary RRS solicitations very low. Likely to result in a short term reduction in RRS costs. | Minor. MCPC could be affected by any change in LaaR participation and bidding strategy. Less uncertainy than the other three solutions.
| Other Costs? (e.g. ERCOT Staffing) | 1 FTE | Negligible. | Negligible. | Negligible.
| Does Solution Improve Competition | No. Would tend to favor large balance sheet QSEs or high credit QSEs. | Uncertain. If LaaR clearing price consistently lower than Gen clearing price, LaaR has reduced incentive to participate. | Uncertain. If LaaR clearing price consistently lower than Gen clearing price, LaaR has reduced incentive to participate. Gen can substitute for LaaR, but LaaR can not substitute for Gen. | LaaRs will have incentive to bid actual costs. The current $0 RRS bid floor is no longer needed.
| Does Solution Promote LaaR Participation | Unknown. Possible reduction in LaaR participation in the ERCOT auction from QSEs without collateral sufficient to support large negative bids. | Unknown. Depends on LaaR perception of market opportunity. | No. LaaR would be paid the same or less than Gen. | LaaRs willing to offer capacity below the MCPC will be able to participate in the market (unlike today). If perceived amount of proration is too much, LaaRs could conclude that benefits of participating do not justify the expense to become qualified.
| Impact on Nodal | Nodal Protocol change required. | Nodal protocol change required | Nodal protocol change required | Nodal protocol change required.
| Special Notes | Reduces but does not necessarily eliminate possible market disruption by negative clearing bid since EAL only looks back on average 20 days historical behavior during which negative bidding may not have taken place so "no" or "minimal" credit is required. | Recognizes that RRS supplied from Gen provides a different service than RRS from LaaR. Market power issues need to be addressed. | To the extent LaaR is under-subscribed there is a single MCPC. If LaaR is over-subscribed get separate MCPC for Gen and LaaR. Optimizes MCPC by solving for LaaR and Gen participation simultaneously. To the extent Gen are price takers they can displace LaaR | Success will depend on QSE ability to effectively insure that the Protocol limits on armed LaaR are rigidly adhered to.
| General Notes | 1. Negative bidding in itself is a potential market hindrance.
2. Current bidding may not be reflective of supply/demand; does not reflect true cost of service.
3. There is no consensus on the relative value to the market of RRS from Gen and from LaaR
4. Currently, Gen can always substitute for LaaR, but LaaR can't always substitute for Gen.
5. Until sufficient operating data is collected on how LaaR participates under PRR 646 it is premature to conclude that prorating LaaR will lead to Protocol violations.