## Sheet1
Section 8 Protocols Clarification
Reviewer | Section | Requested Clarification | TPTF Feedback 02062006
Larry Grimm | 8.1(3)(c)(i) | Data to be telemetered is defined in Section 6.5.5.2. Should the telemetry accuracy requirements to be defined by appropriate TAC subcommittee? | Larger issue- includes accuracy standards, construction of backup communication systems, timing of failover from primary to secondary,speed of data, periodicity of data. One QSE input failure to SCED can impact market. Applicable to Generation and Transmission telemetry (distinct differences). Transmission telemetry address in 8.3. Propose that ERCOT outline standards to include categories. Also address master communications document.
Larry Grimm | 8.1(3)(e) | Is Section 8.1.2.1 the correct section to reference? Should it be 8.1.2.4.1 (Regulation Service Energy Deployment Performance Criteria)?
Larry Grimm | 8.1(3)(n) | How often should this be tested to ensure functionality?
Mark Patterson | 8.1.2.2 (3) | Today ERCOT does not require a TSP or DSP to certify the underfrequency relay for correct operation. This would be extremely overburdenson for the TSP's and DSP's. Today we rely on signed off relay test sheets as part of the qualification process. | Not intentionally changed. Phrase "if applicable" applies only for simulated check.
Mark Patterson | 8.1.2.2.3 (8)(c) | Today a Load Resource is required to provide no less than 95% and no greater than 150% of the RRS instruction. Was it intentional to revert back to the old requirement or an error? | Action item- Floyd/MPatterson/RJones/Alice-Oxy to revisit in context of all 3 pieces and review for issues (Testing, Performance, Qualification)
Mark Patterson | 8.1.2.2.4 (6)(c) | Today a Load Resource is required to provide no less than 95% and no greater than 150% of the NSRS instruction. Was it intentional to revert back to the old requirement or an error? | Action item- Floyd/MPatterson/RJones/Alice-Oxy to revisit in context of all 3 pieces and review for issues (Testing, Performance, Qualification)
Larry Grimm | 8.1.2.4.1 | Is there a valid reason to keep this as a portfolio measure as opposed to a resource-specific measure?
Mark Patterson | 8.1.2.4.2 (1) (c) | The compliance criteria for Load Resources providing RRS has also changed from no less than 95% or greater than 150% of the instructed amount. | Action item- Floyd/MPatterson/RJones/Alice-Oxy to revisit in context of all 3 pieces and review for issues (Testing, Performance, Qualification)
Larry Grimm | 8.1.2.2.5 | Typo- 8.1.2.2.5 should be 8.1.2.5.2
Larry Grimm | 8.2(1)(a) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(1)(b) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(1)(c) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(a)(i) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(a)(ii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(a)(iii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(a)(iv) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(a)(v) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(a)(vi) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(b)(i)(B) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(b)(i)(C) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(b)(iii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(b)(iv) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(b)(v) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(b)(vii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(i) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(ii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(iii)(A) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(iii)(B) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(iii)(C) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(iii)(D) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(iii)(E) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(c)(iii)(F) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(d)(i) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(d)(ii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(d)(iii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(d)(iv) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(e)(i) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(e)(ii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(e)(iii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(e)(iv) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(e)(v) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(f) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(g) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(j) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.2(2)(k) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(a) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(b)(i) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(b)(ii) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(c) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(d) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(e) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(h) | Performance Criteria needs to be inserted into the Protocols
Larry Grimm | 8.3(1)(i) | Performance Criteria needs to be inserted into the Protocols