## Sheet1
Section 5 Protocols Clarification |  |  |  | 0 | 1
Reviewer | Section | Requested Clarification | TPTF 020606 Feedback | 0 | 2
Jay Dondeti | 5.5.1 (7) | What is the role of bus voltage limit violations in RUC? ERCOT believes that this voltage monitoring is not intended for RUC, but is a vestige from the real-time network analysis. If a voltage violation is expected in the day ahead it must be represented as generic thermal constraint in RUC. If we are incorrect, please explain. | Bus voltage is to be considered. Market did not specify how this is to occur. | 5 | 1 | 7
Jay Dondeti & Sai Moorty | 5.5.1 | It is not clear how NSA will solve if the COP does not match the demand as forecasted by LF. It seems like we need an initial UC that ensures power balance before evaluating network security. Open loop between NSA and RUC or iterative loop between NSA and RUC. The diagram of security sequence or the description does not talk about multiple iterations between RUC and SFT. How is that handled? | ERCOT has flexibility in how to approach this issue from a design perspective, and how to address this operationally. | 5 | 1
Jay Dondeti & Sai Moorty | 5.5.1 | Currently 5.5.1(3) says: Current status for HRUC, normal status for DRUC, updated for approved Planned Outages. Currently 5.5.2(9)(a) says: Current status for HRUC, current status for DRUC, updated by COP for Resources, updated by Outage Scheduler for Transmission elements. Appears that 5.5.1 (3) and 5.5.2 (9) (a) are inconsistent. | ERCOT Operations to propose preferred method of initiating HRUC and DRUC and will propose PRR language to remove the inconsistency between the 2 sections. | 5 | 1
John Adams | 5.5.1 (7) (a) | Perform full AC analysis of all contingencies. ERCOT suggests we discuss the need for AC power flow vs. DC power flow. | Discuss later