OWG Report to ROS

2-16-06

The OWG met On January 18th, 2006. The following OGRRs are pending at the OGRTF:

There are no OGRR being requested for approval at this time.

1.	165 – Update Unit Telemetry Requirement:  This revision proposes to add a requirement for QSEs to submit real-time AGC status and Ramp Rate for all units in their portfolio. ERCOT submits this OGR to address Recommendation No. 14 of Potomac Economics’ recommendations to improve ERCOT’s wholesale market design.  Recommendation No. 14 states that ERCOT should monitor a QSE’s ability to meet its Responsive Reserve Obligation in real-time.  Currently, capacity is monitored, but a unit’s ramp rate is not monitored.  This revision will incorporate a unit’s current Up Ramp Rate in MW/min ramp rate and Automatic Generation Control (AGC) status in the data provided to ERCOT. The ROS remanded this back to OGRTF for amore explicit explanation of how they intend to use this ramp rate data. The OGRTF meeting followed the ROS by one week and ERCOT had not prepared that explanation for OGRTF discussions. It is anticipate that this will be on the OGRTF agenda on February 27 concurrent meeting with OWG.

- 169OGRR - Reporting of Reserve Capability Under Severe Gas Curtailments- Adds a requirement that Resources provide additional data describing their alternative fuel capability during the winter months. This OGRR was presented to the QSE Mgrs WG for review. After discussion, it was determined that the form as amended by OGRTF was acceptable. This OGRR is recommended for approval pending the impact analysis. A vote will be requested at the next ROS meeting.

- 176OGRR - Market Participant Use of Domain Name Service or ERCOT Web-Based Front Page for Site Failover - This OGRR requires a Market Participant possessing a backup site to utilize a WAN (Wide Area Network) Domain Name Service (DNS) server or an ERCOT provided Web-Based DNS service to facilitate the API (Application Program Interface) failover process when moving to or from their backup site.  This OGRR is still being amended to remove the TOs form the OGRR. This OGRR is primarily for the QSEs.

- 178OGRR - Revision to Reactive Limits Verification Form – This OGRR revises the form to include minimum value on the CURL Curve, add notes on auxiliary load, add contact phone numbers, add a diagram showing the measurement locations and correct the note on calculated Net Generator Reactive. It is still in the process of further amendments.

- 179OGRR - Under-Voltage Load Shedding Protection Systems – This OGRR clarifies the requirements for under-voltage Load shedding protection systems and minor modifications for references to supporting Sections of the Operating Guide (regarding protection system maintenance). This OGRR was written by SPWG to satisfy ERCOT requirements relating to under-voltage Load shedding implementation by individual utilities. This OGRR is due to be reviewed at the February OGRTF-OWG joint meeting.

- The Black Start Task Force has not met since 12/12/05. See last month’s comments. At the January 13th OWG meeting, Mr. David Wood of AE was confirmed by the OWG as the new BSTF Chairman. A BSTF meeting has been scheduled for March 8th and the joint meeting of the BSTF and the DWG has been tentatively scheduled for March 28 in Taylor in conjunction with the already scheduled DWG meeting.

- The OTF met on January 29, 2006. The task force began the task of script writing for the directed hurricane drill that will take place on May 10th, 2006. This will be the only drill scheduled for 2006 unless directed otherwise. The following is a preliminary schedule of events leading to the drill:

The following is the Schedule that the OTF proposes in order to meet the directive of the TAC to have a hurricane drill prior to the 2006 season. This will be the only drill for 2006. As stated in the ERCOT Operating Guides Section 1.8.5 “All Qualified Scheduling Entities that provide Ancillary Services and Transmission operators are required to participate in the drill.”

January 30 – DRAFT Script of drill to OTF from Jason Sweeny for review and comments

February 10 – Comments due back to Jason Sweeny, OTF and ERCOT for incorporation to script

February 15 – OTF meets at ERCOT to review aggregated script and finalize script

March 10 – ERCOT sends out RSVP request with the Script and request for contact phone numbers for coordinators and drill day phone numbers

April 10 – QSEs and TOs to forward in-house scripts to ERCOT

April 17 – Conference call with contact information. One conference call for TOs and a second conference call for QSEs. This is due to not enough line at ERCOT for all participants to call in at one time.

May 8 – ERCOT to issue impending hurricane Notices and OCN

May 9 – ERCOT to issue hurricane alert

May 10 – Drill day – first part is the hurricane destruction; the second part is system restoration.

May 12 – Pre-designed critiques due to ERCOT.

May 17 – OTF presentation to OWG

June 15 – OTF presentation to ROS

July 6 – Formal Presentation to TAC

The ERCOT script will be less detailed than the November 2005 drill but with enough detail that the TOs and QSEs will be able to develop their internal drill scripts. This internal drill script will be one of three items that ERCOT Compliance will look at for determining compliance with the Operating Guides. The other two will be the RSVP and the return of the critiques on time.

The pre-designed critique sheets will have specific issues to comment on as well as who, by name, participated in the drill. There will be a section in the participant section for managers and executives who were participating. It is being recommended that managers and any executive that would be involved in a hurricane event participate in this drill.

When the ERCOT drill script goes out there will be attached a list of suggested QSE activities that a QSE could do during the drill internally

- The operations report was presented by Kent Grammer assisted by Jeff Healy.

- The next OWG meeting has been scheduled for February 27 in conjunction with the rehearsal of the Annual ERCOT Operator Training Seminar.