DWG Report to ROS, February 2006

- The last DWG meeting was February 8-9, 2006.

- The simulation of the August 19, 2004 FPL Forney plant trip is complete and will be presented to ROS at the February meeting. The report is in document DWG Event Simulation Report.doc.

- Flat start activities are complete for the current year case

- Flat start activities have begun for the future year case

- The following page lists the activities currently planned to be addressed by the DWG in 2006.

- The DWG and Black Start Task Force have scheduled a joint meeting to discuss black start issues on March 28.

- The next DWG meeting will be March 28-29.

DWG Tasks, 2006

Listed below are the known DWG tasks as of February 2006.  The DWG would appreciate ROS input on the items on this list.

Required:

- Flat start future case (part of 2006 flat start effort).

- Incorporate load as responsive reserve models into dynamics database.

- Flat start 2006 case with wind models.

- Publish flat start book.

- Fall: begin 2007 flat start activities.

- Make annual determination of the number and location of dynamic monitoring devices.

- Annual Procedural Manual review/update.  Address ERCOT Compliance comments on manual.

- Meet with Black Start Task Force, discuss what can be done to evaluate ERCOT-wide black start plan.

Study required by operating guides

- Major study: Perform UFLS adequacy study.

DWG is planning to address the following:

- Work on clarifying Operating Guides with respect to Power System Stabilizers, if directed by ROS.

- Significant effort: Assess other possible transient voltage criteria

Other issues to be addressed later:

- Work with ERCOT Planning to archive DWG documents.

- Finish part II of the TVD assignment: excitation response.

- Provide more detailed requirements for generator, exciter, and governor testing and model validation.

- Significant effort: verification of ERCOT wind models.

- Develop the wind section of the DWG Procedural Manual.