| PRR Number | 632 | PRR Title | Clawback Mechanism for Generating Resources at a Site with an RMR Unit |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 2.1 – Definitions 6.8.3.1 (1) - Capacity Payments for RMR Service |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | Establishes a “clawback” mechanism applicable to RMR Standby Cost to prevent improper subsidization of Generation Resources located at the same physical location as an RMR Unit. Such Resources are called “RMR Companion Unit(s).” The “clawback” mechanism reduces the hourly Standby Price paid for RMR Service by the “profits” earned by operation of any RMR Companion Units located at the same site as the RMR Unit up to the cumulative total hourly Standby Cost incurred. The “profits” of the RMR Companion Unit(s) are defined as the difference between the MCPE for each interval that the Companion Unit(s) operate and the Resource Category Generic Fuel Cost (RCGFC) for the Companion Unit(s) less the Resource Category Generic Start Cost of the RMR Resource if started during the period in which the RMR Companion Unit(s) operated. |  |
| Reason for Revision |  | Currently, a Generation Entity must notify ERCOT in writing no less than 90 days prior to the date on which the Generation Entity intends to cease or suspend operation of a Generation Resource for a period of greater than 180 days. ERCOT then evaluates the continued need to operate this Generation Resource and if needed for reliability, will negotiate an RMR Agreement with the Generation Entity for continued availability of the Generation Resource until an RMR Exit Strategy can be implemented. However, other Generation Resources owned by the Generation Entity at the same site that are not planned to be shutdown or not identified as potential RMR Units may continue to operate and participate in ERCOT markets solely at the discretion of the Generation Entity. Recently, a Market Participant submitted a notification of suspension of operations for two Generation Resources at a particular plant site with a caveat that if one of the suspended Generation Resources was to be selected by ERCOT to provide RMR Service, then the other Generation Resource located at the site might continue to operate and participate in the ERCOT market in a normal manner. Such a situation might lead to a Market Participant subsidizing the operation of the second Generation Resource through payments associated with the RMR Agreement for the first Generation Resource. This PRR attempts to close that “loophole” through a “clawback” mechanism to ensure that the Generation Entity cannot use an RMR Agreement for one unit to subsidize the operation of a second unit at the same plant site. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |
| Timeline |  |  |  |
| Date Posted |  | 9/9/05 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Henry Durrwachter |
| E-mail Address | hdurrwachter@txu.com |
| Company | TXU Energy |
| Company Address | 1717 Main Street, Dallas TX 75201 |
| Phone Number | (214) 875-9285 |
| Fax Number | (214) 875-9480 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Not known | Not known | Lower cost of capacity and energy to the market |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Lower cost of capacity and energy to the market |
| LSE: General, Including NOIE | None | None | Lower cost of capacity and energy to the market |
| LSE: CR & REP | None | None | Lower cost of capacity and energy to the market |
| QSE | Reduced revenues for operating units at sites with RMR Units | Not known | Lower cost of capacity and energy to the market |
| Resource | Reduced revenues for operating units at sites with RMR Units | Not known | Lower cost of capacity and energy to the market |
| TDSP | None | None | None |

Proposed Protocol Language Revision

2.1	Definitions

Reliability Must-Run (RMR) Companion Unit

A Generation Resource operating at the same location as a Generation Resource operated under the terms of an Agreement with ERCOT to provide RMR Service which is not operated under such an Agreement itself.

6.8.3.1	Capacity Payments for RMR Service

(1)	The capacity payment for RMR Service is referred to in these Protocols as the “Standby Price.”  The hourly Standby Price to be used in settlement will be calculated as follows:

SBRMRh	=	Σ(SBRMRuh)u

SBRMRuh	=	(-1 * AvailRedu * StbyPriceu * BillCapuh) - CBCUh

AvailGenCapuhi	=	MIN (AvailPlanCapuh, MiscondCapuh, MaxGenCapuh)

AvailRedu	=	IF (HrRollEAFuh >= TA, 1, IF(HrRollEAFuh > .35, (1-((TA - HrRollEAFuh)*2)), 0)

BillCapuh 	=	IF (TestCapu < RMRCapu, RMRCapu *(1 – TestCapRedu), RMRCapu)

If (Σ (SBRMRh)t – Σ (CBCUh)t) <= 0,

Then:

CBCUh	=	0

Else:

CBCUh	=	ProfitCUh

HrRollEAFuh	=	IF (Elapsed Hours < 4379, 1, ((AvailGenCapuh + ∑AvailGenCapuh /(MaxGenCapuh + (∑MaxGenCapuh4379))

MaxGenCapu	=	MIN (RMRCapu, TestCapu)

MiscondCapuh		=	IF (AMDuh >= (.98 * AvailPlanCapuh),
AvailPlanCapuh, AMDuh)

If the RMR Companion Unit is deemed to be On-line and connected to the ERCOT Transmission Grid as described in Section 6.8.2.2, Capacity and Minimum Energy Payments, paragraph (3),

Then:

ProfitCUh	=	Σ {Σ [(MCPEi – RCGFCCUc) * EnergyCUi]h}n

If the RMR Companion Unit is deemed to be Off-line and then reconnects to the ERCOT Transmission Grid and starts as described in Section 6.8.2.2, Capacity and Minimum Energy Payments, paragraph (2),

Then:

ProfitCUh	=	Σ {(Σ [((MCPEi – RCGFCCUc) * EnergyCui)]h - RCGSCCUc}n

TestCapReduh	=	((RMRCapu – TestCapuh)/RMRCapu)*2

Where:

c		Resource Category

i		interval

j		Settlement Interval within the hourly interval i

h		hour

n		Companion Units at the RMR site

t	hours from start of RMR contract up to but not including hour h

u		unit

AMDuh	=	Actual Metered Delivery per unit per hour in MW

AvailPlanCap	=	Available Capacity per the Availability Plan

CBCUh	=	Clawback of Companion Unit profit per hour

CU	=	Companion Unit

Elapsed Hours	=	Elapsed hour since 0000 of the date of contract inception

EnergyCUi	=	Energy production (in MWh) of Companion Unit for the interval i

MiscondCapuh	=	IF (MiscondExcused = No, (IF (AMDuh > (.98 * AvailPlanCapuh), 0, 10000), 0)

MiscondExcused	=	Yes or No

ProfitCUh	=	Companion Unit profit in hour h

RMRCapu	=	Maximum unit capacity as stated in the RMR Contract.

RCGFCCUi	=	Resource Category Generic Fuel Cost for the Companion Unit in interval i

RCGSCCUc	=	Resource Category Generic Startup Cost for the Companion Unit

StbyPriceu	=	Hourly Standby Price for the RMR as stated in the RMR Agreement

TA	= 	Target Availability defined in Section 6.8.3.1(5)

TestCapuh	=	Test Capacity is the capacity resulting from test conducted by ERCOT.

Note:  If less than 4380 hours have elapsed since the start date, 
HrRollEAFui = 1.0