| OGRR Number | 169 | OGRR Title | Reporting of Reserve Capability Under Severe Gas Curtailments |
| --- | --- | --- | --- |
| Impact Analysis Date |  | 02/20/06 |  |
| Credit Impacts |  | YES _______ NO ______ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | None. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | No additional project time is required. See comments. |  |
| ERCOT Staffing Impacts (across all areas) |  | No additional impacts. See comments. |  |
| ERCOT Computer System Impacts |  | None |  |
| ERCOT Business Function Impacts |  | No additional impacts. See comments. |  |
| Grid Operations & Practices Impacts |  | No additional impacts. See comments. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None

Evaluation of Interim Solutions (e.g., manual workarounds)

None

Comments

This OGRR implements the provisions set out in PRR611. As reflected in the IA to the accompanying PRR611, ERCOT added a function to gather the Alternative Fuel Capability Operating Guide Form from Market Participants and uses the information regarding operating levels under severe gas curtailments for internal use during the defined period of the event.