MINUTES

NETWORK DATA SUPPORT WORKING GROUP

JANUARY 26, 2006

Attendees:

Curtis Crews      		ERCOT

Trisha Miller			ERCOT

Joe Weatherly			ERCOT

Ken Dye			ERCOT

Denise Taylor			ERCOT

Charles Bui			LCRA

Frank Bhuiyan			LCRA

Tony Kroskey			Brazos

Dwight Beckman		Brazos

Eddie Clark			TXU ED

David Bogen			TXU ED

Jackie Rainey Lewis		AEP

David Grubbs			Garland

Chuck Sears			Denton

Trieu Vo			CPS Energy

Ken Chui			Austin Energy

Ebby John			Centerpoint

John Moore			STEC

Joe Perez			TMPA

Heidi Mansion			TNMP

Meeting called to order at 8:50 a.m.

Attendees were reminded of the Antitrust Admonition.

Recognized Heidi Mansion as the new representative from TNMP and John Moore as the new representative from STEC.

Data Submission

Curtis Crews reminded all of the persons submitting Service Requests to make sure they entered data in all of the required columns, specifically the MVA column.

The group was reminded that all Service Requests need to be filled out a minimum of 30 days prior to energizing.  It is expected that in the future the time will be extended to require Service Request six to nine months in advance of energizing.

Service Requests that modify line ratings will be submitted to the Market Monitor.

ERCOT is revisiting the In Service notification to see if the data can be added to the Outage Scheduler to alert market participants to know when a project is energized.

Coordination between Operations and Planning Cases

The number of transmission elements that were different between the Operations and Planning cases increased significantly, from 900 to 1279 between the last report in November and January.  Although member systems have worked to resolve discrepancies a significant number of new lines were added to the list of branches with differences from the list of branches that did not have a direct comparison.  Many of the elements have very minor differences although ERCOT is ignoring differences in impedances of less than 0.0001 pu and ratings differences of 1 MW.

The requirement for each TDSP to have a naming convention for all its bus names was discussed.

Curtis Crews stated he would be developing and submitting a new OGRR that would require TDSPs to submit data that matched between the operations and planning cases.

Status on Nodal Transition and Section 3 reviews

Members were reminded that Section 3.7.10.1 of the Protocols requires that the TDSPs coordinate a Naming Convention with ERCOT to make the model names the same between the Planning and Operational cases.  During the February 6 and 7 TPTF meetings Lee Caylor will make a presentation on the new modeling requirements that will be required of TDSPs under Nodal.

Update on the Siebel System

New weekend, January 26, ERCOT will be installing an update to the Service Request database known as Siebel.  This is under Project PR50026 SIR Enhancements and SIR10185 ESM Service Requests.  The system will send e-mails automatically to the initiator anytime the status of the service request changes.  The e-mail will only notify of the status change.  Personal contacts must still be made if any additional information is needed to complete the process.

Future Enhancements Requested: (1) On pull down for SPS/RAP need to add additional options, (2)  Add status such as “Incomplete” to subject line of the automatic e-mails and (3) Improve the search and download capabilities.

The WG also requested that ERCOT change the procedure for notification that a facility is in service.  ERCOT currently requires that an in-service notification by made in writing and physically signed and then faxed to ERCOT.  The WG would prefer that an e-mail would suffice.

Future Data Requirements

TXU ED noted that because of the significantly increased data that will be required to be submitted to ERCOT in the future they were documenting the workflow in order to coordinate the data submittals so that all submittals were consistent between different submissions and on time.

Vice Chairman

The WG recommended that David Bogen of TXUED, be recommended to ROS as Vice Chairman for the NDSWG.

Future Meetings

February 28	Austin

March 21	Taylor

April 18	Austin

May 16	Taylor

June 20	Taylor

July 18		Taylor

August	 15	Taylor

September 19	Taylor

October 17	Taylor

November 14	Taylor

December 12	Taylor