| *PRR Number | 649 | PRR Title | Correct “K” Factor in Compliance SCE Formula |
| --- | --- | --- | --- |
| Impact Analysis Date |  | February 28, 2006 |  |
| Credit Impacts |  | YES _______ NO __X____ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | None. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | None. |  |
| ERCOT Staffing Impacts (across all areas) |  | None. This process can be performed by current staffing levels. |  |
| ERCOT Computer System Impacts |  | No computer system impact. |  |
| ERCOT Business Function Impacts |  | ERCOT EMMS staff will raise the “K” Factor to “1.0” in EMMS model for automated use in production regulation monitoring on the effective date of PRR649. |  |
| Grid Operations & Practices Impacts |  | None. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None

Evaluation of Interim Solutions (e.g., manual workarounds)

There is no alternative interim solution.

Feasibility of Implementation

Resource availability: Existing ERCOT Compliance staff are available to manually perform regulation analysis using the “1.0” K factor for February 2006 and March 2006. Automated regulation monitoring using the updated “K Factor” will be implemented on the effective date of PRR649. Impact to other projects: No incremental impacts from this protocol revision are expected.

Comments

None