| PRR Number | 649 | PRR Title | Correct "K" Factor in Compliance SCE Formula |
| --- | --- | --- | --- |
| Date |  | March 6, 2006 |  |
| Submitter’s Information |  |  |  |
| Name |  | Danielle Jaussaud |  |
| E-mail Address |  | Danielle.jaussaud@puc.state.tx.us |  |
| Company |  | PUCT |  |
| Company Address |  | 1701 N congress Avenue, Austin 79701 |  |
| Phone Number |  | 512-936-7396 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |

Comments

The Public Utility Commission’s Staff (Staff) believes that the proposed change is inconsistent with the Protocols.  Staff is also concerned about the possible unintended reliability consequences of PRR649.

The sponsor of PRR 649 - proposing to change the K factor in the measurement of a QSE’s SCE score - stated that the K factor is based on the square root of the percentage of the market providing Regulation Service, and should be changed to reflect that the Participation Factor has changed because the measurement is now applied not only to QSEs providing Regulation Service but to all QSEs.

Section 6.10.5.3 shows the formula to be:

SCE10≤L10∗KParticipationFactor

Where Participation Factor is “determined by the ratio of the QSE’s generation scheduled change for the measurement period (1 or 10 minute) to total ERCOT generation schedule change for the measurement period (1 or 10 minute)”, and K is “a constant currently set to .81 which is established by the appropriate ERCOT Subcommittee as assigned by TAC.  K should initially be set to .81 to provide an ERCOT wide L10 equivalent to the ERCOT wide L10 currently used by Control Areas in ERCOT.  This constant can be adjusted to ensure correlation between passing the NERC CPS2 criteria and passing the SCE ten (10) minute control limit.”

Therefore, the Participation Factor and the K factor are two different things.  Any change to the number of QSEs included in the measurement would be reflected in the Participation Factor, as already reflected in the Protocols.  There is no justification for changing the K factor for the same reason.  The Protocols provides guidance on the methodology for changing the K factor.  If the K factor were changed as proposed by the sponsor of PRR 649, it would introduce an inconsistency in the Protocols between the SCE formula shown above and the explanation of the components in the formula.

In addition, as ERCOT pointed out, PRR 649 could result in a decrease in ERCOT’s Control Performance Standard One (CPS1) Score and impact ERCOT reliability.  Staff supports ERCOT’s assessment that it would be unreasonable and potentially harmful to proceed with this change to the Protocols without a proper analysis and an examination of its impact on system reliability by the proper Reliability and Operations Subcommittee (ROS) working group.

Staff, therefore, believes that a change in the K factor is not supported by the justification given by the sponsor of PRR 649, and supports ERCOT’s recommendation that, at a minimum, TAC remand this PRR to the ROS for review by the appropriate working group of the ROS for further review and analysis.

Revised Proposed Protocol Language

None