## Slide 1: Protocol Revision Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
March 9, 2006

## Slide 2: PRS Summary
Revisit PRR 630
1 PRR for Approval
  1 Non-System Changes – IA only
1 PRR for Rejection
2006 Goals
Guiding Principles for Project Prioritization

## Slide 3: PRR 630 – Private Use Networks
Purpose (TXU Wholesale, IOU) | Requires private use networks (PUN) to maintain and report appropriate watt/VAR metering data at each substation and the addition/deletion of load points | 
Benefit | Improved system reliability by requiring PUNs to meet same power factor/voltage standards as other market participants | 
Market Impact | Places additional reporting requirements on certain PUNs | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with 2 no votes and 2 abstentions; all market segments were present; CNP Comments to PRS Report | 
Effective Date | April 1, 2006 | 

## Slide 4: PRR 630 – Private Use Networks
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 5: PRR 649 – Correct “K” Factor in Compliance SCE Formula - URGENT
Purpose (ANP, Independent Generator, Freq TF) | Revises “K” factor from 0.81 to 1.00 in the SCE regulation monitoring formula, thus increasing the operating bandwidth for generators – Comments submitted to TAC by ERCOT & WMO | 
Benefit | Reduces the number of potential non-compliance issues investigated by ERCOT and market participants | 
Market Impact | May impact ERCOT reliability | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with 2 votes “no” and 3 abstentions; all market segments were present | 
Effective Date | April 1, 2006 | 

## Slide 6: PRR 649 – Correct “K” Factor in Compliance SCE Formula - URGENT
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Requires change in monitoring

## Slide 7: PRR 632 – Clawback Mechanism for Generating Resources at a Site with an RMR Unit
Purpose (TXU, IOU) | Would establish a clawback mechanism applied to RMR Standby costs to prevent improper subsidization of Resources at the same physical location as the RMR unit. | 
Benefit | N/A | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended rejection with 1 abstention; all market segments were present | 
Effective Date | N/A | 

## Slide 8: Recommended TAC Actions
Approval
  PRR 630 – Private Use Networks
  PRR 649 – Correct “K” Factor in Compliance SCE Formula
Rejection
  PRR 632 – Clawback Mechanism for Generating Resources at a Site with an RMR Unit

## Slide 9: 2006 Goals
Provide clarity to administrative process for handling Nodal transitory period PRRs
Continued improvements to the project prioritization process
  Approach to Zonal PRRs during the transition period to Nodal
  Other approaches for desirable projects that remain unfunded because they cannot compete against projects with high reliability value
  Review the manner in which projects that fall below the cut-line should be addressed and presented to TAC

## Slide 10: Guiding Principles for Project Prioritization
Important Considerations
  Consistent application of prioritization rules by all parties is critical
    Everyone must play by the same rules
  Key Definitions
    Critical – Reliability or operational requirement that must be addressed immediately
    High Value – Reliability or operational requirement that if left unaddressed will become critical
    Medium Value – Important to improve reliability, service or efficiency of operations of the market

## Slide 11: Guiding Principles for Project Prioritization
Effective project prioritization is a combination of the following elements:
  PRR/SCR/ERCOT Project Request
    Project description and assumptions
    Market costs and benefits
    Credit implications
    Relevance to nodal market
  Impact Analysis
    ERCOT implementation cost
    ERCOT staffing impact
    Estimated delivery time
    Feasibility of implementation

## Slide 12: Guiding Principles for Project Prioritization
Effective project prioritization is a combination of the following elements:
  CBA Output
    Net benefit ($)
    Cost-Benefit Ratio
    Scoring Matrix (Reliability, Security, etc.)
    Risk reduction/Non-quantifiable impacts
    Market implementation costs
    Feasibility of implementation
  Other Considerations
    Impact on ERCOT Controls
    Prioritization of audit/security projects will be based on the individual merits of the request
    Feasibility of implementation

## Slide 13: Guiding Principles for Project Prioritization
Priorities & Descriptions
  1 – Projects required by statute, PUCT order, NERC compliance or critical reliability of: grid operations; IT infrastructure; commercial settlement
  2 – High Value for a majority of market segments or ERCOT
  3 – High Value to one or two segments or Medium Value for a majority of market segments or ERCOT
  4 – Medium Value for only one segment
  9 – Parking lot for non-prioritized projects