## Slide 1: Compliance Update
March 2006

## Slide 2: ERCOT’s CPS1 12 Month Rolling Average Trend

## Slide 3: ERCOT CPS1 by Interval

## Slide 4: QSE PRR525 10-Minute Interval Scoring

## Slide 5: SCE Performance Monitoring
SCE Performance Monitoring scores for all QSEs were published on the Compliance Website by March 8th
  January SCE Performance Scores

## Slide 6: 525 Passing 10-Min Interval Percentage Trends

## Slide 7: K-Factor Comparison of January 525 Scores

## Slide 8: Reliability is a Team Effort
Off-nominal frequency impacts reliability and market efficiency
  Equipment damage
  Degrade the quality of the product to end users
  Threaten system stability resulting in system collapse
  Transmission overloads
Every action by one resource requires a reaction by other resources
A QSE that is off-schedule costs the Market Participants money that are following the rules and providing frequency response

## Slide 9: Information and Training
Each QSE should be represented on the Performance Disturbance Compliance Working Group (PDCWG) and attend the meetings
  Must sign an ERCOT Confidentiality Agreement prior to attending or receiving material
  To subscribe to the PDCWG E-Mail List, go to http://lists.ercot.com/cgi-bin/majordomo
Attend the ERCOT Operations Training Seminar (5 consecutive weeks beginning March 27th)

## Slide 10: NEW Approved NERC Standards
MOD–024 Verification of Generator Gross and Net Real Power Capability
MOD–025 Verification of Generator Gross and Net Reactive Power Capability
PRC–003 Regional Procedure for Analysis of Misoperations of Transmission and Generation Protection Systems
PRC–004 Analysis and Mitigation of Transmission and Generation Protection System Misoperations
PRC–005 Transmission and Generation Protection System Maintenance and Testing
PRC-020 Under Voltage Load Shedding Program Database
PRC-021 Under Voltage Load Shedding Program Data
PRC-022 Under Voltage Load Shedding Program Performance
https://standards.nerc.net/
Notes: The NERC Board recently approved these standards. Implementation periods of four-six months are included; details are available on the NERC website. They are not included in this year’s annual NERC compliance program but will be mandatory after the implementation period ends.
ERCOT ROS has agreed to have working groups review these. Some are already addressed in ERCOT practices; others may not be. These begin to include more and more participation from the generation owners into NERC standards.

## Slide 11: New NERC Field Tests
PRC-019 Coordination of Generator Voltage Regulator Controls with Unit Capabilities and Protection
PRC-024 Generators Performance during Frequency and Voltage Excursions
MOD-026-1 Verification of Generator Excitation Systems and Voltage Control Model Data
MOD-027-1 Verification and Status of Generating Unit Frequency Response
Field tests are intended to improve the Standard before adoption
The ROS has agreed to participate
Generator Owner volunteers will be requested
ERCOT has participated in field tests before
Notes: ERCOT ROS has agreed to participate. Volunteers from several generation owners will be requested. Initial work is developing Regional criteria – ERCOT has done some of this in the recent past. Field tests are meant to improve the standard prior to adoption.

## Slide 12: Compliance Program Developments
On January 31st, ERCOT filed its
Compliance Process in response to PUCT Substantive Rule 25.503(j), after lengthy review with Commission Staff – Docket 32350 assigned.
  Technical conference to be held on March 28th.
  Deadline for initial written comments is April 7th.
  PUCT Interchange
Notes:   Hyperlinks to these documents are included in the slide.

## Slide 13: Compliance Program Developments
ERCOT Compliance will present information about its Compliance Enforcement Program to the NERC Board of Trustees Compliance Committee on March 15th.
ERCOT Compliance is currently registering ERCOT entities responsible for NERC Reliability Standards. This is in support of the NERC filing to be the Electric Reliability Organization (ERO).