## Slide 1: ROS Report to TAC – 3/9/06 Major Discussion Items at 2/16/06 ROS
ERCOT Compliance:
Power System Stabilizer Requirements
Endorse Field Test of Four New NERC Standards
ROS Dynamics Working Group
Defer UFLS study by one year
Simulation of 8/19/04 Forney Event
Performance Issues Exposed
Endorse CC Modeling Effort
PRR 647 – Gross and Net MW / MVAR Reporting
ERCOT Modeling Issues
Planning v. Operations Model Differences
Coordination of Topology Changes

## Slide 2: ROS Report to TAC – 3/9/06 Partial List of PRRs Not Discussed
PRR 649 – Correct K Factor in Compliance SCE Formula.

## Slide 3: Simulation of 8/19/04 Forney Event Figure 3 – Recorded v. Simulated Frequency Response

## Slide 4: Simulation of 8/19/04 Forney Event Figure 21 – Using 21.4% Droop for each governor

## Slide 5: 2004 & 2005 RMS1 of ERCOT Frequency

## Slide 7: ROS Report to TAC – 3/9/06 Items Requiring TAC Vote
OGRR 172 – Special Protection Systems Obligations
Permit the sharing of some TDSP real-time data with Generating Entities subject to an SPS to help avoid SPS operations. Change approval process for an SPS that involves generation.
Posted July 28, 2005
Approved by ROS November 10, 2005 - Unanimous
OGRR 174 – Definition of a Single Generating Unit
Defines “generating unit” of a Combined Cycle Facility as the entire train, for transmission reliability testing. Allows for exception process by ERCOT review of historical forced outage data.
Posted September 2, 2005
Approved by ROS January 13, 2006 - Unanimous