## Slide 1: TAC Report to the ERCOT Board
February 21, 2006

## Slide 2: TAC Summary
Report on Goals from TAC Planning Retreat
4 Unanimous PRRs
Return of PRR 567
SCR 746
Consideration of Temporary Change to 2005 Annual Validation

## Slide 3: PRR 543 – Schedules & Emergency Assistance Over CFE-ERCOT DC Ties
Purpose (ERCOT) | Addresses the use of Back-to-Back ties and BLTs with CFE during emergency conditions | 
Benefit | Greater reliability in emergency conditions | 
Market Impact | None | 
System Change | No | N/A
Assumptions | N/A | 
TAC Vote | Unanimously recommends approval; all segments present | 
Effective Date | March 1, 2006 | 

## Slide 4: PRR 543 – Schedules & Emergency Assistance Over CFE-ERCOT DC Ties
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Risk exists when energy flows to
CFE from ERCOT
Contract required prior to ERCOT
use of PRR

## Slide 5: PRR 627 – RMR Transmission Issues & RMR Contract Extension
Purpose (TXU, IOU) | Establishes TDSP reporting requirements regarding RMR exit strategy implementation; codifies ERCOT ability to extend RMR/MRA contract if exit strategy delayed | 
Benefit | Increases transparency regarding RMR/MRA exit strategy implementation | 
Market Impact | Increases transparency regarding RMR/MRA exit strategy implementation (Change from Recommendation Report) | 
System Change | No | N/A
Assumptions | N/A | 
TAC Vote | Unanimously recommends approval; all market segments were present | 
Effective Date | March 1, 2006 | 

## Slide 6: PRR 627 – RMR Transmission Issues & RMR Contract Extension
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 7: PRR 638 – Change Settlement Invoice Due Date from 16 Calendar Days to 5 Bank Business Days
Purpose (TXU, IOU, COPS) | Changes the Settlement Invoice Due Date from sixteen (16) calendar days to five (5) Bank Business Days. | 
Benefit | Accurate settlement data | 
Market Impact | Accurate settlement data | 
System Change | No | N/A
Assumptions | N/A | 
TAC Vote | Unanimously recommends approval; all segments present | 
Effective Date | March 1, 2006 – TAC recommends change to April 1, 2006 | 

## Slide 8: PRR 638 – Change Settlement Invoice Due Date from 16 Calendar Days to 5 Bank Business Days
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 9: PRR 638 – Change Settlement Invoice Due Date from 16 Calendar Days to 5 Bank Business Days
On 2/2/06, TAC discussed the possible negative effects of the combined impact of implementing PRR638 and the transition to 10-day Initial Settlement under PRR568 (Change Initial Settlement from 17 days to 10 Days) on some QSEs. COPS recommended that the implementation date of PRR638 be delayed to April 1, 2006 to avoid any overlap. TAC unanimously approved this recommendation.

## Slide 10: PRR 639 – Notification of Repairs to EPS Facilities Under Emergency Conditions
Purpose (TXU, IOU, MWG) | Allows TDSP to repair EPS meter prior to notifying ERCOT in emergency situations | 
Benefit | Allows for more timely repairs of EPS meters during emergency situations | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
TAC Vote | Unanimously recommends approval; all segments present | 
Effective Date | March 1, 2006 | 

## Slide 11: PRR 639 – Notification of Repairs to EPS Facilities Under Emergency Conditions
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 12: PRR 567 – Simplified 3-Part Bidding for A/S
On 11/15/05, the Board granted TXU’s appeal and remanded the CBA to TAC for further development of the costs and benefits of this PRR and reconsideration of the priority and ranking assignment.
On 12/1/05, TAC voted to refer this PRR to PRS to review the CBA and the priority and ranking assigned to this PRR. The motion was approved by hand vote.
On 1/19/06, ERCOT Staff gave a presentation on the potential resource impacts resulting from the implementation of this PRR. ERCOT noted that the long-term impacts are fairly minimal. The short-term resource impacts, however, are substantial. The implementation of this PRR would require the same resources as needed for the implementation of the Nodal market and could result in a delay of the Nodal market implementation if PRR567 was given higher priority.
TXU presented the revised CBA and the underlying methodology. The revised CBA showed a $10 million benefit resulting from this project. TXU emphasized that this is a conservative number because the benefit calculation showed a range of $10 to $20 million. Participants questioned the validity of the underlying assumptions of the methodology.
2/2/06, TAC voted to endorse the revised CBA and retain the original priority and ranking as recommended by PRS. The motion passed with two representatives from the Consumer segment abstaining from the vote. All market segments were present.

## Slide 13: PRR 567 – Simplified 3-Part Bidding for A/S
Purpose (Constellation, IPM) | PRR creates parameters for start-up costs, capacity offers, minimum operating costs and others that would allow ERCOT to reduce AS costs and provides for make-whole payments where appropriate | 
Benefit | Greater participation in A/S markets; lower AS costs | 
Market Impact | Requires redesign of bid submittal interface with ERCOT systems; may also require more complex bidding strategy | 
System Change | Yes | Net Benefits -- $6.3MM; Ratio – 3.21
Assumptions | TXU analysis of each day (11/04-10/05); High Implementation Cost Case -- $3MM; in effect 12 months; reduced benefits by 50% for conservatism | 
TAC Vote | TAC voted to retain the original priority of 1.2 and ranking of 54.5 with 2 consumer segment representatives abstaining | 
Effective Date | Upon system implementation | 

## Slide 14: PRR 567 – Simplified 3-Part Bidding for Ancillary Services
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
$1 to $3 Million
Impacts several systems

## Slide 15: SCR 746 Dynamic Rating Data to TSP Using ICCP Link
Provide transmission element dynamic rating data used by ERCOT to the Transmission Service Provider (TSP) of the facility through the Inter-Control Center Protocol (ICCP) link.
ERCOT and the TSP need to use the same rating for transmission facilities. Both entities must also use the correct ratings.
By providing the data using the ICCP link it will make the comparison of the data used by the TSP and the data used by ERCOT by computers easier and more timely. This will improve the accuracy of the data used by both the TSP and ERCOT.
Reliability Operations Subcommittee unanimously approved SCR 746
On 1/12/06, TAC voted to recommend approval of SCR746 and assigned a priority of 1.1 and ranking of 9.5. There were two votes against the motion (Consumer segment) and one abstention (Consumer segment). All market segments were present for the vote.

## Slide 16: SCR 746 Dynamic Rating Data to TSP Using ICCP Link
CBA shows overall cost of $454,890
Benefit: Early identification of transmission line rating errors
Cost: Cost to upgrade ICCP to accommodate line rating data
Why did ROS and TAC overwhelmingly approve a SCR with project cost to the market?
It is because of the stakeholder belief in the importance and the potential magnitude of the “non-quantifiable impacts”
This SCR aims to reduce network model errors. The economic benefits, in terms of unnecessary congestion costs incurred due to erroneous limitations, depend upon a number of factors including (1) how many errors exist; (2) how many errors would be eliminated by this SCR; and (3) the congestion costs caused by the errors.
Network model errors can cause congestion if transfer limits are set artificially low due to the errors. Conversely, network errors can cause reliability problems if transfer limits are set artificially high due to the errors. Therefore, in addition to reducing congestion costs, this SCR also improves reliability, which is difficult to quantify in terms of economic benefit.

## Slide 17: Recommended Board Actions
Approval
  PRR 543 – Schedules & Emergency Assistance Over CFE-ERCOT DC Ties (unanimous)
  PRR 627 – RMR Transmission Issues & RMR Contract Extension (unanimous)
  PRR 638 – Change Settlement Invoice Due Date from 16 Calendar Days to 5 Bank Business Days with effective date change (unanimous)
  PRR 639 – Notification of Repairs to EPS Facilities Under Emergency Conditions (unanimous)
  PRR 567 – Simplified 3-Part Bidding for A/S – Priority and Ranking
  SCR 746 Dynamic Rating Data to TSP Using ICCP Link
  Temporary Change to 2005 Annual Validation