## CSC Total Average
Impact per Actual Congestion
| Total Shadow Price | Intervals | Avg. Price per Interval
2005 | 720644.64 | 3871 | 186.165 | (Note: This calculation includes all six CSCs that are in effect for 2005)
2005 | 661181.99 | 3547 | 186.406 | (Note: This calculation includes five CSCs that are in effect for 2004 and 2005, excluding NW which is in effect for 2005)
2004 | 183572.68 | 2551 | 71.9611 | (Note: This calculation inlcules all five CSCs that were in effect for 2004)
Impact per Total Periods
| Total Shadow Price | Intervals | Avg. Price per Interval
2005 | 720644.64 | 35040 | 20.5663 | (Note: This calculation includes all six CSCs that are in effect for 2005)
2005 | 661181.99 | 35040 | 18.8693 | (Note: This calculation includes five CSCs that are in effect for 2004 and 2005, excluding NW which is in effect for 2005)
2004 | 183572.68 | 35136 | 5.2246 | (Note: This calculation includes five CSCs that are in effect for 2004 and 2005, excluding NW which is in effect for 2005)

## Impact per Actual Cong
2005 |  | WN |  |  | NW |  |  | SH |  |  | SN |  |  | NH |  |  | EN
| Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval
January | 79.82 | 1 | 79.82 | 4933.1 | 58 | 85.0534 | 1353.69 | 37 | 36.5862 | 8419.27 | 62 | 135.7947 | 0 | 0 | 0 | 0 | 0 | 0
February | 0 | 0 | 0 | 14762.23 | 82 | 180.0272 | 510.11 | 13 | 39.2392 | 579.86 | 10 | 57.986 | 10052.92 | 53 | 189.6777 | 0 | 0 | 0
March | 0 | 0 | 0 | 545.44 | 2 | 272.72 | 2514.64 | 26 | 96.7169 | 2071.59 | 24 | 86.3162 | 8018.13 | 43 | 186.4681 | 0 | 0 | 0
April | 0 | 0 | 0 | 12016.03 | 7 | 1716.5757 | 469.05 | 3 | 156.35 | 13803.03 | 88 | 156.8526 | 3012.19 | 17 | 177.1876 | 0 | 0 | 0
May | 0 | 0 | 0 | 76.98 | 1 | 76.98 | 5051.73 | 104 | 48.5743 | 9310.65 | 48 | 193.9719 | 3041.84 | 51 | 59.6439 | 0 | 0 | 0
June | 0 | 0 | 0 | 3541.21 | 22 | 160.9641 | 52194.71 | 599 | 87.1364 | 4286.5 | 52 | 82.4327 | 2517.3 | 63 | 39.9571 | 0 | 0 | 0
July | 0 | 0 | 0 | 4388.59 | 39 | 112.5279 | 2995.22 | 89 | 33.6542 | 44593.97 | 181 | 246.3755 | 4216.76 | 60 | 70.2793 | 0 | 0 | 0
August | 131.97 | 5 | 26.394 | 797.34 | 5 | 159.468 | 72724.29 | 337 | 215.7991 | 64106.88 | 288 | 222.5933 | 1135.49 | 31 | 36.6287 | 0 | 0 | 0
September | 1549.46 | 3 | 516.4867 | 777.24 | 8 | 97.155 | 53356.39 | 212 | 251.6811 | 33399.63 | 163 | 204.9057 | 4927.96 | 56 | 87.9993 | 0 | 0 | 0
October | 0 | 0 | 0 | 5222.18 | 24 | 217.5908 | 21757.13 | 58 | 375.1229 | 11459.73 | 51 | 224.7006 | 158585.42 | 476 | 333.1626 | 0 | 0 | 0
November | 82.19 | 3 | 27.3967 | 3077.33 | 29 | 106.1148 | 9247.2 | 38 | 243.3474 | 0 | 0 | 0 | 7229.32 | 34 | 212.6271 | 0 | 0 | 0
December | 0 | 0 | 0 | 9324.98 | 47 | 198.4038 | 0 | 0 | 0 | 42395.95 | 168 | 252.3568 | 0 | 0 | 0 | 0 | 0 | 0
| 1843.44 | 12 | 153.62 | 59462.65 | 324 | 183.5267 | 222174.16 | 1516 | 146.5529 | 234427.06 | 1135 | 206.5437 | 202737.33 | 884 | 229.3409 | 0 | 0 | 0
2004 |  | WN |  |  | NW |  |  | SH |  |  | SN |  |  | NH |  |  | EN
| Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval
January | 0 | 0 | 0 |  |  |  | 453.72 | 11 | 41.2473 | 12224.92 | 148 | 82.6008 | 268.8 | 8 | 33.6 | 9841.55 | 107 | 91.9771
February | 0 | 0 | 0 |  |  |  | 2887.28 | 34 | 84.92 | 8389.68 | 191 | 43.925 | 0 | 0 | 0 | 0 | 0 | 0
March | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 2267.74 | 18 | 125.9856 | 6546.51 | 3 | 2182.17 | 4006.93 | 28 | 143.1046
April | 0 | 0 | 0 |  |  |  | 2166.65 | 12 | 180.5542 | 28.32 | 2 | 14.16 | 5156.08 | 41 | 125.758 | 12108.19 | 178 | 68.0235
May | 0 | 0 | 0 |  |  |  | 4783.56 | 74 | 64.6427 | 1421.16 | 57 | 24.9326 | 468.2 | 8 | 58.525 | 327.36 | 29 | 11.2883
June | 0 | 0 | 0 |  |  |  | 16339.26 | 285 | 57.3307 | 468.9 | 21 | 22.3286 | 2996.04 | 83 | 36.0969 | 263.56 | 17 | 15.5035
July | 0 | 0 | 0 |  |  |  | 9077.11 | 232 | 39.1255 | 54.09 | 2 | 27.045 | 1934.54 | 21 | 92.121 | 214.42 | 6 | 35.7367
August | 300.33 | 3 | 100.11 |  |  |  | 4818.24 | 66 | 73.0036 | 28.09 | 1 | 28.09 | 3513.28 | 73 | 48.1271 | 303.35 | 12 | 25.2792
September | 0 | 0 | 0 |  |  |  | 6773.79 | 130 | 52.1061 | 2493.49 | 66 | 37.7802 | 471.26 | 5 | 94.252 | 1212.72 | 29 | 41.8179
October | 0 | 0 | 0 |  |  |  | 10266.69 | 164 | 62.6018 | 741.93 | 12 | 61.8275 | 2605.66 | 82 | 31.7763 | 346.66 | 5 | 69.332
November | 0 | 0 | 0 |  |  |  | 13.06 | 1 | 13.06 | 2274.8 | 21 | 108.3238 | 0 | 0 | 0 | 0 | 0 | 0
December | 34.96 | 1 | 34.96 |  |  |  | 16.71 | 1 | 16.71 | 21768.44 | 202 | 107.7646 | 0 | 0 | 0 | 20894.65 | 61 | 342.5352
| 335.29 | 4 | 83.8225 |  |  |  | 57596.07 | 1010 | 57.0258 | 52161.56 | 741 | 70.3935 | 23960.37 | 324 | 73.9518 | 49519.39 | 472 | 104.914

## Impact per Actuall Periods
2005 |  | WN |  |  | NW |  |  | SH |  |  | SN |  |  | NH |  |  | EN
| Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval
January | 79.82 | 2976 | 0.026821 | 4933.1 | 2976 | 1.6576 | 1353.69 | 2976 | 0.45487 | 8419.27 | 2976 | 2.8291 | 0 | 2976 | 0 | 0 | 0 | 0
February | 0 | 0 | 0 | 14762.23 | 2688 | 5.4919 | 510.11 | 2688 | 0.18977 | 579.86 | 2688 | 0.21572 | 10052.92 | 2688 | 3.7399 | 0 | 0 | 0
March | 0 | 0 | 0 | 545.44 | 2976 | 0.18328 | 2514.64 | 2976 | 0.84497 | 2071.59 | 2976 | 0.6961 | 8018.13 | 2976 | 2.6943 | 0 | 0 | 0
April | 0 | 0 | 0 | 12016.03 | 2876 | 4.178 | 469.05 | 2876 | 0.16309 | 13803.03 | 2876 | 4.7994 | 3012.19 | 2876 | 1.0474 | 0 | 0 | 0
May | 0 | 0 | 0 | 76.98 | 2976 | 0.025867 | 5051.73 | 2976 | 1.6975 | 9310.65 | 2976 | 3.1286 | 3041.84 | 2976 | 1.0221 | 0 | 0 | 0
June | 0 | 0 | 0 | 3541.21 | 2880 | 1.2296 | 52194.71 | 2880 | 18.1232 | 4286.5 | 2880 | 1.4884 | 2517.3 | 2880 | 0.87406 | 0 | 0 | 0
July | 0 | 0 | 0 | 4388.59 | 2976 | 1.4747 | 2995.22 | 2976 | 1.0065 | 44593.97 | 2976 | 14.9845 | 4216.76 | 2976 | 1.4169 | 0 | 0 | 0
August | 131.97 | 2976 | 0.044345 | 797.34 | 2976 | 0.26792 | 72724.29 | 2976 | 24.4369 | 64106.88 | 2976 | 21.5413 | 1135.49 | 2976 | 0.38155 | 0 | 0 | 0
September | 1549.46 | 2880 | 0.53801 | 777.24 | 2880 | 0.26987 | 53356.39 | 2880 | 18.5265 | 33399.63 | 2880 | 11.5971 | 4927.96 | 2880 | 1.7111 | 0 | 0 | 0
October | 0 | 2880 | 0 | 5222.18 | 2980 | 1.7524 | 21757.13 | 2980 | 7.3011 | 11459.73 | 2980 | 3.8455 | 158585.42 | 2980 | 53.2166 | 0 | 0 | 0
November | 82.19 | 3 | 27.3967 | 3077.33 | 2880 | 1.0685 | 9247.2 | 2880 | 3.2108 | 0 | 2880 | 0 | 7229.32 | 2880 | 2.5102 | 0 | 0 | 0
December | 0 | 0 | 0 | 9324.98 | 2976 | 3.1334 | 0 | 2976 | 0 | 42395.95 | 2976 | 14.246 | 0 | 2976 | 0 | 0 | 0 | 0
| 1843.44 | 11715 | 0.15736 | 59462.65 | 35040 | 1.697 | 222174.16 | 35040 | 6.3406 | 234427.06 | 35040 | 6.6903 | 202737.33 | 35040 | 5.7859 | 0 | 0 | 0
2004 |  | WN |  |  | NW |  |  | SH |  |  | SN |  |  | NH |  |  | EN
| Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval
January | 0 | 0 | 0 |  |  |  | 453.72 | 2976 | 0.15246 | 12224.92 | 2976 | 4.1078 | 268.8 | 2976 | 0.090323 | 9841.55 | 2976 | 3.307
February | 0 | 0 | 0 |  |  |  | 2887.28 | 2784 | 1.0371 | 8389.68 | 2784 | 3.0135 | 0 | 0 | 0 | 0 | 0 | 0
March | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 2267.74 | 2976 | 0.76201 | 6546.51 | 2976 | 2.1998 | 4006.93 | 2976 | 1.3464
April | 0 | 0 | 0 |  |  |  | 2166.65 | 2876 | 0.75336 | 28.32 | 2876 | 0.009847 | 5156.08 | 2876 | 1.7928 | 12108.19 | 2876 | 4.2101
May | 0 | 0 | 0 |  |  |  | 4783.56 | 2976 | 1.6074 | 1421.16 | 2976 | 0.47754 | 468.2 | 2976 | 0.15733 | 327.36 | 2976 | 0.11
June | 0 | 0 | 0 |  |  |  | 16339.26 | 2880 | 5.6734 | 468.9 | 2880 | 0.16281 | 2996.04 | 2880 | 1.0403 | 263.56 | 2880 | 0.091514
July | 0 | 0 | 0 |  |  |  | 9077.11 | 2976 | 3.0501 | 54.09 | 2976 | 0.018175 | 1934.54 | 2976 | 0.65005 | 214.42 | 2976 | 0.07205
August | 300.33 | 2976 | 0.10092 |  |  |  | 4818.24 | 2976 | 1.619 | 28.09 | 2976 | 0.0094388 | 3513.28 | 2976 | 1.1805 | 303.35 | 2976 | 0.10193
September | 0 | 0 | 0 |  |  |  | 6773.79 | 2880 | 2.352 | 2493.49 | 2880 | 0.8658 | 471.26 | 2880 | 0.16363 | 1212.72 | 2880 | 0.42108
October | 0 | 0 | 0 |  |  |  | 10266.69 | 2980 | 3.4452 | 741.93 | 2980 | 0.24897 | 2605.66 | 2980 | 0.87438 | 346.66 | 2980 | 0.11633
November | 0 | 0 | 0 |  |  |  | 13.06 | 2880 | 0.0045347 | 2274.8 | 2880 | 0.78986 | 0 | 0 | 0 | 0 | 0 | 0
December | 34.96 | 2976 | 0.011747 |  |  |  | 16.71 | 2976 | 0.0056149 | 21768.44 | 2976 | 7.3147 | 0 | 0 | 0 | 20894.65 | 2976 | 7.0211
| 335.29 | 5952 | 0.056332 |  |  |  | 57596.07 | 32160 | 1.7909 | 52161.56 | 35136 | 1.4846 | 23960.37 | 26496 | 0.9043 | 49519.39 | 29472 | 1.6802

## Impact per Total Periods
2005 |  | WN |  |  | NW |  |  | SH |  |  | SN |  |  | NH |  |  | EN
| Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval
January | 79.82 | 2976 | 0.026821 | 4933.1 | 2976 | 1.6576 | 1353.69 | 2976 | 0.45487 | 8419.27 | 2976 | 2.8291 | 0 | 2976 | 0 | 0 | 2976 | 0
February | 0 | 2688 | 0 | 14762.23 | 2688 | 5.4919 | 510.11 | 2688 | 0.18977 | 579.86 | 2688 | 0.21572 | 10052.92 | 2688 | 3.7399 | 0 | 2688 | 0
March | 0 | 2976 | 0 | 545.44 | 2976 | 0.18328 | 2514.64 | 2976 | 0.84497 | 2071.59 | 2976 | 0.6961 | 8018.13 | 2976 | 2.6943 | 0 | 2976 | 0
April | 0 | 2876 | 0 | 12016.03 | 2876 | 4.178 | 469.05 | 2876 | 0.16309 | 13803.03 | 2876 | 4.7994 | 3012.19 | 2876 | 1.0474 | 0 | 2876 | 0
May | 0 | 2976 | 0 | 76.98 | 2976 | 0.025867 | 5051.73 | 2976 | 1.6975 | 9310.65 | 2976 | 3.1286 | 3041.84 | 2976 | 1.0221 | 0 | 2976 | 0
June | 0 | 2880 | 0 | 3541.21 | 2880 | 1.2296 | 52194.71 | 2880 | 18.1232 | 4286.5 | 2880 | 1.4884 | 2517.3 | 2880 | 0.87406 | 0 | 2880 | 0
July | 0 | 2976 | 0 | 4388.59 | 2976 | 1.4747 | 2995.22 | 2976 | 1.0065 | 44593.97 | 2976 | 14.9845 | 4216.76 | 2976 | 1.4169 | 0 | 2976 | 0
August | 131.97 | 2976 | 0.044345 | 797.34 | 2976 | 0.26792 | 72724.29 | 2976 | 24.4369 | 64106.88 | 2976 | 21.5413 | 1135.49 | 2976 | 0.38155 | 0 | 2976 | 0
September | 1549.46 | 2880 | 0.53801 | 777.24 | 2880 | 0.26987 | 53356.39 | 2880 | 18.5265 | 33399.63 | 2880 | 11.5971 | 4927.96 | 2880 | 1.7111 | 0 | 2880 | 0
October | 0 | 2980 | 0 | 5222.18 | 2980 | 1.7524 | 21757.13 | 2980 | 7.3011 | 11459.73 | 2980 | 3.8455 | 158585.42 | 2980 | 53.2166 | 0 | 2980 | 0
November | 82.19 | 2880 | 0.028538 | 3077.33 | 2880 | 1.0685 | 9247.2 | 2880 | 3.2108 | 0 | 2880 | 0 | 7229.32 | 2880 | 2.5102 | 0 | 2880 | 0
December | 0 | 2976 | 0 | 9324.98 | 2976 | 3.1334 | 0 | 2976 | 0 | 42395.95 | 2976 | 14.246 | 0 | 2976 | 0 | 0 | 2976 | 0
| 1843.44 | 35040 | 0.05261 | 59462.65 | 35040 | 1.697 | 222174.16 | 35040 | 6.3406 | 234427.06 | 35040 | 6.6903 | 202737.33 | 35040 | 5.7859 | 0 | 35040 | 0
2004 |  | WN |  |  | NW |  |  | SH |  |  | SN |  |  | NH |  |  | EN
| Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval | Total Shadow Price | Intervals | Avg. Price per Interval
January | 0 | 2976 | 0 |  |  |  | 453.72 | 2976 | 0.15246 | 12224.92 | 2976 | 4.1078 | 268.8 | 2976 | 0.090323 | 9841.55 | 2976 | 3.307
February | 0 | 2784 | 0 |  |  |  | 2887.28 | 2784 | 1.0371 | 8389.68 | 2784 | 3.0135 | 0 | 2784 | 0 | 0 | 2784 | 0
March | 0 | 2976 | 0 |  |  |  | 0 | 2976 | 0 | 2267.74 | 2976 | 0.76201 | 6546.51 | 2976 | 2.1998 | 4006.93 | 2976 | 1.3464
April | 0 | 2876 | 0 |  |  |  | 2166.65 | 2876 | 0.75336 | 28.32 | 2876 | 0.009847 | 5156.08 | 2876 | 1.7928 | 12108.19 | 2876 | 4.2101
May | 0 | 2976 | 0 |  |  |  | 4783.56 | 2976 | 1.6074 | 1421.16 | 2976 | 0.47754 | 468.2 | 2976 | 0.15733 | 327.36 | 2976 | 0.11
June | 0 | 2880 | 0 |  |  |  | 16339.26 | 2880 | 5.6734 | 468.9 | 2880 | 0.16281 | 2996.04 | 2880 | 1.0403 | 263.56 | 2880 | 0.091514
July | 0 | 2976 | 0 |  |  |  | 9077.11 | 2976 | 3.0501 | 54.09 | 2976 | 0.018175 | 1934.54 | 2976 | 0.65005 | 214.42 | 2976 | 0.07205
August | 300.33 | 2976 | 0.10092 |  |  |  | 4818.24 | 2976 | 1.619 | 28.09 | 2976 | 0.0094388 | 3513.28 | 2976 | 1.1805 | 303.35 | 2976 | 0.10193
September | 0 | 2880 | 0 |  |  |  | 6773.79 | 2880 | 2.352 | 2493.49 | 2880 | 0.8658 | 471.26 | 2880 | 0.16363 | 1212.72 | 2880 | 0.42108
October | 0 | 2980 | 0 |  |  |  | 10266.69 | 2980 | 3.4452 | 741.93 | 2980 | 0.24897 | 2605.66 | 2980 | 0.87438 | 346.66 | 2980 | 0.11633
November | 0 | 2880 | 0 |  |  |  | 13.06 | 2880 | 0.0045347 | 2274.8 | 2880 | 0.78986 | 0 | 2880 | 0 | 0 | 2880 | 0
December | 34.96 | 2976 | 0.011747 |  |  |  | 16.71 | 2976 | 0.0056149 | 21768.44 | 2976 | 7.3147 | 0 | 2976 | 0 | 20894.65 | 2976 | 7.0211
| 335.29 | 35136 | 0.0095426 |  |  |  | 57596.07 | 35136 | 1.6392 | 52161.56 | 35136 | 1.4846 | 23960.37 | 35136 | 0.68193 | 49519.39 | 35136 | 1.4094