Market Data Needs from ERCOT

| Data Item | Current Data Provided | Recommended Improvements | Additional Information about topic |
| --- | --- | --- | --- |
| Load Forecast Updates and Additional Weather Forecast Information | Load Forecast Updates | Provide data upon which each updated load forecast is based—similar to that provided with the DA Load Forecast | This link shows ERCOT details on Weather that ERCOT provides for its DA load forecast: http://mospublic.ercot.com/ercot/jsp/tem_peaks.jsp |
| BES Bid Stack | Bid stack data provided | ERCOT to provide the Bid Stack as ramp rate limited to reflect real market conditions. If current posting already incorporates this parameter, the posting should be modified to state this. | This link shows ERCOT aggregated bid curves: http://www.ercot.com/mktinfo/agg_bid/2005/12/index.html |
| BES Prices | Data provided by interval by day in tabular format in Excel | Provide additional CSV or tabular files with the corrected BES data as an integrated file to facilitate analysis | This link shows ERCOT details on Bid Stack http://www.ercot.com/mktinfo/services/bal/index.html An additional file similar to those posted at: http://www.ercot.com/publicrmc/pubreportexplorer.asp?report=Market%20Information%20Extract Would be helpful. |
| Local Congestion PRR 515 | Data provided by day in tabular format in Excel | Provide data in format that is consistent across all days. This requires standardization of report across charge types and dispatched Resources so that report is consistent for all days. Additionally, data should be presented so that it is easily imported into a database, or at a minimum, in a tabular or CSV format. | Location for this data at ERCOT: http://www.ercot.com/gridinfo/congestion/disclosure/index.html |
| Load Data | Load Data should also be provided by zone | Weather zone, reliability region, or congestion zone would be acceptable. | Load information in ERCOT may be found at: http://mospublic.ercot.com/ercot/jsp/frequency_control.jsp Load forecast information is at: http://mospublic.ercot.com/ercot/jsp/midterm_load_forecast.jsp Generation information in ERCOT may be found at: http://mospublic.ercot.com/ercot/jsp/scheduled_zonal_generation.jsp |
| RMR Information | Deployment information should be provided—duration, date, time | Presently the only public data is in the Local Congestion Cost report—and costs do not indicate the deployment periods. | Data on costs of RMR are found in the Local Congestion Cost report posted at: |
| OOME | Website has only historical information | Update website with correct information or state that this is only historical information on the page with the link (current title makes the data appear to be current when they are not) | Information on OOME historical is at: http://www.ercot.com/gridinfo/congestion/oome_lbe/index.html |
| Training and Presentations | Repost historical presentations and training information that was removed from website |  |  |
| File Versioning |  |  | Multiple versions of files are posted with the same name—i.e. replacements of older files. Filenames should reflect the fact that they are replacements through use of a versioning process. A versioning policy should be instituted for all public ERCOT documents. |
| Ancillary Services Awards | By QSE | By QSE in “time series format” |  |
| Fuel Index | Published in Client Reports | Published in Billing and Settlement Extracts |  |
| Historical load data |  | Actual historical loads, by weather zone, congestion zone by interval. | There is currently no actual historical load data posted. We would recommend that ERCOT post that data that it currently collects on historical interval level load data that shows each unique CZ/WZ combination. |
| Historical weather data |  | Actual historical weather posted as there is no historical weather data posted. | Post actual historical weather by weather zone expressed in temperature that is calculated with the weather station weightings that is used in the forecasting process. |