Definition of Terms

Outage – The interruption or delay of a market service.

Critical Process – Type of business process affected by the outage.

Systems – ERCOT processes or system(s) affected by the outage.

Timing – Duration of the outage.

Phases – Communication phase –

I.	Initial notification (identification that service is not available, but technical or business analysis not yet available);

II.	Follow-up notification, multiple updates depending on the duration of the outage (progress reports and reporting of impacts to other systems);

III.	Notification regarding end of outage (service is restored, but root cause analysis may not be complete); and

IV.	Summary of lessons learned and any mitigation action taken by ERCOT (root cause analysis complete, but mitigation actions may be pending).

Escalation – Escalation of notifications based on duration of outage and cross-system impact.

Notice Content – Dependent on communication phase, duration of outage, and complexity of outage (in principal, each notice should inform audience of progress of service restoration and anticipated duration of the outage).

Audience – Email distribution lists (see http://lists.ercot.com ) to which ERCOT will send notices.

24X7 or Business Day – Basis of timeline for distribution of notices.

| Critical Process | Affected Systems | Duration of Outage | Timing of Market Notification | Phases of Notice | Escalation | Notice Content | Audience | 24X7 or Business Day |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Communications | TML | < 15 minutes | ERCOT logs outage and post instance to webpage. |  |  |  |  | Business Day |
|  |  | > 15 minutes | ASAP | I – initial notification | None | Minimal | Notice Release Retail & Wholesale list servs and Primary and Secondary contacts | 24X7 |
|  |  | > 15 minutes | Hour 2 | II - Follow Up | None | Standard Content | Same as previous | 24X7 |
|  |  | > 15 minutes | Hour 12 | II - Follow Up | None | Same as previous + updates | Same as previous | 24X7 |
|  |  | > 15 minutes | Hour 24 | II - Follow up and initiate daily conference calls | Yes | Same as previous + conference call information | Same as previous + Subcommittees | 24X7 |
|  |  | > 15 minutes | Hour 48 | II - Follow-up | Yes | Same as previous | Same as previous + TAC | 24X7 |
|  |  | > 15 minutes | End of Outage | III - Final | Same as previous notice | Service Restored | Same as previous | Business Day |
|  |  | > 15 minutes | End of Outage + 7 days | IV – Lessons Learned & Mitigation Action | Same as previous notice | Same as previous + lessons learned and mitigation actions; additional follow-up communications | Same as previous | Business Day |
|  |  | > 15 minutes | End of outage + time for completion of root cause analysis | IV – Lessons Learned & Mitigation Action | Same as previous notice | Same as previous + lessons learned and mitigation actions; additional follow-up communications | Same as previous | Business Day |