| PRR Number | 541 | PRR Title | Regulation Deployment Ramp Rate |
| --- | --- | --- | --- |
| Date |  | February 24, 2006 |  |
| Submitter’s Information |  |  |  |
| Name |  | Brad Belk on behalf of WMS |  |
| E-mail Address |  | bbelk@lcra.org |  |
| Company |  | LCRA |  |
| Company Address |  | 3701 Lake Austin Blvd. |  |
| Phone Number |  | 512 473-3577 |  |
| Fax Number |  | 512 473-4026 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

It is not clear that releasing regulation deployments at rates beyond 125% of ramp limitations would actually help frequency control.  The current SCE compliance requirements do not take the current 25% over deployment into account and passing this PRR would make SCE compliance even more difficult.  Based primarily on the impacts that this PRR would have on the SCE compliance measures, the WMS recommends that PRS reject this PRR.

Revised Proposed Protocol Language

NO CHANGES TO THE PROTOCOLS ARE NECESSARY.  PRR SHOULD BE REJECTED